## Appendix 2
Ref | Audit Element | Details/Requirements | Inherent Risk (i.e. no controls) | Likelihood | Impact | IR Rating | Residual Risk (i.e. Controls Applied) | RR Rating | Audit Risk | Verification/Tests | Maturity Rating | Effectiveness | Corrective Action | Post Audit Implementation Plan
1 | Asset Planning | Asset planning strategies are focused on meeting customer needs in the most effective and efficient manner (delivering the right service at the right price).
1.01 | Interviewees | Rene Kuypers - Regional Asset Manager BBWP Perry Wright - Australian Asset Manager BBWP Geoff Dutaillis - WWP Pty Ltd
1.1 |  | Integration of asset strategies into operational or business plans will establish a framework for existing and new assets to be effectively utilised and their service potential optimised. | ▪ Inefficient asset planning processes | Unlikely | Major | High | ▪ O&M Contract prescriptive requirements in management of assets including preventative maintenance ▪ Operation & Maintenance cost management processes ▪ Condition Monitoring / Preventative Maintenance Programme to be developed following end of warranty period ▪ Management Committee | Strong | Priority 2 | ▪ Asset Management Plan ▪ Operation & Maintenance Agreement | 3 Well Defined | The Australian Asset Management Plan defines the strategy of the business and how the strategy will be implemented at each development stage. The Operational Plan and the System Management Plan (Vestas) support the Australian Asset Management Plan. These documents identify how the assets (i.e. WWP) will be managed. The documents are aligned with the overall business strategy. The Australian Asset Management Plan is well defined, but out of date (dated December 2006). The Operational Plan is also well defined but is currently in draft format. The System Management Plan was recently updated (10-4-2008). All the documents are available and clearly articulate the strategy of the business, but two of the documents require updating. | Update the Australian Asset Management Plan and update of the Operational Plan | Review Australian Asset Management Plan and the Operational Plan annually and incorporate amendments. Responsibility: Regional Asset Manager. Due Date: 30 September 2008
1.2 |  | Planning process and objectives reflect the needs of all stakeholders and is integrated with business planning | Some stakeholder needs not addressed | Likely | Minor | Medium | ▪ Management Committee ▪ Accounting controls ▪ Risks aligned with mitigation strategies and budget process ▪ Annual Plans signed off by Management Committee | Strong | Priority 4 | ▪ Asset Management Plan ▪ Operation & Maintenance Agreement | 3 Well Defined | The Australian Asset Management Plan in conjunction with the Operational Plan identifies the needs of the stakeholders and addresses how the business will meet the needs of the stakeholders. Both plans address the needs of the financial stakeholders (shareholders) and the needs of the stakeholders pertinent to the site (for example landowners). However, the Australian Asset Management Plan was completed in December 2006 and is in the process of being updated. The Operational Plan is in draft form, therefore the plans define the needs of the stakeholders, but require updating. | Update the Australian Asset Management Plan and update of the Operational Plan | Review Australian Asset Management Plan and the Operational Plan annually and incorporate amendments. Responsibility: Regional Asset Manager. Due Date: 30 September 2008
1.3 |  | Service levels are defined | Some service levels not defined | Probable | Moderate | Medium | ▪ Prescriptive service levels i.e. operate under strict guidelines ▪ A B & C Class servicing ▪ Service Agreements | Strong | Priority 4 | ▪ Asset Management Plan ▪ Operation & Maintenance Agreement | 4 Quantitatively Controlled | Service level agreements have been defined in the Working Operations Manual (WOM) with the subcontractor (Vestas). The service level agreements were reviewed and were found to be appropriate, therefore no action was taken. WWP and the sub contractor hold monthly meetings were the performance is discussed. Minutes of the meetings are available and a sample were reviewed and found to contain relevant information.
1.4 |  | Non-asset options (e.g. demand management) are considered | Agreements in place with WP for consumption of resource, demand management not applicable for wind farm | Unlikely | Minor | Low | Supply agreement with WP | Strong | Priority 5 | ▪ Connection Agreement ▪ PPA | 0 Not Performed | There are no non asset options at WWP.
1.5 |  | Lifecycle costs of owning and operating assets are assessed | Lifecycle costs larger than expected | Unlikely | Moderate | Medium | ▪ Service agreements ▪ Lifecycle costs spreadsheet process ▪ Maintenance management strategy ▪ Link Risks to budget process | Strong | Priority 4 | Client/Contractor Liaison Meetings Minutes, Monthly Performance Reports ▪ Asset Management Plan ▪ WOM Agreement/EPC | 3 Well Defined | Vestas are the contracted operator and maintenance manager for the wind farm. Under this contract, lifecycle costs are the responsibility of Vestas. The contract commenced on 26 January 2006 and is in place for a five year period. The life cycle costs are currently being accessed to establish the costs on completion of the five year WOM contract. | Complete the life cycle costs to cover the period after the five year WOM contract | Review and determine the life cycle costs to cover the period after the five year WOM contract. Responsibility: Regional Asset Manager. Due Date: 30 April 2009
1.6 |  | Funding options are evaluated | Alternate funding cost less | Probable | Moderate | Medium | ▪ Ongoing evaluations at corporate level of funding ▪ Continuous evaluation/corporate governance requirements | Strong | Priority 4 | Interview with Financial Controller | 3 Well Defined | Vestas are the contracted operator and maintenance manager for the wind farm. Under this contract, funding options are agreed for the five year period. In the contract services levels are specified and performance requirements are stated. The contract commenced on 26 January 2006 and is in place for a five year period. | complete the funding options for the period after the completion of the WOM | Review and determine the funding options for the period after the completion of the WOM. Responsibility: Regional Asset Manager. Due Date: 30 April 2009
1.7 |  | Costs are justified and cost drivers identified | Costs are larger than expected | Probable | Moderate | Medium | ▪ Budget system for both OpX and CapX ▪ Cost management via O & M contract ▪ Inputs to budget process comprehensive e.g. KPI process for GM ▪ Cash Call requirements month by month basis ▪ Prescriptive process for payment authorisation | Strong | Priority 4 | ▪ Financial Reports ▪ Operations Reports | 3 Well Defined | Vestas are the contracted operator and maintenance manager for the wind farm. Under this contract, funding options are agreed for the five year period. In the contract service levels are specified and performance requirements are stated. The contract commenced on 26 January 2006 and is in place for a five year period. | Identify cost drivers for the period after the completion of the WOM | Review and determine cost drivers for the period after the completion of the WOM. Responsibility: Regional Asset Manager. Due Date: 30 April 2009
1.8 |  | Likelihood and consequences of asset failure are predicted | Asset fail more often with severer consequences than expected | Likely | Moderate | High | ▪ O&M Contract; financial penalties, plant availability criteria ▪ EPC i.e. min costs assoc with generator failure ▪ Asset Planning process ▪ Event & defects lists corrective action processes ▪ Strategic spare management process | Strong | Priority 2 | WWP EPC Contract Quality Records WTG1-54 WWP Asset Reports Service Report Data Base Windman on-line data collection system | 3 Well Defined | The contracted maintenance and service provider manage asset failure and risk through an integrated system linked to their headquarters in Denmark. The asst management system (VSS) collates information on asset faults, failures and replacements. This data is accessible at the wind farm for live operational performance. Vestas manage the assets under the Warranty Operations and Maintenance (WOM) contract. The VSS allows for historical analysis on all the assets installed.
1.9 |  | Plans are regularly reviewed and updated | Plans do not reflect best practices | Probable | Moderate | Medium | ▪ Annual review ▪ Monthly performance review ▪ Management Committee ▪ Independent Auditor reports ▪ Monthly financials to facilitating agent ▪ Working asset management system and documented plan | Strong | Priority 4 | ▪ Financial Reports ▪ Operations Reports | 3 Well Defined | The Service Management Plan (SMP) is reviewed on an annual basis. This is supported with a third party audit - the last third party audit was in December 2006. The 2007 third party audit was deferred as audit recommendations were not completed. Turbine Service manuals are updated on an monthly basis by Vestas. The information is supplied via CD. | Schedule and conduct a third party audit. | Schedule and conduct an audit of site operation and follow up previous audit recommendations. Responsibility: Regional Asset Manager Due Date: June 2008
2 | Asset creation/acquisition | Asset creation/acquisition means the provision or improvement of an asset where the outlay can be expected to provide benefits beyond the year of outlay.
2.01 | Interviewees | Rene Kuypers - Regional Asset Manager B&B Perry Wright - Australian Asset Manager B&B Geoff Dutaillis - WWP Pty Ltd
2.1 |  | A more economic, efficient and cost-effective asset acquisition framework which will reduce demand for new assets, lower service costs and improve service delivery. | Higher service costs and less service delivery than is possible | Probable | Moderate | Medium | ▪ Asset management strategy ▪ Risk based approached to budget and operating processes link to assets ▪ Continuous improvement approach by management | Strong | Priority 4 | WWP EPC Contract Interview Chief Operating Officer and Australian Asset Manager. WWP Asset Reports Asset Management Plan | 0 Not Performed | There are no intentions to acquire or extend the current asset base from the installed assets in 2006.
2.2 |  | Full project evaluations are undertaken for new assets, including comparative assessment of non-asset solutions | Higher costs than necessary | Probable | Moderate | Medium | ▪ Business review for project evaluations and monitoring of processes ▪ Return on Revenue assessment | Strong | Priority 4 | WWP EPC Contract Interview Chief Operating Officer and Australian Asset Manager. WWP Asset Reports Asset Management Plan | 0 Not Performed | There are no intentions to acquire or extend the current asset base from the installed assets in 2006.
2.3 |  | Evaluations include all life-cycle costs | Higher costs than expected | Unlikely | Moderate | Medium | ▪ Business review for project evaluations and monitoring of processes ▪ Return on Revenue assessment ▪ Life cycle costs spreadsheet process ▪ Maintenance management strategy ▪ Link Risks to budget process | Strong | Priority 4 | WWP EPC Contract Interview Chief Operating Officer and Australian Asset Manager. WWP Asset Reports Asset Management Plan | 0 Not Performed | There are no intentions to acquire or extend the current asset base from the installed assets in 2006.
2.4 |  | Projects reflect sound engineering and business decisions | Projects cost more, do not meet their objectives or are unsafe to operate | Probable | Major | High | ▪ Business review for project evaluations and monitoring of processes ▪ Return on Revenue assessment ▪Lifecycle costs spreadsheet process ▪ Maintenance management strategy ▪ Link Risks to budget process | Strong | Priority 2 | ▪ Performance Guarantees ▪Technical Specifications | 0 Not Performed | There are no intentions to acquire or extend the current asset base from the installed assets in 2006.
2.5 |  | Commissioning tests are documented and completed | Valuable information lost and asset does not operate correctly or safely | Probable | Major | High | ▪ Compulsory requirements i.e. signed off by banks independent engineer | Strong | Priority 2 | Quality records WTG1-54 Reliability tests WTG1-54 Performance Guarantee Reports Commissioning Records | 0 Not Performed | There are no intentions to acquire or extend the current asset base from the installed assets in 2006.
2.6 |  | Ongoing legal/environmental/safety obligations of the asset owner are assigned and understood | Assets and practices do not meet current legislative requirements | Unlikely | Major | High | ▪ Compliance Register ▪ Service agreements ▪ Compliance Scheduling | Strong | Priority 2 | ▪ Independent 3rd party audit report ▪ Site Management Plan ▪ Insurance Audit Reports | 0 Not Performed | There are no intentions to acquire or extend the current asset base from the installed assets in 2006.
3 | Asset disposal | Effective asset disposal frameworks incorporate consideration of alternatives for the disposal of surplus, obsolete, under-performing or unserviceable assets. Alternatives are evaluated in cost-benefit terms
3.01 | Interviewees | Rene Kuypers - Regional Asset Manager B&B Perry Wright - Australian Asset Manager B&B Geoff Dutaillis - WWP Pty Ltd
3.1 |  | Effective management of the disposal process will minimise holdings of surplus and under-performing assets and will lower service costs. | Higher costs and lower service | Unlikely | Moderate | Medium | ▪ O & M Contract ▪ Budgeting process ▪ Capital and operational expenditure processes ▪ Monitoring at Management Levels | Strong | Priority 4 | WWP EPC Contract Interview Chief Operating Officer and Australian Asset Manager. WWP Asset Reports Asset Management Plan | 4 Quantitatively Controlled | The contracted maintenance and service provider manage asset failure and risk through an integrated system linked to their headquarters in Denmark. The asset management system (VSS) collates information on asset faults, failures and replacements. This data is accessible at the wind farm for live operational performance. Vestas manage the assets under the Warranty Operations and Maintenance (WOM) contract. The VSS allows for historical analysis on all the assets installed. The warranty contract has another 3 years prior to completion and data on asset performance is currently being complied to identify under-performing assets. Disposal management will be considered nearer to the completion date.
3.2 |  | Under-utilised and under-performing assets are identified as part of a regular systematic review process | Higher costs and lower service | Unlikely | Moderate | Medium | ▪ Link to asset management system and budget process for risk assessment process ▪ Performance criteria | Strong | Priority 4 | Client/Contractor Liaison Meetings Minutes, Monthly Performance Reports ▪ Asset Management Plan ▪ WOM Agreement/EPC | 4 Quantitatively Controlled | The contracted maintenance and service provider manage asset failure and risk through an integrated system linked to their headquarters in Denmark. The asset management system (VSS) collates information on asset faults, failures and replacements. This data is accessible at the wind farm for live operational performance. Vestas manage the assets under the Warranty Operations and Maintenance (WOM) contract. The VSS allows for historical analysis on all the assets installed. The warranty contract has another 3 years prior to completion and data on asset performance is currently being complied to identify under-performing assets. Disposal management will be considered nearer to the completion date.
3.3 |  | The reasons for under-utilisation or poor performance are critically examined and corrective action or disposal undertaken | Higher costs and lower service | Unlikely | Moderate | Medium | ▪ Condition Monitoring ▪ Asset management system ▪ Nature of Wind Farm operations | Strong | Priority 4 | WWP EPC Contract Interview Chief Operating Officer and Australian Asset Manager. WWP Asset Reports Asset Management Plan | 4 Quantitatively Controlled | The contracted maintenance and service provider manage asset failure and risk through an integrated system linked to their headquarters in Denmark. The asset management system (VSS) collates information on asset faults, failures and replacements. This data is accessible at the wind farm for live operational performance. Vestas manage the assets under the Warranty Operations and Maintenance (WOM) contract. The VSS allows for historical analysis on all the assets installed. The warranty contract has another 3 years prior to completion and data on asset performance is currently being complied to identify under-performing assets. Disposal management will be considered nearer to the completion date.
3.4 |  | Disposal alternatives are evaluated | Higher costs | Unlikely | Moderate | Medium | ▪ Condition Monitoring ▪ Asset management system ▪ Annual Plan ▪ Contract EPC/O&M Document | Strong | Priority 4 | WWP EPC Contract Interview Chief Operating Officer and Australian Asset Manager. WWP Asset Reports Asset Management Plan | 4 Quantitatively Controlled | The contracted maintenance and service provider manage asset failure and risk through an integrated system linked to their headquarters in Denmark. The asset management system (VSS) collates information on asset faults, failures and replacements. This data is accessible at the wind farm for live operational performance. Vestas manage the assets under the Warranty Operations and Maintenance (WOM) contract. The VSS allows for historical analysis on all the assets installed. The warranty contract has another 3 years prior to completion and data on asset performance is currently being complied to identify under-performing assets. Disposal management will be considered nearer to the completion date.
3.5 |  | There is a replacement strategy for assets | Higher costs and lower service | Unlikely | Moderate | Medium | ▪ Annual Plan ▪ Condition Monitoring ▪ Asset management system ▪ Contract EPC/O&M Document | Strong | Priority 4 | WWP EPC Contract Interview Chief Operating Officer and Australian Asset Manager. WWP Asset Reports Asset Management Plan | 4 Quantitatively Controlled | The contracted maintenance and service provider manage asset failure and risk through an integrated system linked to their headquarters in Denmark. The asset management system (VSS) collates information on asset faults, failures and replacements. This data is accessible at the wind farm for live operational performance. Vestas manage the assets under the Warranty Operations and Maintenance (WOM) contract. The VSS allows for historical analysis on all the assets installed. The warranty contract has another 3 years prior to completion and data on asset performance is currently being complied to identify under-performing assets. Disposal management will be considered nearer to the completion date.
4 | Environmental analysis | Environmental analysis examines the asset system environment and assesses all external factors affecting the asset system.
4.01 | Interviewees | Rene Kuypers - Regional Asset Manager B&B Perry Wright - Australian Asset Manager B&B Geoff Dutaillis - WWP Pty Ltd
4.1 |  | The asset management system regularly assesses external opportunities and threats and takes corrective action to maintain performance requirements. | Inadequate assessment and response to external opportunities and threats | Likely | Moderate | High | ▪ Service Agreement ▪ Crisis management plan ▪ Self protection measures on equipment ▪ Lightening detection processes, system ▪ Automatic severe weather warning processes | Strong | Priority 2 | Review of factors affecting the external electrical environment as given in the Network Access Agreement , Connection Agreement , Interim Electricity Transmission Access Technical Code and SCADA systems. | 3 Well Defined | The contracted maintenance and service provider manage asset failure and risk through an integrated system linked to their headquarters in Denmark. The asset management system (VSS) collates information on asset faults, failures and replacements. This data is accessible at the wind farm for live operational performance. Vestas manage the assets under the Warranty Operations and Maintenance (WOM) contract. The VSS allows for historical analysis on all the assets installed. The warranty contract has another 3 years prior to completion and data on asset performance is currently being complied to identify opportunities and treats and to allow corrective maintenance performance in the future.
4.2 |  | Opportunities and threats in the system environment are assessed | Failure to assess opportunities and threats in the system environment | Unlikely | Minor | Low | ▪ Service Agreement ▪ Crisis management plan ▪ Self protection measures on equipment ▪ Lightening detection processes, system ▪ EPC & O&M Contracts | Strong | Priority 5 | Review of factors affecting the external electrical environment as given in the Network Access Agreement , Connection Agreement , Interim Electricity Transmission Access Technical Code and SCADA systems. | 3 Well Defined | The contracted maintenance and service provider manage asset failure and risk through an integrated system linked to their headquarters in Denmark. The asset management system (VSS) collates information on asset faults, failures and replacements. This data is accessible at the wind farm for live operational performance. Vestas manage the assets under the Warranty Operations and Maintenance (WOM) contract. The VSS allows for historical analysis on all the assets installed. The warranty contract has another 3 years prior to completion and data on asset performance is currently being complied to identify opportunities and treats and to allow corrective maintenance performance in the future.
4.3 |  | Performance standards (availability of service, capacity, continuity, emergency response, etc) are measured and achieved | Failure to monitor performance standards | Unlikely | Minor | Low | ▪ O & M Contract; performance guarantees ▪ SCADA system records performance standards ▪ Vestas Maintenance and Service Monthly Report summarises WTG Availability, wind resource statistics | Strong | Priority 5 | Review of factors affecting the external electrical environment as given in the Network Access Agreement , Connection Agreement , Interim Electricity Transmission Access Technical Code and SCADA systems. EPC/WOM compliance and Monthly Reports. | 5 Continuously Improving | Current performance standards are established in the WOM. These are proactively measured by the maintenance service provider and the asset owner.
4.4 |  | Compliance with statutory and regulatory requirements | Failure to comply with statutory and regulatory compliance | Unlikely | Minor | Low | ▪ Internal legal advisory services ▪ Compliance schedule/Obligations Register | Strong | Priority 5 | Connection Agreement - PPA Asset Management Reports | 1 Performed Informally | Compliance with statutory and regulatory compliance is a requirement of the maintenance agreement. We did not identify any process for ensuring that statutory or regulatory requirements were met, but we did not have any reason to doubt that they were being met. | Create a compliance manual that includes proactive confirmation that regulatory and statutory requirements are met | Develop and implement the compliance manual Responsibility: Regional Asset Manager Due Date: 30 September 2008
4.5 |  | Achievement of customer service levels | Failure to achieve customer service levels | Unlikely | Moderate | Medium | ▪ O&M agreement; performance guarantees ▪ Access Agreement specifies requirements for compliance ▪ Supply agreements | Strong | Priority 4 | Review of factors affecting customer service levels as given in the Network Access Agreement Connection Agreement , Electricity Transmission Access Technical Code , EPC, SCADA systems and Monthly Asset Reports. | 0 Not Performed | WWP does not have any customer service levels, therefore not performed
5 | Asset operations | Operations functions relate to the day-to-day running of assets and directly affect service levels and costs.
5.01 | Interviewees | Rene Kuypers - Regional Asset Manager B&B Site Supervisor
5.1 |  | Operations plans adequately document the processes and knowledge of staff in the operation of assets so that service levels can be consistently achieved. | Service levels not consistently achieved | Likely | Moderate | High | ▪ O & M Contract; performance guarantees ▪ Trained personnel in operation of assets ▪ Operation plans adequately documented | Strong | Priority 2 | Review operation plans (Technical Documentation Class 2 NM Turbine ), Site Management Plan, , HV Procedures Network Access Agreement , Connection Agreement and EPC/WOM Interview with Regional Asset Manager Independent 3rd Party Audit Report. | 4 Quantitatively Controlled | The maintenance service provider do have a Service Management Plan (SMP) that identifies the operational procedures that need to be undertaken. This document was up to date.
5.2 |  | Operational policies and procedures are documented and linked to service levels required | Service levels not consistently achieved | Likely | Moderate | High | ▪ O & M Contract; performance guarantees ▪ Trained personnel in operation of assets ▪ Operation plans adequately documented | Strong | Priority 2 | Review operation plans (Technical Documentation Class 2 NM Turbine ), Site Management Plan HV Procedures , Connection Agreement and EPC/WOM Monthly Asset Reports and Monthly Contractors Reports | 2 Planned & Tracked | The maintenance service provider did present a documented procedure that was linked to the operational policies. We were able to confirm that the scheduled maintenance periods were being applied. However, some of the completed maintenance schedules were incomplete or missing. | Ensure documentation is available to support the regular inspections conducted. | Review and implement the record management system. Responsibility: Regional Asset Manager Due Date: 30 June 2008
5.3 |  | Risk management is applied to prioritise operations tasks | Unimportant tasks performed before important tasks | Likely | Minor | Medium | ▪ O&M Contract prescriptive i.e. Safety priority ▪ Operations plans adequately documented ▪ Risk management to prioritise operations tasks | Strong | Priority 4 | Review operation plans (Technical Documentation Class 2 NM Turbine ), Site Management Plan HV Procedures , Connection Agreement and EPC/WOM Monthly Asset Reports and Monthly Contractors Reports. Interview Regional Asset Manager. | 1 Performed Informally | The SCADA system allows for real time monitoring of the wind turbine generators. This is monitored and the site supervisor is able to prioritise work to ensure that the risk and service level is maintained. However, we examined environmental aspects, OH&S, vehicles, harnesses, calibration and electrical testing and found some of the documentation to be lacking. Environmental Aspects - we found that there had been a oil spill on site. Appropriate measures and documentation was in place, but we found that two additional spills had occurred, but not recorded. Therefore we are unable to ascertain if the appropriate response had occurred or the extent of the spill and what the response should be. We note that temporary storage was brought in for oil. A requirement of oil storage is that there is sufficient bunds in place to hold the oil should a leak occur. In our opinion the bonding for the current storage is insufficient for the volume of stored oil. We also noted that temporary bunds are being used on site, however the bunds are outside and at risk to overflow should it rain. Harnesses - monthly checks are completed on harnesses and the test sheets were stored and made available, this is an appropriate proactive move to ensure that harnesses are suitable for the task. However, we were not able to identify if all the harnesses were tested as there was no single register or reconciliation to ensure that all the harnesses had been tested. Calibration - we were shown a list of calibrated equipment on site, this was reconciled against a list of items that needed testing. However, we found one minor issue where a recently tested item had returned from calibration, but the 'date of next test' had not been completed. Therefore a user of the equipment would not be able to confirm that they were using an appropriately calibrated meter. Internal auditing process - we were not able to identify that any internal audits had been conducted nor was there a schedule to identify when the audits were due. A site inspection had been carried out on 10/04/08, but this does not meet the requirements of an internal audit Vehicles - we were shown monthly check sheet for all the vehicles that are undertaken by the staff, but the vehicle log books were not available for inspection, so we were not able to establish when the vehicles were last maintained inspected. Electrical testing - portable appliance tests are conducted on site, but we were not able to identify a single register of equipment on site. Additionally, on a brief inspection of the site we identified several items that had not been tested. | Introduce appropriate checks and processes to ensure that the site meets environmental, electrical and other requirements. | Schedule and conduct an audit of site operation to follow up previous audits and identify areas requiring improvement. Responsibility: Regional Asset Manager Due Date: June 2008
5.4 |  | Assets are documented in an Asset Register including asset type, location, material, plans of components, an assessment of assets’ physical/structural condition and accounting data | Asset information missing and condition unknown | Unlikely | Moderate | Medium | ▪ Purchasing process well defined and documented ▪ Assets documented in Assets Register ▪ Plans of components are maintained in the EPC ▪ Accountant maintains asset register | Strong | Priority 4 | ▪EPC/WOM ▪ Service Records WTG1-54 ▪ | 4 Quantitatively Controlled | The asset register has been established and each asset is documented. The asset type , material and component is recorded along with its location, condition and the condition of the replaced asset. This data is stored an intranet based system that allows for replacement stock to be ordered. The system is called VSS and is internal to Vestas.
5.5 |  | Operational costs are measured and monitored | Operational costs too high | Probable | Moderate | Medium | ▪ Business prescriptive breakdown of cost types operational costs reported on per unit ▪ Analysis and review processes ▪ Measure and monitor operational costs | Strong | Priority 4 | EPC/WOM | 4 Quantitatively Controlled | All operational costs are logged and recorded in the VSS reporting system. These are then reported by the maintenance service provider to WWP.
5.6 |  | Staff receive training commensurate with their responsibilities | Staff perform tasks for which they are not trained | Unlikely | Major | High | ▪ O&M Contract ▪ Training schedule; ancillary requirements to detailed operational criteria ▪ International training standard used for Vestas employees ▪ Train staff as appropriate | Strong | Priority 2 | Review staff training (Technical Documentation Class 2 NM Turbine ), HV Procedures and interview Site Supervisor. Review Training Register | 1 Performed Informally | Staff knowledge - we were not able to establish how the knowledge of the staff was documented and recorded. We did not view the following: Training matrix identifying training and training needs, training records and records of competencies (i.e. qualified electrician). It was reported that copies were kept at the main office in Melbourne and were not accessible from site. | Position descriptions, records of competencies, training needs and training records to be maintained on site. | Vestas to provide a copy of these documents immediately and maintain copies on site. Responsibility: Regional Asset Manager Due Date: May 2008
6 | Asset maintenance | Maintenance functions relate to the upkeep of assets and directly affect service levels and costs.
6.01 | Interviewees | Rene Kuypers - Regional Asset Manager B&B Site Supervisor
6.1 |  | Maintenance plans cover the scheduling and resourcing of the maintenance tasks so that work can be done on time and on cost. | Maintenance tasks not done on time or on cost | Probable | Moderate | Medium | Maintenance program | Strong | Priority 4 | Review Maintenance Program. Review Service Records WTG1-54 | 4 Quantitatively Controlled | The maintenance service provider has full control over the maintenance schedule and control the staffing requirements. We were able to sight the planned schedule up to 2009.
6.2 |  | Maintenance policies and procedures are documented and linked to service levels required | Service levels not consistently achieved | Probable | Moderate | Medium | Maintenance program | Moderate | Priority 4 | Review maintenance policies and procedures Review maintenance programs (Technical Documentation Class 2 NM Turbine 1 May 2007), WTG check sheets HV Procedures (Network Access Agreement Connection Agreement and EPC/WOM. Monthly Asset Reports. | 3 Well Defined | The operations and maintenance contract (WOM) identifies a service level that is contractually met. This drives the service provider to plan the maintenance schedule to an appropriate time.
6.3 |  | Regular inspections are undertaken of asset performance and condition | Asset performance and condition unknown | Probable | Moderate | Medium | Inspect assets regularly | Moderate | Priority 4 | Review WTG check sheets , s service schedule, C service schedule and Monthly Contractor Reports. | 1 Performed Informally | The service provider undertakes regular inspections of the assets under the WOM. On inspecting the documentation to support that the inspections had been undertaken, we found gaps in the records. We examined 10 Wind turbine files and found that the documentation for the tests that had been undertaken in the last 4 months were not present, but were stored in a different place. We also found 2 missing reports that could not be located. | Ensure documentation is available to support the regular inspections conducted. | Review and implement the record management system. Responsibility: Regional Asset Manager Due Date: 30 June 2008
6.4 |  | Maintenance plans (emergency, corrective and preventative) are documented and completed on schedule | Maintenance tasks not done on time, in sequence or correctly | Likely | Moderate | High | Document maintenance plans and completed on schedule | Strong | Priority 2 | Review maintenance plans and scheduled WTG check sheets , B service schedule, C service schedule and Monthly Contractor Report. Interview with Site Supervisor | 2 Planned & Tracked | The operations and maintenance contract (WOM) identifies a service level that is contractually met. This drives the service provider to plan the maintenance schedule to an appropriate time.
6.5 |  | Failures are analysed and operational/maintenance plans adjusted where necessary | Failures are repeated | Likely | Moderate | High | Analyse failures for rout cause and adjust operational/maintenance plans where necessary | Strong | Priority 2 | Review Monthly Asset Reports. Review correspondence from contractor. Review Service Documentation WTG1-54. Review Contractor Component failure Reports. Interview Regional Asset Manager | 4 Quantitatively Controlled | The service provider undertakes regular inspections of the assets under the WOM. The maintenance service provider sends all items that have failed or been replaced back to the central control for analysis and assessment of the failure.
6.6 |  | Risk management is applied to prioritise maintenance tasks | Unimportant tasks performed before important tasks | Likely | Minor | Medium | ▪ Apply risk management to prioritise maintenance tasks ▪ Maintenance plans adequately documented | Strong | Priority 4 | Interview with Site Supervisor Review of maintenance records. | 3 Well Defined | The maintenance service provider employs a SCADA control system to monitor the performance of individual wind generators. This includes an alarm system that allows faults to be diagnosed remotely and maintenance repair crews can be dispatched as needed. The contract for services (WOM) has service level agreements that encourage the maintenance service provider to prioritise the work to ensure that the service level is maintained.
6.7 |  | Maintenance costs are measured and monitored | Maintenance costs too high | Unlikely | Minor | Low | Measure and monitor maintenance costs | Weak | Priority 5 | Maintenance costs are fixed under EPC and risk is not realised by WPP. | 3 Well Defined | The maintenance service provider employs a SCADA control system to monitor the performance of individual wind generators. This includes an alarm system that allows faults to be diagnosed remotely and maintenance repair crews can be dispatched as needed. The contract for services (WOM) has service level agreements that encourage the maintenance service provider to prioritise the work to ensure that the service level is maintained. Maintenance costs are fixed under the EPC and risk is not realised by WPP. Maintenance costs are paid up front by WWP for the warranty operations and maintenance 5 year period. The key performance indicator for Vestas is 97% of the wind farm availability and is monitored by WWP.
7 | Asset Management Information System | An asset management information system is a combination of processes, data and software that support the asset management functions.
7.01 | Interviewees | Rene Kuypers - Regional Asset Manager B&B Site Supervisor
7.1 |  | The asset management information system provides authorised, complete and accurate information for the day-to-date running of the asset management system. The focus of the review is the accuracy of performance information used by the licensee to monitor and report on service standards. | Service levels not consistently achieved | Probable | Moderate | Medium | Provide asset management information system | Strong | Priority 4 | Review asset management aspects of the SCADA system | 1 Performed Informally | Vestas maintain an Asset Management Information System (AMIS) linked to their head office in Melbourne and Denmark. The database (VSS) collates information on all the assets as replaced assets can only be ordered from the head office. As Vestas are the contracted maintenance service provider we were not able to review the details within the database, but we were able to review the datasheets used prior to the information being entered into the system. From the review of the check lists, we found that some of the original check lists were incomplete or missing. Therefore, we were unable to verify that the AMIS system would have been completed accurately. | Ensure documentation is available to support data entry requirements and data entry is verified and recorded. | Review and implement the record management system. Responsibility: Regional Asset Manager Due Date: 30 June 2008
7.2 |  | Adequate system documentation for users and IT operators | Service levels not consistently achieved | Probable | Moderate | Medium | Document system | Strong | Priority 4 | Review SCADA Documentation | 3 Well Defined | Each member who accesses the AMIS system was given training and with that training an operational manual was supplied. On reviewing the operational manual was sufficient for the data input and basic analysis. We did not sight a manual for IT operators or more advanced users, however we were informed that this function is controlled remotely.
7.3 |  | Input controls include appropriate verification and validation of data entered into the system | Incorrect data entered into system | Probable | Moderate | Medium | Verify input data | Weak | Priority 3 | Monthly Performance Reports for Validation. | 2 Planned & Tracked | We were not able to review the AMIS system as this is an internal process for Vestas. However, Vestas are under contract (WOM) to provide measurable services, which are monitored by WWP. We do note that check lists used during maintenance events were incomplete or missing from the file. Although we are do not doubt that the maintenance was undertaken, but we are not able to confirm that the data entered into the database was complete. | Ensure documentation is available to support data entry requirements and data entry is verified and recorded. | Review and implement the record management system. Responsibility: Regional Asset Manager Due Date: 30 June 2008
7.4 |  | Logical security access controls appear adequate, such as passwords | Unauthorised access to system | Probable | Major | High | Apply and maintain security access control | Moderate | Priority 2 | Review security access control and interview Regional Asset Manager. | 4 Quantitatively Controlled | Access to the database was governed by a specialist software download onto specific PCs and a user / password system. This appeared to be sufficient security.
7.5 |  | Physical security access controls appear adequate | Unauthorised access to equipment | Probable | Major | High | Apply and maintain security access control | Moderate | Priority 2 | Review security access control and interview Australian Asset Manager. | 4 Quantitatively Controlled | The main office is within a compound and secured overnight. This was adequate for the area
7.6 |  | Data backup procedures appear adequate | Complete loss of data or very old data available after systems failure | Likely | Major | High | Back up data regularly | Strong | Priority 2 | Review backup procedures and witness backup tapes in "B" Class Safe. | 4 Quantitatively Controlled | The data is remotely accessed from site and appears adequate for the needs of the business.
7.7 |  | Key computations related to licensee performance reporting are materially accurate | Service levels not consistently achieved | Probable | Moderate | Medium | Ensure licensee performance reporting are materially accurate | Moderate | Priority 4 | Review accuracy of performance reporting from SCADA system and monthly reports | 0 Not Performed | We did not identify any key computations relating to the licencee performance. All metering is supplied by the metering service provider Western Power.
7.8 |  | Management reports appear adequate for the licensee to monitor licence obligations | Service levels not consistently achieved | Probable | Moderate | Medium | Ensure management reporting are materially accurate | Moderate | Priority 4 | Review management reporting as given in monthly reports | 0 Not Performed | On review, we were not able to establish if a management report has been generated that records and identifies licence obligations. We understand that notification of a licence breaches is received from the Regulator (ERA) and this breach is then investigated and resolved. (For example a voltage drop occurred and WWP did not perform as expected). We do acknowledge that any identified licence breach is addressed and remediated by WWP in the appropriate timescales. | Create a compliance manual | Develop and implement the compliance manual Responsibility: Regional Asset Manager Due Date: 30 September 2008
8 | Risk Management | Risk management involves the identification of risks and their management within an acceptable level of risk.
8.01 | Interviewees | Rene Kuypers - Regional Asset Manager B&B Site Supervisor
8.1 |  | An effective risk management framework is applied to manage risks related to the maintenance of service standards | Ineffective risk management process leads to failure to management risks in regards to maintenance service standards | Unlikely | Moderate | Medium | ▪ Prescriptive nature of O&M agreement ▪ Developed a risk management process ▪ Management Committee meeting ▪ Corrective action process | Strong | Priority 4 | ▪ Asset Management Plan ▪ Site Management Plan ▪ | 4 Quantitatively Controlled | WWP have a System Management Plan SMP) that identifies the main risks. This document is updated on an annual basis and we were able to identify the last two updates were updated as required.
8.2 |  | Risk management policies and procedures exist and are being applied to minimise internal and external risks associated with the asset management system | Ineffective or misapplication of risk management procedures to asset management system | Unlikely | Moderate | Medium | ▪ Prescriptive nature of O&M agreement ▪ Developed a risk management process ▪ Management Committee meeting ▪ Corrective action process ▪ Link between risk management and asset management process | Strong | Priority 4 | ▪ Asset Management Plan ▪ Site Management Plan ▪ | 2 Planned & Tracked | The current risk management policies are governed by the maintenance service provider and monitored via the WOM. WWP monitor the output and allow the maintenance service provider to control their own systems. The post warranty risks (3 years away) are currently under review for the development and implementation of a maintenance program at the appropriate time. | Determine post warranty risk and prepare for handover at end of warranty period. | Review post warranty risks and prepare for handover in 3 years. Responsibility: Regional Asset Manager Due Date: 30 April 2009
8.3 |  | Risks are documented in a risk register and treatment plans are actioned and monitored | Failure to capture risks within risk register processes | Probable | Moderate | Medium | ▪ Prescriptive nature of O&M agreement ▪ Developed a risk management process ▪ Management Committee meeting ▪ Corrective action process | Strong | Priority 4 | Review Plans for Risk Register | 2 Planned & Tracked | The SMP contains the risk register in relation to hazards and environmental aspects and documents the associated risks and the relevant controls in place to mitigate the risk. A JSEA (Job safety, environmental analysis) is developed for high risk activities. Environmental and Safety inspection checklists were available but not conducted regularly. | Conduct regular environmental and safety inspections and record and action results | Schedule and conduct regular environmental and safety inspections and record and action results to ensure hazards and aspects are controlled. Responsibility: Regional Asset Manager Due Date: 30 September 2008
8.4 |  | The probability and consequences of asset failure are regularly assessed | Inadequate review of asset failures | Unlikely | Moderate | Medium | ▪ Prescriptive nature of O&M agreement ▪ Developed a risk management process ▪ Management Committee meeting ▪ Corrective action process | Strong | Priority 4 | Asset Management Plan | 2 Planned & Tracked | Assessment of asset failure is conducted by the contracted maintenance service provider - Vestas. The probability and consequence is monitored via the WOM contract that measures the output of the maintenance service. Therefore assessment is monitored via performance.
9 | Contingency Planning | Contingency plans document the steps to deal with the unexpected failure of an asset.
9.01 | Interviewees | Rene Kuypers - Regional Asset Manager B&B Site Supervisor
9.1 |  | Contingency plans have been developed and tested to minimise any significant disruptions to service standards. | Service levels worse than expected following failures | Likely | Major | High | ▪ Contingency planning included in risk assessment ▪ Included as elements of AMS | Strong | Priority 2 | ▪ EPC/WOM ▪ Monthly Reports | 3 Well Defined | The maintenance service provider has created contingency plans and set levels of spare parts and set service delivery plans are agreed. The maintenance service provider meet these plans. The service level is monitored to ensure compliance.
9.2 |  | Contingency plans are documented, understood and tested to confirm their operability and to cover higher risks | Service levels worse than expected following failures | Likely | Major | High | ▪ Contingency planning included in risk assessment ▪ Include as elements of AMS | Strong | Priority 2 | Interview Regional Asset Manager | 3 Well Defined | We were able to identify that the contingency plans were documented and understood but we were not able to confirm that they had been tested to confirm the operability to cover higher risks. | Conduct test emergency plans and record effectiveness | Schedule and conduct test emergency plans to verify effectiveness and record and analyse results. Responsibility: Regional Asset Manager Due Date: 30 June 2008
10 | Financial Planning | The financial planning component of the asset management plan brings together the financial elements of the service delivery to ensure its financial viability over the long term.
10.01 | Interviewees | Rene Kuypers - Regional Asset Manager B&B Perry Wright - Australian Asset Manager B&B Geoff Dutaillis - WWP Pty Ltd
10.1 |  | The financial plan states the financial objectives and strategies and actions to achieve the objectives | Financial objectives and strategies not documented appropriately in financial plan | Unlikely | Minor | Low | ▪ Risk assessment link to budgeting process ▪ Monthly Report includes an analysis and commentary of the Financial Plan, forecast figures with actual expenditure, revenue analysis included within report | Strong | Priority 5 | Documentation and Plans to be reviewed Head Office Sydney | 4 Quantitatively Controlled | The financial plan was sighted and contained the objectives and strategies and actions to achieve the objectives
10.2 |  | The financial plan identifies the source of funds for capital expenditure and recurrent costs | Source of funds for Capital and Operational expenditures not identified or documented | Unlikely | Minor | Low | ▪ Risk assessment link to budgeting process ▪ Cash Call process established for Operational and Capital Expenditure | Strong | Priority 5 | Documentation and Plans to be reviewed Head Office Sydney | 4 Quantitatively Controlled | The financial plan clearly articulated the source of funds for the capital expenditure and the recurring costs to the project.
10.3 |  | The financial plan provides projections of operating statements (profit and loss) and statement of financial position (balance sheets) | Inadequate financial plan | Unlikely | Minor | Low | Financial Reports are maintained in the Monthly Report provide projections of P&L Statements and Balance Sheets | Strong | Priority 5 | Documentation and Plans to be reviewed Head Office Sydney | 4 Quantitatively Controlled | The financial plan provided projections of operating costs and income. The balance sheets for 2006 and the draft for 2007 was also sighted to support the financial position
10.4 |  | The financial plan provide firm predictions on income for the next five years and reasonable indicative predictions beyond this period | Inadequate financial plan | Unlikely | Minor | Low | ▪ Cash Call process established for Operational and Capital Expenditure ▪ Financial Reports are maintained in the Monthly Report provide projections of P&L Statements and Balance Sheets | Strong | Priority 5 | Documentation and Plans to be reviewed Head Office Sydney | 4 Quantitatively Controlled | The plan provided firm income predictions for the next five years and forecasts for 25 years
10.5 |  | The financial plan provides for the operations and maintenance, administration and capital expenditure requirements of the services | Inadequate financial plan | Unlikely | Minor | Low | Expenditure for operations and maintenance, administration and capital requirements of the services are detailed within the financial plan | Strong | Priority 5 | Documentation and Plans to be reviewed Head Office Sydney | 4 Quantitatively Controlled | The financial plan does provide expenditure for operation, maintenance, administration and capital expenditure for the service
10.6 |  | Significant variances in actual/budget income and expenses are identified and corrective action taken where necessary | Corrective action not taken when significant variances in actual/budget income and expenses occurred | Unlikely | Minor | Low | ▪ Financial Plan covered within Business Plan ▪ Risk assessment link to budgeting process ▪ | Strong | Priority 5 | Documentation and Plans to be reviewed Head Office Sydney | 4 Quantitatively Controlled | The current budget for expense is on a fixed term, so no variance is available. The income was as expected so no variance has been detected
11 | Capital Expenditure Planning | The capital expenditure plan provides a schedule of new works, rehabilitation and replacement works, together with estimated annual expenditure on each over the next five or more years. Since capital investments tend to be large and lumpy, projections would normally be expected to cover at least 10 years, preferably longer. Projections over the next five years would usually be based on firm estimates
11.01 | Interviewees | Rene Kuypers - Regional Asset Manager B&B Perry Wright - Australian Asset Manager B&B Geoff Dutaillis - WWP Pty Ltd
11.1 |  | A capital expenditure plan that provides reliable forward estimates of capital expenditure and asset disposal income, supported by documentation of the reasons for the decisions and evaluation of alternatives and options. | Inadequate Capital Expenditure plan | Unlikely | Moderate | Medium | ▪ O&M Contract ▪ Capital and operational expenditure systems for 10 years ▪ Asset life plan predicts costs over life of asset ▪ Risk assessment link to budgeting process ▪ Cash Call process established for Operational and Capital Expenditure | Strong | Priority 4 | Documentation and Plans to be reviewed Head Office Sydney | 4 Quantitatively Controlled | The plan for capital expenditure clearly articulates the expected expenditure on capital for 15 years. The plan for disposal has not been established as the WWP is still under WOM contract. The area of disposal and alternatives will be established in the future.
11.2 |  | There is a capital expenditure plan that covers issues to be addressed, actions proposed, responsibilities and dates | Inadequate Capital Expenditure plan | Unlikely | Moderate | Medium | ▪ O&M Contract ▪ Nature of JV agreement ▪ CapX and OPX systems for 10 years ▪ Asset life plan predicts costs over life of asset ▪ Risk assessment link to budgeting process ▪ Cash Call process established for Operational and Capital Expenditure | Strong | Priority 4 | Documentation and Plans to be reviewed Head Office Sydney | 4 Quantitatively Controlled | The capital expenditure plan covers the issues and action needed to address maintenance issues. The plan also includes proposed responsibilities
11.3 |  | The plan provide reasons for capital expenditure and timing of expenditure | Inadequate Capital Expenditure plan | Unlikely | Moderate | Medium | ▪ O&M Contract ▪ Capital and operational expenditure systems for 10 years ▪ Asset life plan predicts costs over life of asset ▪ Risk assessment link to budgeting process ▪ Cash Call process established for Operational and Capital Expenditure | Strong | Priority 4 | Documentation and Plans to be reviewed Head Office Sydney | 4 Quantitatively Controlled | The capital expenditure plan covers the issues and reasons of timing
11.4 |  | The capital expenditure plan is consistent with the asset life and condition identified in the asset management plan | Inadequate Capital Expenditure plan | Unlikely | Moderate | Medium | ▪ O&M Contract ▪ Capital and operational expenditure systems for 10 years ▪ Asset life plan predicts costs over life of asset ▪ Risk assessment link to budgeting process ▪ Cash Call process established for Operational and Capital Expenditure | Strong | Priority 4 | Documentation and Plans to be reviewed Head Office Sydney | 4 Quantitatively Controlled | The capital plan is currently based on the expected asset life from the start of the contract and is about to be reviewed as the contract expires in 3 years.
11.5 |  | There is an adequate process to ensure that the capital expenditure plan is regularly updated and actioned | Inadequate Capital Expenditure processes to ensure update of plan | Unlikely | Moderate | Medium | ▪ O&M Contract ▪ Capital and operational expenditure systems for 10 years ▪ Asset life plan predicts costs over life of asset ▪ Risk assessment link to budgeting process ▪ Cash Call process established for Operational and Capital Expenditure | Strong | Priority 4 | Documentation and Plans to be reviewed Head Office Sydney | 3 Well Defined | The plan is about to undergo revision with subsequent revisions on an annual basis. The plan has been in place for two years and is supported with a Warranty and Maintenance (WOM) contract. We believe that this is not unreasonable as the WOM contract is a 5 year agreement and reviews of the capital expenditure plan are about to commence.
12 | Review of AMS | The asset management system is regularly reviewed and updated.
12.01 | Interviewees | Rene Kuypers - Regional Asset Manager B&B Perry Wright - Australian Asset Manager B&B
12.1 |  | Review of the Asset Management System to ensure the effectiveness of the integration of its components and their currency. | Inadequate review processes for AMS | Unlikely | Minor | Low | ▪ Annual Plan ▪ Management Committee ▪ Prescriptive regulatory requirements WA government ▪ Corporate governance requirements | Strong | Priority 5 | ▪ SMA ▪ Monthly Reports | 1 Performed Informally | We reviewed the Asset Management Plan and we note that it is currently out of date and in draft format although the information appears to be relevant and accurate and is comprehensive. | Update the AMP | Review Australian Asset Management Plan annually and incorporate amendments. Responsibility: Regional Asset Manager. Due Date: 30 September 2008
12.2 |  | A review process is in place to ensure that the Asset Management Plan and the Asset Management System described therein are kept current | Inadequate review processes for AMS | Unlikely | Minor | Low | ▪ Annual Plan ▪ Management Committee ▪ Prescriptive regulatory requirements WA government ▪ Corporate governance requirements | Strong | Priority 5 | ▪ SMA ▪ Monthly Reports ▪ Performance Reports ▪ Interview Australian Asset Manager | 1 Performed Informally | We were not able to establish a review process to ensure that the AMP and the AMS are kept up to date | Update the AMP | Review Australian Asset Management Plan annually and incorporate amendments. Responsibility: Regional Asset Manager. Due Date: 30 September 2008
12.3 |  | Independent reviews (e.g. internal audit) are performed on the Asset Management System | Inadequate review processes for AMS | Unlikely | Minor | Low | ▪ Service Agreement for review of AMS ▪ Management Committee ▪ Compliance schedule | Strong | Priority 5 | Independent 3rd Party Audit Report | 4 Quantitatively Controlled | We identified that the Regional Asset Manager was currently undertaking a review of the AMP and providing appropriate feedback. In our opinion the Regional Asset Manager has the appropriate knowledge and authority to conduct a review of the AMP.
Likelihood | Impact |  | Audit Priority | Inherent Risk |  | Controls |  |  |  | Effectiveness
0 Not Performed
Likely | Minor |  | Priority 1 | Low |  | Strong |  |  |  | 1 Performed Informally
Probable | Moderate |  | Priority 2 | Medium |  | Moderate |  |  |  | 2 Planned & Tracked
Unlikely | Major |  | Priority 3 | High |  | Weak |  |  |  | 3 Well Defined
|  |  | Priority 4 | [6 empty] | 4 Quantitatively Controlled
|  |  | Priority 5 | [6 empty] | 5 Continuously Improving