## Read this first
2021 Electricity Reporting Datasheet (NQR) - Distribution Indicators
IMPORTANT NOTICE FOR ELECTRICITY DISTRIBUTION LICENSEES
Licensees should refer to the Electricity Distribution Licence Performance Reporting Handbook for information on the definitions of electricity distribution indicators listed in these Datasheets. The Handbook is available on the ERA website (see link below):
https://www.erawa.com.au/electricity/electricity-licensing/regulatory-guidelines
As per section 4 of the handbook, distributors should complete the ‘number’ column in each worksheet as follows: If the data is available: Enter the data If the activity did not occur: Enter '0' For example, if the distributor did not receive any technical QoS complaints the data for indicator NQR22 should be ‘0’. If the activity is not applicable: Enter 'n/a' If the data is unavailable: Leave the data cell blank. Add a comment in the ‘comments’ cell explaining why the data cannot be provided. If the data shows a change of more than 10% compared to last year’s data, the retailer should include the likely reason(s) for the change in the ‘comments’ column.
Some indicators (shaded blue) require a value as at 30 June. Some indicators (shaded green) require a cumulative total value for the whole of the reporting year.
Some indicators require reporting to be on a per customer/premises basis whereas others are on a per incident basis. For example, indicator NQR 1 (Total number of premises of small use customers interrupted for more than 12 hours continuously) should be reported on a per customer/premises basis. This means that if a premises of a small use customer is interrupted for more than 12 hours continuously, and more than once during a reporting year, the premises should only be counted once. Indicator NQR22 (Total number of technical QoS complaints) should be reported during a reporting year, each complaint should be recorded separately.

## Network reliability
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Network Reliability
Indicator No. | Reference | Description |  |  | Basis of Reporting |  | Comments
[5 empty] | Number | Percentage
NQR 1 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(5), item 5 | The number of premises of small use customers to which the supply of electricity has been interrupted for more than 12 hours continuously |  |  | REFER TABLE 1 (below)
NQR 2 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(5), item 5 | The number of premises of small use customers to which the supply of electricity has been interrupted more than the permitted number of times, as is defined in section 12(1) {of the NQ&R Code}
NQR 3 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(a), item 11(a) | For each discrete area, the average length of interruption of supply to customer premises expressed in minutes
NQR 4 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(b), item 11(b) | For each discrete area, the average number of interruptions of supply to customer premises
NQR 5 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(c), item 11(c) | For each discrete area, the average percentage of time that electricity has been supplied to customer premises
NQR 6 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(d), item 11(d) | For each discrete area, the average total length of all interruptions of supply to customer premises expressed in minutes |  |  | REFER TABLE 2 (below)
NQR 7 | SCONRRR | Overall SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 8 | SCONRRR | Distribution Network (Planned) SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 9 | SCONRRR | Distribution Network (Unplanned) SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 10 | SCONRRR | Normalised distribution network SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 11 | SCONRRR | Overall SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 12 | SCONRRR | Distribution Network (Planned) SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 13 | SCONRRR | Distribution Network (Unplanned) SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 14 | SCONRRR | Normalised distribution network SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 15 | SCONRRR | Overall CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 16 | SCONRRR | Distribution Network (Planned) CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 17 | SCONRRR | Distribution Network (Unplanned) CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 18 | SCONRRR | Normalised distribution network CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQ&R - Network Reliability - Table 1
Description |  | Discrete Area |  | Total Network | Perth CBD and the urban areas combined | Other areas of the State | Comments
Interruptions for more than 12 hours continuously (Sch 1 section 5(a) NQ&R Code) |  | Number of premises interrupted
Number of interruptions
More than the permitted number of interruptions (Sch 1 section 5(b) NQ&R Code) |  | Premises interrupted more than 9 times in a year
Premises interrupted more than 16 times in a year
SCONRRR - Network Reliability - Table 2
Description | Discrete Area |  | Total Network | CBD | Urban | Short Rural | Long Rural | Comments
SAIDI | Overall
Distribution Network (Planned)
Distribution Network (Unplanned)
Normalised Distribution Network
SAIFI | Overall
Distribution Network (Planned)
Distribution Network (Unplanned)
Normalised Distribution Network
CAIDI | Overall
Distribution Network (Planned)
Distribution Network (Unplanned)
Normalised Distribution Network

## Complaints
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Complaints
Indicator No. | Reference | Description |  | Basis of Reporting |  |  | Comments
|  |  |  | Number | Percentage | Value ($)
NQR 19 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(6) | Total number of complaints received {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with}
NQR 20 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(7) | Total number of complaints received from customers in each of the discrete areas {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} |  | REFER TABLE 3 (below)
NQR 21 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(8) | Total amount spent in addressing complaints {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} other than by way of payment under sections 18 and 19 {of the NQ&R Code}
NQR 22 | SCONRRR | Total number of technical QoS complaints
NQR 23 | SCONRRR | Total number of technical QoS complaints that are low supply voltage complaints
NQR 24 | SCONRRR | Percentage of technical QoS complaints that are low supply voltage complaints
NQR 25 | SCONRRR | Total number of technical QoS complaints that are voltage dip complaints
NQR 26 | SCONRRR | Percentage of technical QoS complaints that are voltage dip complaints
NQR 27 | SCONRRR | Total number of technical QoS complaints that are voltage swell complaints
NQR 28 | SCONRRR | Percentage of technical QoS complaints that are voltage swell complaints
NQR 29 | SCONRRR | Total number of technical QoS complaints that are voltage spike complaints
NQR 30 | SCONRRR | Percentage of technical QoS complaints that are voltage spike complaints
NQR 31 | SCONRRR | Total number of technical QoS complaints that are waveform distortion complaints
NQR 32 | SCONRRR | Percentage of technical QoS complaints that are waveform distortion complaints
NQR 33 | SCONRRR | Total number of technical QoS complaints that are TV or radio interference complaints
NQR 34 | SCONRRR | Percentage of technical QoS complaints that are TV or radio interference complaints
NQR 35 | SCONRRR | Total number of technical QoS complaints that are noise from appliances complaints
NQR 36 | SCONRRR | Percentage of technical QoS complaints that are noise from appliances complaints
NQR 37 | SCONRRR | Total number of technical QoS complaints that are other complaints
NQR 38 | SCONRRR | Percentage of technical QoS complaints that are other complaints
NQR 39 | SCONRRR | Breakdown of technical QoS complaints into the likely cause of problem that caused the complaint separated into:
Network equipment faulty - Total Number
Network equipment faulty - Percentage
Network interference by NSP equipment - Total Number
Network interference by NSP equipment - Percentage
Network interference by another customer - Total Number
Network interference by another customer - Percentage
Network limitation - Total Number
Network limitation - Percentage
Customer internal problem - Total Number
Customer internal problem - Percentage
No problem identified - Total Number
No problem identified - Percentage
Environmental - Total Number
Environmental - Percentage
Other - Total Number
Other - Percentage
NQ&R - Complaints - Table 3
Discrete Area |  | Number of Complaints Received | Comments
Perth CBD
Urban areas other than the Perth CBD
All other areas of the State

## Compensation payments
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Compensation Payments
Indicator No. | Reference | Description | Basis of Reporting |  |  | Comments
|  |  | Number | Percentage | Value ($)
NQR 40 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(9) | The number of payments made, and the total amount paid under section 18 of the NQ&R Code
NQR 41 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(9) | The number of payments made, and the total amount paid under section 19 of the NQ&R Code

## Network & Asset Info
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Network and Asset Information
Indicator No | Reference | Description |  |  | Basis of Reporting |  | Comments
[5 empty] | Number | Percentage
NQR 42 | SCONRRR | Number of metered supply points by feeder category (CBD, urban, short rural and long rural), reported against the categories of residential and non-residential customers and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 4A (below)
NQR 43 | SCONRRR | Number of unmetered supply points, by type of feeder (CBD, urban, long rural and short rural) |  |  | REFER TABLE 4B (below)
NQR 44 | SCONRRR | Energy delivered (GWh) by type of feeder (CBD, urban, long rural and short rural) reported against the categories of residential and non-residential customers and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 4C (below)
NQR 45 | SCONRRR | Line lengths by type of feeder (CBD, urban, long rural and short rural) reported against the categories of underground and overhead line categories and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 5A (below)
NQR 46 | SCONRRR | Number and total capacity of transformers, separated into sub-transmission and distribution |  |  | REFER TABLE 5B (below)
NQR 47 | SCONRRR | Total distribution losses (%)
NQR 48 | SCONRRR | Size of network service area (sq km)
NQR 49 | SCONRRR | Number of poles
NQR 50 | SCONRRR | Peak demand (MW)
Network & Asset Information - Table 4A
Number of Metered Supply Points |  | Total No. | By type of customer |  | By supply voltage |  |  | Comments
Feeder Category |  |  | Residential | Non-residential | ST | HV | LV
CBD
Urban
Rural Short
Rural Long
Network & Asset Information - Table 4B
Number of Un-metered Supply Points | [5 empty] | Comments
|  | CBD | Urban | Rural Short | Rural Long
Total No.
Network & Asset Information - Table 4C
Energy delivered (GWh) |  | By type of customer |  |  | By supply voltage |  |  | Comments
Feeder Category |  | Total GWh | Residential | Non-residential | ST | HV | LV
CBD
Urban
Rural Short
Rural Long
SCONRRR Business Descriptors - Table 5A
Line length (km) |  |  |  |  | By supply voltage |  |  | Comments
Feeder Category |  | Total km | Underground | Overhead | ST | HV | LV
CBD
Urban
Rural Short
Rural Long
SCONRRR Business Descriptors - Table 5B
Transfomer Type |  | Number of Transformers | Total capacity of Transformers (MVA) |  | Comments
Sub-transmission
Distribution