## Cover
Model overview
|  | Contents | 1 | Dashboard |  | Runs the model and provides key outputs for selected case
|  |  | 2 | Inputs |  | Input sheet
|  |  | 3 | Escalation factors |  | Input sheet for escalation factors
|  |  | 4 | Annualised Capital Cost |  | Calculation sheet
|  |  | 5 | Annualised Fixed O&M |  | Calculation sheet
|  |  | 6 | Legend |  | Style guide
ERA
Model structure
Benchmark Reserve Capacity Price - BESS - 2028/29 capacity year |  |  |  | Dashboard | Inputs |  |  | Escalation factors
Calculation sheets
Final determination |  | Highlighted cell in yellow refer to 2025 figure (final BRCP) | [5 empty] | Annualised Capital Cost
Annualised Fixed O&M
Disclaimer
The contents, including any opinions, conclusions or recommendations contained in, or which may be implied from, this model must not be relied upon. The ERA reserves the right, at any time, without notice, to modify or retract any part or all of this model. To the maximum extent permitted by law, the ERA excludes and disclaims any responsibility or liability arising from or in connection with this model.

## Summary
Benchmark Reserve Capacity Price
DASHBOARD
SUMMARY
2026
| CASE DESCRIPTION |  |  | BENCHMARK RESERVE CAPACITY PRICE (BRCP)
| Case | 200MW CC (15 years)
|  |  |  | Annual Fixed O&M |  | $/year |  | 11404863.5481
| GENERAL ASSUMPTIONS |  |  | is the annual fixed operating and maintenance costs for a typical BESS,
| Capacity Credit | MW | 200 | expressed in Australian dollars
| Term of Finance | years | 15
| WACC | % | 10.47%
| Tilt | x | 1 | Annualised Capital Cost |  | $/year | 86285469.0439 | 86285469.0439
is the capital cost, expressed in Australia dollars, annualised over a 15 year period
using a Weighted Average Cost of Capital (WACC) as determined by the ERA with a tilt
|  |  |  | Capacity Credit (CC) |  | MW |  | 200
is the expected Capacity Credit allocation determined @ 41DegC
|  |  |  | Benchmark Reserve Capacity Price |  | $/MW/year |  | 488451.663
BRCP = (Annual Fixed O&M + Annualised Capital Cost) / Capacity Credits
[5 empty] | Rounded up to nearest $100 | $/MW/year |  | 488500
Note on AZ8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Richard to update

## Input
#REF!
Input
| Description | Units | Input
General
| Case | Description | 200MW CC (15 years)
| Capacity Credits | MW | 200
| Period of assessment | years | 15
| Start date | date | 2025-10-01
| Tilt | x | 1
Weighted Average Cost of Capital (WACC)
| WACC | % | 10.85%
BESS development and capital costs
Supply & Delivery Cost
| Lithium-ion battery modules | $ | 246671109
| Escalation case | [1-10] | 0
| Escalation factor | Description | 0
| Power Conversion System | $ | 51241685
| Escalation case | [1-10] | 0
| Escalation factor | Description | 0
| BoP | $ | 45866596
| Escalation case | [1-10] | 2
| Escalation factor | Description | CPI % Change
Construction
| Total Construction costs | $ | 128875382
| Costs to be escalated | $ | 100%
| Escalation case | [1-10] | 4
| Escalation factor | Description | 60% WPI & 40% CPI
Land
| Total Land costs | $ | 4000101
| Costs to be escalated | $ | 100%
| Escalation case | [1-10] | 2
| Escalation factor | Description | CPI % Change
Transmission Connection Capital Costs
| Total Transmission Connection costs | $ | 26550101
| Costs to be escalated | $ | 100%
| Escalation case | [1-10] | 3
| Escalation factor | Description | Custom Western Power
Transmission Fixed Capital Charge
| Fixed Capital Charge Per MW | $ / MW | 100000
| Costs to be escalated | $ | 0%
| Escalation case | [1-10]
| Escalation factor | Description | 0
Other Indirect Costs
| Total Indirect costs | $ | 43312361
| Costs to be escalated | $ | 100%
| Escalation case | [1-10] | 1
| Escalation factor | Description | WA WPI - Labour
Contingency
| Include/ exclude | [1,0] | 1
| Percentage of capital cost | % | 0%
Annualised Fixed O&M
BESS
| BESS fixed O&M (annual) | $/year | 6873534
| Costs to be escalated | % | 60%
| Escalation case | [1-10] | 1
| Escalation factor | Description | WA WPI - Labour
| Equipment component | % | 40%
| Escalation case | [1-10] | 2
| Escalation factor | Description | CPI % Change
Transmission
| Connection Asset O&M (annual) | $/year | 116438
| Costs to be escalated | % | 80%
| Escalation case | [1-10] | 1
| Escalation factor | Description | WA WPI - Labour
| Equipment component | % | 20%
| Escalation case | [1-10] | 2
| Escalation factor | Description | CPI % Change
Transmission network service charges
| Cost (annual) | $/year | 1613811
| Costs to be escalated | % | 100%
| Escalation case | [1-10] | 2
| Escalation factor | Description | CPI % Change
Corporate overheads and various consulting services
| Cost (annual) | $/year | 1312875
| Costs to be escalated | % | 100%
| Escalation case | [1-10] | 1
| Escalation factor | Description | WA WPI - Labour
Site security
| Cost (annual) | $/year | 168480
| Costs to be escalated | % | 100%
| Escalation case | [1-10] | 1
| Escalation factor | Description | WA WPI - Labour
Local government rates
| Cost (annual) | $/year | 221986
| Costs to be escalated | % | 100%
| Escalation case | [1-10] | 2
| Escalation factor | Description | CPI % Change
[End of worksheet]

## Escalation factors
Benchmark Reserve Capacity Price
Escalation Factors
|  | Escalation factors |  |  | 2026 | 2027 | 2028 | 2029
| 1 | WA WPI - Labour | % | as at 30 Jun | 3.5% | 3% | 3% | 3%
| 2 | CPI % Change | % | as at 30 Jun | 4.2% | 2.9% | 2.6% | 2.5%
| 3 | Custom Western Power | % | as at 1 Oct |  | 27.97%
| 4 | 60% WPI & 40% CPI | % | as at 30 Jun | 3.78% | 2.96% | 2.84% | 2.8%
| 5 | 30% WPI & 70% CPI | % | as at 30 Jun | 3.99% | 2.93% | 2.72% | 2.65%
| 6 | 20% WPI & 80% CPI | % | as at 30 Jun | 4.06% | 2.92% | 2.68% | 2.6%
[End of worksheet]

## Annualised Capital Cost
Benchmark Reserve Capacity Price
Annualised Capital Cost
2026 Determination
Annualised Capital Cost
| Total development and capital costs | $ | 628494935.25 |  |  |  |  | 594232447.9564
| WACC (nominal, pre-tax) | % | 10.85% |  |  |  |  | 10.85%
| Capital Cost (with cash flow timing adj.) | $ | 661712945.3239 |  |  |  |  | 625639573.6711
| Term of Finance | years | 15 |  |  |  |  | 15
| Annualised Capital Cost | $/year | 91260550.4231 |  |  |  |  | 86285469.0439
| Annuity Tilt | years | 1 |  |  |  |  | 1
| Tilted Annuity Capital Cost | $/year | 86285469.0439 |  |  |  |  | 86285469.0439
Calculation of capital cost components
BESS development and capital costs
BESS supply and installation costs
|  |  | Capex |  |  |  |  | Escalated to 1 April 2028
| Lithium-ion battery modules | $ | 246671109
|  |  | Case | Factor | 2026 | 2027 | 2028
| Escalation | % | 0 | 0 | 0% | 0% | 0%
|  |  |  | 2025 | 2026 | 2027 | 2028
| Lithium-ion battery modules with escalation | $ |  | 246671109 | 246671109 | 246671109 | 246671109 | 246671109
Capex
| Power Conversion System | $ | 51241685
|  |  | Case | Factor | 2026 | 2027 | 2028
| Escalation | % | 0 | 0 | 0% | 0% | 0%
|  |  |  | 2025 | 2026 | 2027 | 2028
| Power Conversion System with escalation | $ |  | 51241685 | 51241685 | 51241685 | 51241685 | 51241685
Capex
| BOP | $ | 45866596
|  |  | Case | Factor | 2026 | 2027 | 2028
| Escalation | % | 2 | CPI % Change | 4.2% | 2.9% | 2.6%
|  |  |  | 2025 | 2026 | 2027 | 2028
| Electrical and control BoP with escalation | $ |  | 45866596 | 47792993.032 | 49178989.8299 | 50457643.5655 | 50134896.692
| Total BESS supply and installation costs | $ | 343779390 |  |  |  |  | 348047690.692
Construction
|  |  | Capex | % escalated | $ escalated
| Costs to be escalation | $ | 128875382 | 100% | 128875382
|  |  | Case | Factor | 2026 | 2027 | 2028
| Escalation | % | 4 | 60% WPI & 40% CPI | 3.78% | 2.96% | 2.84%
|  |  |  | 2025 | 2026 | 2027 | 2028
| Costs with escalation | $ |  | 128875382 | 133746871.4396 | 137705778.8342 | 141616622.9531 | 140628620.5842
Capex
| Costs without escalation | $ | 0 |  |  |  |  | 0
| Total Construction Costs | $ | 128875382 |  |  |  |  | 140628620.5842
Land
|  |  | Capex | % escalated | $ escalated
| Costs to be escalation | $ | 4000101 | 100% | 4000101
|  |  | Case | Factor | 2026 | 2027 | 2028
| Escalation | % | 2 | CPI % Change | 4.2% | 2.9% | 2.6%
|  |  |  | 2025 | 2026 | 2027 | 2028
| Costs with escalation | $ |  | 4000101 | 4168105.242 | 4288980.294 | 4400493.7817 | 4372346.4979
Capex
| Costs without escalation | $ | 0 |  |  |  |  | 0
| Total Land Costs | $ | 4000101 |  |  |  |  | 4372346.4979
Transmission Connection Capital Costs
|  |  | Capex | % escalated | $ escalated
| Costs to be escalation | $ | 26550101 | 100% | 26550101
|  |  | Case | Factor | 2026 | 2027 | 2028
| Escalation | % | 3 | Custom Western Power | 0% | 0% | 27.97%
|  |  |  | 2025 | 2026 | 2027 | 2028
| Costs with escalation | $ |  | 26550101 | 26550101 | 26550101 | 33975600 | 33975600
Capex
| Costs without escalation | $ | 0 |  |  |  |  | 0
| Fixed Capital Charge | $ | [5 empty] | 20000000
| Total Transmission Connection | $ | 26550101 |  |  |  |  | 53975600
Other Indirect Costs
|  |  | Capex | % escalated | $ escalated
| Costs to be escalation | $ | 43312361 | 100% | 43312361
|  |  | Case | Factor | 2026 | 2027 | 2028
| Escalation | % | 1 | WA WPI - Labour | 3.5% | 3% | 3%
|  |  |  | 2025 | 2026 | 2027 | 2028
| Costs with escalation | $ |  | 43312361 | 44828293.635 | 46173142.444 | 47558336.7174 | 47208190.1823
Capex
| Costs without escalation |  | 0
| Other Indirect Costs | $ | 43312361 |  |  |  |  | 47208190.1823
Contingency
|  |  | Flag | % of capex
| Contingency costs | $ | 1 | 0% |  |  |  | 0
| Total capex | $ | 628494935.25 |  |  |  |  | 594232447.9564
[End of worksheet]

## Annualised Fixed O&M
Benchmark Reserve Capacity Price
Annualised Fixed Operations & Maintenance
2026 Determination
Annualised Fixed O&M
| Total Fixed O&M | $/year | 10307124 | [5 empty] | 11404863.5481
Calculation
BESS O&M
|  |  | $/year | % escalated | $ escalated |  |  |  | Escalated to 1 Oct 2028
| BESS O&M Costs to be escalated | $ | 6873534 | 60% | 4124120.4
|  |  | Case | Factor | 2026 | 2027 | 2028 | 2029
| Escalation | % | 1 | WA WPI - Labour | 3.5% | 3% | 3% | 3%
|  |  |  | 2025 | 2026 | 2027 | 2028 | 2029
| Costs with escalation | $ |  | 4124120.4 | 4268464.614 | 4396518.5524 | 4528414.109 |  | 4562001.6815
|  |  | $/year | % escalated | $ escalated
| BESS O&M Costs to be escalated | $ | 6873534 | 40% | 2749413.6
|  |  | Case | Factor | 2026 | 2027 | 2028 | 2029
| Escalation | % | 2 | CPI % Change | 4.2% | 2.9% | 2.6% | 2.5%
|  |  |  | 2025 | 2026 | 2027 | 2028 | 2029
| Costs with escalation | $ |  | 2749413.6 | 2864888.9712 | 2947970.7514 | 3024617.9909 |  | 3043347.1705
Capex
| Costs without escalation | $ | 0 | [5 empty] | 0
| Total BESS O&M | $/year | 6873534 | [5 empty] | 7605348.852
Transmission O&M
Transmission
|  |  | $/year | % escalated | $ escalated
| Costs to be escalated | $ | 116438 | 80% | 93150.4
|  |  | Case | Factor | 2026 | 2027 | 2028 | 2029
| Escalation | % | 1 | WA WPI - Labour | 3.5% | 3% | 3% | 3%
|  |  |  | 2025 | 2026 | 2027 | 2028 | 2029
| Costs with escalation | $ |  | 93150.4 | 96410.664 | 99302.9839 | 102282.0734 |  | 103040.7069
|  |  | $/year | % escalated | $ escalated
| Costs to be escalated | $ | 116438 | 20% | 23287.6
|  |  | Case | Factor | 2026 | 2027 | 2028 | 2029
| Escalation | % | 2 | CPI % Change | 4.2% | 2.9% | 2.6% | 2.5%
|  |  |  | 2025 | 2026 | 2027 | 2028 | 2029
| Costs with escalation | $ |  | 23287.6 | 24265.6792 | 24969.3839 | 25618.5879 |  | 25777.2245
Capex
| Costs without escalation | $ | 0 | [5 empty] | 0
| Transmission O&M | $/year | 116438 | [5 empty] | 128817.9314
Transmission network service charges
Transmission network service charges
|  |  | $/year | % escalated | $ escalated
| Costs to be escalated | $ | 1613811 | 100% | 1613811
|  |  | Case | Factor | 2026 | 2027 | 2028 | 2029
| Escalation | % | 2 | CPI % Change | 4.2% | 2.9% | 2.6% | 2.5%
|  |  |  | 2025 | 2026 | 2027 | 2028 | 2029
| Costs with escalation | $ |  | 1613811 | 1681591.062 | 1730357.2028 | 1775346.4901 |  | 1786339.8729
| Transmission network service charges | $/year | 1613811 | [5 empty] | 1786339.8729
Corporate overheads and various consulting services
Corporate overheads and various consulting services
|  |  | $/year | % escalated | $ escalated
| Costs to be escalated | $ | 1312875 | 100% | 1312875
|  |  | Case | Factor | 2026 | 2027 | 2028 | 2029
| Escalation | % | 1 | WA WPI - Labour | 3.5% | 3% | 3% | 3%
|  |  |  | 2025 | 2026 | 2027 | 2028 | 2029
| Costs with escalation | $ |  | 1312875 | 1358825.625 | 1399590.3938 | 1441578.1056 |  | 1452270.3938
| Corporate overheads and various consulting services | $/year | 1312875 | [5 empty] | 1452270.3938
Site security
Site security
|  |  | $/year | % escalated | $ escalated
| Costs to be escalated | $ | 168480 | 100% | 168480
|  |  | Case | Factor | 2026 | 2027 | 2028 | 2029
| Escalation | % | 1 | WA WPI - Labour | 3.5% | 3% | 3% | 3%
|  |  |  | 2025 | 2026 | 2027 | 2028 | 2029
| Costs with escalation | $ |  | 168480 | 174376.8 | 179608.104 | 184996.3471 |  | 186368.4783
| Site security | $/year | 168480 | [5 empty] | 186368.4783
Local government rates
Local government rates
|  |  | $/year | % escalated | $ escalated
| Costs to be escalated | $ | 221986 | 100% | 221986
|  |  | Case | Factor | 2026 | 2027 | 2028 | 2029
| Escalation | % | 2 | CPI % Change | 4.2% | 2.9% | 2.6% | 2.5%
|  |  |  | 2025 | 2026 | 2027 | 2028 | 2029
| Costs with escalation | $ |  | 221986 | 231309.412 | 238017.3849 | 244205.837 |  | 245718.0197
| Local government rates | $/year | 221986 | [5 empty] | 245718.0197

## Legend
#REF!
Legend
Formatting of Headers and Dividers
| Sheet Header 1 | Level 1 | SheetHeader1
| Sheet Header 2 | Level 2 | SheetHeader2
| Sheet Header 3 | Level 3 | SheetHeader3
| Header 1 | Header 1 | Header1
| Header 2 | Header 2 | Header2
| Header 3 | Header 3 | Header3
| Inputs Divider | Divider | Inputs_Divider
| Inputs Divider 2 | Divider | Inputs_Divider 2
| Table Heading | Table Heading | Table_Heading
Individual Cell Formatting
| Assumptions input | 100 | Assumptions_Input
| Assumptions linked to chooser | 100 | Assumptions_linked
| Calculation | 100 | Calculation insheet
| Case Selector | Case | Case_Selector
| Empty Cell |  | Empty_Cell
| Technical Input | 100 | Technical_Input
| Flag | 1 | Flag
| Check | OK | Check
| Override | Override | Override
| NPV | NPV | NPV
Infrastructure
| Line Total | 100 | Line_Summary
| Units | AUD | Units
| Operation (Addition / Total) | 100 | Line_Total
| Closing Balance | 100 | Line_ClosingBal
| Key Line | 100 | Line_Key
Number Formatting Styles
| Positive Number (with decimals) | 1000
| Positive Number (no decimals) | 1000
| Negative Number (with decimals) | -1000
| Negative Number (no decimals) | -1000
| Zero | 0
| Percentage | 0.1
Constants
| Months Per Year | 12 | Months_Yr
| Quarters Per Year | 4 | Qtrs_Yr
| Days Per Year | 365 | Days_Yr
| Days Per Week | 7 | Days_Week
| Weeks Per Year | 52 | Weeks_Yr
| Hours per Day | 24 | Hours_day
| Years per Decade | 10 | Years_decade
| Very Small Number | 1e-07 | Verysmallnumber
| Thousand | 1000 | Thousand
| Million | 1000000 | Million
| Billion | 1000000000 | Billion
[End of worksheet]