## Complete Dataset 2025
Utility Group. | Licensee | Licence Number | Indicator Category | Indicator Sub Category | Indicator Code | Indicator Name | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | Licensee comments 2024-25
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Asset | Other Water Assets | A2 | Length of water mains (km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 5 | 5 | 5.8 | 13.6 | 13.628
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 4.6 | 9.8 | 11.2 | 5.9 | 7.6313
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Asset | Water Main Breaks | A8 | Water main breaks (no per 100 km of water main) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 26.9 | 7.3 | 14.6757
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Asset | Water Main Breaks | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 3 | 1 | 2
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Asset | Water treatment plants | A1 | Number of water treatment plants providing full treatment | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 1 | 1 | 1 | 1 | 1
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Customers | Connected properties and population | C4^ | Total connected properties - water supply | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 23 | 49 | 65 | 81 | 104
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Customers | Connected Properties and Population | SPW17/18 | Percentage of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 100 | 100 | 100 | 100 | 100
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Customers | Unplanned water supply interruptions | C15 | Average duration of an unplanned interruption- water (minutes) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0 | 240
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Customers | Water interruption frequency | C17 | Number of unplanned interruptions per 1000 properties | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0 | 19.2308
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Customers | Water interruption frequency | IC17 | Number of unplanned interruptions: water supply | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0 | 2
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Health | Water quality compliance | H3 | Percentage of population where microbiological compliance was achieved (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 100 | 0 | 100 | 100 | 100
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Water Resources | Production of Water | W11.3 | Volume potable water produced for supply into the urban water supply system (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 9.8 | 21.8 | 40.4 | 42.2 | 51.57
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 21.8 | 40 | 41.9 | 51.002 | Increased in line with growth in customers.
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Water Resources | Sources of Water | W3(W3.1) | Volume of water sourced from desalination (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 9.8 | 21.8 | 40.5 | 42.2 | 51.43
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0.5 | 0.3 | 0.428
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Water Resources | Uses of Water Supplied | W11 | Total urban water supplied (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 9.6 | 21.6 | 39.8 | 42 | 50.879
Less than 1,000 connected properties | Aqua Ferre (Muchea) Pty Ltd | WL51 | Water Resources | Uses of Water Supplied | W12 | Average annual residential water supplied (kL/property) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 419.2 | 479.8 | 146.5 | 282.2 | 303.4688
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Asset | Other Water Assets | A2 | Length of water mains (km) | 1.6 | 1.6 | 1.6 | 1.6 | n/a | n/a | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | 1.3 | 6.9 | 7.5 | 15 | n/a | n/a | 9.1 | 10 | 10 | 10 | 10 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Asset | Sewerage Assets | A5 | Length of sewerage mains and channels (km) | 0 | 0 | 0 | 0 | 2.7 | 2.6 | 2.6 | 3 | 2.6 | 2.6 | 2.6 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Asset | Sewerage Assets | A6 | Properties served per km of sewer main (no/km) | 0 | 0 | 0 | 0 | 0 | 0 | 16.5 | 17 | 38.8 | 51.2 | 51.5 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Asset | Sewerage Breaks and Chokes | A14 | Sewerage mains breaks and chokes (no per 100km sewer main) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Asset | Water Main Breaks | A8 | Water main breaks (no per 100 km of water main) | 0 | 0 | 0 | 0 | n/a | n/a | 0 | 0 | 0 | 0 | 0 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Asset | Water Main Breaks | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | 0 | 0 | 0 | 0 | n/a | n/a | 0 | 0 | 0 | 0 | 0 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Customers | Connected Properties and Population | C4^ | Total connected properties - water supply | 2 | 11 | 12 | 24 | n/a | n/a | 1 | 1 | 1 | 1 | 1 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Customers | Connected Properties and Population | C8 | Total connected properties - sewerage (000s) | 0.002 | 0.011 | 0.012 | 0 | n/a | n/a | 0.04 | 0.045 | 0.101 | 0.133 | 0.134 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Environment | Comparative sewage treatment levels | E1 | Percentage of sewage treated to a primary level (%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Environment | Comparative sewage treatment levels | E2 | Percentage of sewage treated to a secondary level (%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Environment | Comparative sewage treatment levels | E3 | Percentage of sewage treated to a tertiary or advanced level (%) | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Environment | Net greenhouse gas emissions | E8 | Per cent of biosolids reused (%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Sewage Collected | W18 | Total sewage collected (ML) | 0.0093 | 0.5 | 0.7 | 0 | n/a | n/a | 2.9 | 8 | 17.6 | 27.4 | 40.7 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Sewage Collected | W19 | Sewage collected per property (kL/property) | 4.6 | 42.7 | 58.3 | 0 | n/a | n/a | 66.5 | 180 | 174.3 | 206 | 303.9 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | 0 | 0 | 0 | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | 0.82 | 21.7 | 25.687 | 20.44 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Sources of Water | W3(W3.1) | Volume of water sourced from desalination (ML) | 0 | 0 | 0 | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | 0.8 | 21.7 | 25.7 | 20.4 | n/a | n/a | 2.9 | n/a | n/a | n/a | n/a | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | 0 | 0 | 0 | 0 | n/a | n/a | 2.9 | n/a | n/a | n/a | n/a | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | 0 | 0 | 0 | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Uses of recycled water and stormwater | W26 | Total recycled water supplied (ML) | 0 | 0 | 0 | 0 | n/a | n/a | 2.9 | 8 | 16.4 | 25.4 | 37.7 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Uses of recycled water and stormwater | W27 | Recycled water (percent of effluent recycled) | 0 | 0 | 0 | 0 | n/a | n/a | 100 | 100 | 93 | 92.7 | 92.6 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Uses of Water Supplied | W11 | Total urban water supplied (ML) | 0 | 0 | 0 | 0 | n/a | n/a | n/a | 8.1 | 16.4 | 25.4 | 37.7 | N/O
Less than 1,000 connected properties | Aquasol Pty Ltd | WL42 | Water Resources | Uses of Water Supplied | W12 | Average annual residential water supplied (kL/property) | 0 | 0 | 0 | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | N/O
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Asset | Other Water Assets | A2 | Length of water mains (km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 8 | 8 | 8 | 8
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 1.3 | 1.3 | 1.3 | 1.25
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Asset | Water treatment plants | A1 | Number of water treatment plants providing full treatment | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 1 | 1 | 1 | 1
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Customers | Connected Properties and Population | C4^ | Total connected properties - water supply | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 10 | 10 | 10 | 10
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Customers | Connected Properties and Population | SPW17/18 | Number of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 10 | 10 | 10 | 10
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Customers | Connected Properties and Population | SPW17/18 | Percentage of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 100 | 100 | 100 | 100
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Customers | Unplanned water supply interruptions | C15 | Average duration of an unplanned interruption- water (minutes) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 1440 | 180 | n/a | n/a
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Customers | Water interruption frequency | C17 | Number of unplanned interruptions per 1000 properties | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 100 | 100 | 0 | 0
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Customers | Water interruption frequency | IC17 | Number of unplanned interruptions: water supply | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 1 | 1 | 0 | 0
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Health | Water quality compliance | H3 | Percentage of population where microbiological compliance was achieved (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 100 | 100 | 100 | 100
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Water Resources | Production of Water | W11.3 | Volume potable water produced for supply into the urban water supply system (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 3344 | 2871.7 | 3337.5 | 2964.99 | Total treated water leaving the Water Treatment Plant. Note that the volume also includes supply to BHP sites, which are outside of the license area. >10% less than FY24 due to reduced demand at one BHP site and also Newman Town.
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 4208 | 3938.8 | 5444.5 | 4866.05 | >10% reduction from FY24 abstraction due to reduced demand.
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Water Resources | Sources of Water | W3(W3.1) | Volume of water sourced from desalination (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 4208 | 3938.9 | 5444.5 | 4866.05
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | n/a | n/a | n/a | n/a
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | n/a | n/a
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Water Resources | Uses of Water Supplied | W11 | Total urban water supplied (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | n/a | n/a | n/a | n/a
Less than 1,000 connected properties | BHP Iron Ore Pty Ltd | WL53 | Water Resources | Uses of Water Supplied | W12 | Average annual residential water supplied (kL/property) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | n/a | n/a | n/a | n/a
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Asset | Other Water Assets | A2 | Length of water mains (km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 12.2 | 12.2 | 12.2 | 12.2 | 12.2
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 25.7 | 25.7 | 25.7 | 25.7 | 11.7213
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Asset | Sewerage Assets | A5 | Length of sewerage mains and channels (km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 10.5 | 10.5 | 10.5 | 10.5 | 10.5
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Asset | Sewerage Assets | A6 | Properties served per km of sewer main (no/km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 28.3 | 28.3 | 28.3 | 28.3 | 13.619
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Asset | Sewerage Breaks and Chokes | A14 | Sewerage mains breaks and chokes (no per 100km sewer main) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Asset | Water Main Breaks | A8 | Water main breaks (no per 100 km of water main) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 8 | 8.2 | 8.2 | 147.5 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Asset | Water Main Breaks | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 1 | 1 | 1 | 18 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Asset | Water treatment plants | A1 | Number of water treatment plants providing full treatment | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 1 | 1 | 1 | 1 | 1
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Customers | Connected properties and population | C4^ | Total connected properties - water supply | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 314 | 314 | 314 | 314 | 143
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Customers | Connected properties and population | C8 | Total connected properties - sewerage (000s) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0.297 | 0.297 | 0.297 | 0.297 | 0.143
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Customers | Connected Properties and Population | SPW17/18 | Number of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 314 | 314 | 314 | 314 | 143
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Customers | Unplanned water supply interruptions | C15 | Average duration of an unplanned interruption- water (minutes) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 120 | 120 | 120 | 0 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Customers | Water interruption frequency | C17 | Number of unplanned interruptions per 1000 properties | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 16 | 15.9 | 15.9 | 0 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Customers | Water interruption frequency | IC17 | Number of unplanned interruptions: water supply | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 5 | 5 | 5 | 0 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Environment | Comparative sewage treatment levels | E1 | Percentage of sewage treated to a primary level (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 100 | 100 | 100 | 100 | 100
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Environment | Comparative sewage treatment levels | E2 | Percentage of sewage treated to a secondary level (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Environment | Comparative sewage treatment levels | E3 | Percentage of sewage treated to a tertiary or advanced level (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Environment | Net greenhouse gas emissions | E8 | Per cent of biosolids reused (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Health | Water quality compliance | H3 | Percentage of population where microbiological compliance was achieved (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 97.7 | 100 | 100 | 99 | 100
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Production of Water | W11.3 | Volume potable water produced for supply into the urban water supply system (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 584.5 | 584.9 | 610.55 | 626 | 625.8
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Sewage Collected | W18 | Total sewage collected (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 129.7 | 133 | 144.61 | 531.4 | 26.1 | Volume reduced from previous reporting period due to camp closure.
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Sewage Collected | W19 | Sewage collected per property (kL/property) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 436.8 | 447.81 | 490 | 1789.1 | 182.5175
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | n/a | n/a | n/a | 0 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 317.1 | 329.09 | 896.55 | 944.7 | 297.9 | Volume reduced from previous reporting period due to camp closure.
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Sources of Water | W3(W3.1) | Volume of water sourced from desalination (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | n/a | n/a | n/a | 0 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 317.1 | 329.09 | 896.55 | 944.7 | 297.9
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | n/a | n/a | n/a | n/a | n/a
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | n/a | n/a | n/a | n/a | n/a
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Uses of recycled water and stormwater | W26 | Total recycled water supplied (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Uses of recycled water and stormwater | W27 | Recycled water (percent of effluent recycled) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | n/a | n/a | n/a | n/a | n/a
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Uses of Water Supplied | W11 | Total urban water supplied (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 584.5 | 584.9 | 610.65 | 625.8 | 625.8
Less than 1,000 connected properties | BHP Nickel West Pty Ltd | WL52 | Water Resources | Uses of Water Supplied | W12 | Average annual residential water supplied (kL/property) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 1861.3 | 1862.75 | 1944.73 | 2114.1 | 5006.4
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Asset | Other Water Assets | A2 | Length of water mains (km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0.1
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 10
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Asset | Sewerage Assets | A5 | Length of sewerage mains and channels (km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 2.6
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Asset | Sewerage Assets | A6 | Properties served per km of sewer main (no/km) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 60.3846
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Asset | Sewerage Breaks and Chokes | A14 | Sewerage mains breaks and chokes (no per 100km sewer main) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Asset | Water Main Breaks | A8 | Water main breaks (no per 100 km of water main) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Asset | Water Main Breaks | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Customers | Connected Properties and Population | C4^ | Total connected properties - water supply | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 1
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Customers | Connected Properties and Population | C8 | Total connected properties - sewerage (000s) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0.157
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Environment | Comparative sewage treatment levels | E1 | Percentage of sewage treated to a primary level (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Environment | Comparative sewage treatment levels | E2 | Percentage of sewage treated to a secondary level (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Environment | Comparative sewage treatment levels | E3 | Percentage of sewage treated to a tertiary or advanced level (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 100
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Environment | Net greenhouse gas emissions | E8 | Per cent of biosolids reused (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0.1
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Sewage Collected | W18 | Total sewage collected (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 40
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Sewage Collected | W19 | Sewage collected per property (kL/property) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 254.7771
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Sources of Water | W3(W3.1) | Volume of water sourced from desalination (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 0
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Uses of recycled water and stormwater | W26 | Total recycled water supplied (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 39.6
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Uses of recycled water and stormwater | W27 | Recycled water (percent of effluent recycled) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 99
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Uses of Water Supplied | W11 | Total urban water supplied (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | 39.6
Less than 1,000 connected properties | Bwater Pty Ltd | WL54 | Water Resources | Uses of Water Supplied | W12 | Average annual residential water supplied (kL/property) | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | N/L | n/a
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Asset | Other Water Assets | A2 | Length of water mains (km) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 5 | 5 | 6.3 | 9.358 | Stages 1, 2 and 3.
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 3.8 | 9.1 | 4.9 | 3.0989
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Asset | Water treatment plants | A1 | Number of water treatment plants providing full treatment | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 1 | 1 | 1 | 1
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Customers | Connected Properties and Population | C4^ | Total connected properties - water supply | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 19 | 27 | 31 | 29
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Customers | Connected Properties and Population | SPW17/18 | Number of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 19 | 27 | 31 | 29
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Customers | Connected Properties and Population | SPW17/18 | Percentage of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 100 | 60 | 100 | 100
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Customers | Unplanned water supply interruptions | C15 | Average duration of an unplanned interruption- water (minutes) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 0 | 0 | 120 | 0
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Customers | Water interruption frequency | C17 | Number of unplanned interruptions per 1000 properties | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 0 | 0 | 32.3 | 0
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Customers | Water interruption frequency | IC17 | Number of unplanned interruptions: water supply | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 0 | 0 | 1 | 0
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Health | Water quality compliance | H3 | Percentage of population where microbiological compliance was achieved (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 100 | 0 | 100 | 100
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Water Resources | Production of Water | W11.3 | Volume potable water produced for supply into the urban water supply system (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 2 | 7.5 | 14.5 | 18.661
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Water Resources | Sources of Water | W3(W3.1) | Volume of water sourced from desalination (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 2 | 7.5 | 14.5 | 18.661
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Water Resources | Uses of Water Supplied | W11 | Total urban water supplied (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Country Heights Water Pty Ltd | WL49 | Water Resources | Uses of Water Supplied | W12 | Average annual residential water supplied (kL/property) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | 89.5 | 162.2 | 424.2 | 638.2759
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Asset | Irrigation | RWSP1 | Length of unlined channels (km) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Asset | Irrigation | RWSP2 | Length of lined channels (km) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Asset | Irrigation | RWSP3 | Length of natural waterways (km) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Asset | Irrigation | RWSP4 | Length of pipes in the supply network (km) | 44.5 | 44.5 | 44.5 | 44.5 | 44.5 | 48.5 | 49.6 | 49.6 | 49.6 | 49.6 | 49.6 | 49.6
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Asset | Irrigation | RWSP5 | Total carrier length (km) | 44.5 | 44.5 | 44.5 | 44.5 | 44.5 | 48.5 | 49.6 | 49.6 | 49.6 | 49.6 | 49.6 | 49.6
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Asset | Irrigation | RWSP6 | Number of customer service points fitted with an agency approved measurement device (No.) | 282 | 278 | 285 | 290 | 290 | 293 | 299 | 188 | 302 | 302 | 302 | 189 | GWC Irrigation Water Members and CCW non potable water customers. There is currently 189 and 113 irrigation and non-potables customers respectively.
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Asset | Irrigation | RWSP7 | Number of customer service points fitted with an agency approved indirect measurement device (No.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | 0
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Asset | Irrigation | RWSP8 | Number of customer service points with no supply measurement (No.) | 0 | 3 | 2 | 2 | 2 | 2 | 1 | 0 | 0 | 0 | n/a | 0
Less than 1,000 connected properties | Gascoyne Water Cooperative Limited | WL38 | Asset | Other Water Assets | A2 | Length of water mains (km) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 82.8 | 82.8 | 82.8 | 82.8 | 82.8
Less than 1,000 connected properties | Gascoyne Water Cooperative Limited | WL38 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 1.4 | 1.4 | 1.4 | 1.4 | 1.3647
Less than 1,000 connected properties | Gascoyne Water Cooperative Limited | WL38 | Asset | Water Main Breaks | A8 | Water main breaks (no per 100 km of water main) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 1.2 | 2.4 | 1.2 | 1.2 | 3.6232
Less than 1,000 connected properties | Gascoyne Water Cooperative Limited | WL38 | Asset | Water Main Breaks | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 1 | 2 | 1 | 1 | 3
Less than 1,000 connected properties | Gascoyne Water Cooperative Limited | WL38 | Customers | Connected properties and population | C4^ | Total connected properties - water supply | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 114 | 114 | 114 | 118 | 113 | CCW connections.
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Customers | Irrigation | RWSP10 | Number of customer accounts (No.) | 275 | 263 | 169 | 162 | 172 | 183 | 174 | 164 | 163 | 163 | 163 | 167 | GWC Accounts excluding CCW. Single billable entities with multiple services treated as single acocunt.
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Customers | Irrigation | RWSP11 | Total Number of planned service interruptions (No.) | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 22 | 42 | 38 | 16 | 0
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Customers | Irrigation | RWSP11A | Total number of planned service interruptions with 5 business days notice of the interruption provided to affected customers (No.) | 0 | 0 | 0 | 1 | 2 | n/a | 1 | 22 | 38 | 34 | 15 | 0
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Customers | Irrigation | RWSP11B | Percentage of planned service interruptions with 5 business days notice of the interruption provided to affected customers (%) | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 90.5 | 89.5 | 93.8 | 0
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Customers | Irrigation | RWSP12B | Percentage of customer complaints resolved within 15 business days (%) | 66.7 | 100 | 100 | 83.3 | 66.7 | n/a | 50 | 88.9 | 100 | 95 | 93.8 | 100
Less than 1,000 connected properties | Gascoyne Water Cooperative Limited | WL38 | Customers | Unplanned water supply interruptions | C15 | Average duration of an unplanned interruption- water (minutes) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Network Supply | Irrigation | RWSP13 | Volume of water sourced from surface water (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Network Supply | Irrigation | RWSP14 | Volume of water sourced from groundwater (ML) | 7108.3 | 2680 | 1843.7 | 2956 | 2908.2 | 3134 | 2770 | 2370 | 2170.5 | 2785.5 | 4510.2 | 4116.9
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Network Supply | Irrigation | RWSP15 | Volume of water sourced from treated wastewater (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Network Supply | Irrigation | RWSP16 | Volume of water sourced from other sources (ML) | 0 | 3834 | 5568.8 | 5024 | 4505.5 | 4250 | 5268 | 4640 | 4607.6 | 5255.7 | 5429.2 | 4882.1
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Network Supply | Irrigation | RWSP17 | Total supply network intake volume (ML) | 7108.3 | 6514 | 7412.5 | 7980 | 7413.7 | 7384 | 8038 | 7010 | 6778.1 | 8041.2 | 9939.4 | 8999
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Network Supply | Irrigation | RWSP18 | Total volume of water supplied at customer service points - irrigation (ML) | 7097.6 | 6126 | 6537.5 | 7919 | 7273 | 7177 | 7934 | 6826 | 6549.9 | 7868.4 | n/a | 8326.1
Irrigation Supply | Gascoyne Water Cooperative Limited | WL38 | Network Supply | Irrigation | RWSP19 | Quality of water provided (mg/L of dissolved solids) (mg/L) | 468.27 | 540 | 520 | 548 | 540 | 502 | 551 | 566 | 542 | 477 | 460 | 497
Less than 1,000 connected properties | Gascoyne Water Cooperative Limited | WL38 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Gascoyne Water Cooperative Limited | WL38 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 4510.2 | 4116.9
Less than 1,000 connected properties | Gascoyne Water Cooperative Limited | WL38 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 236 | 269 | 2785.5 | 9939.2 | 8999
Less than 1,000 connected properties | Gascoyne Water Cooperative Limited | WL38 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 236 | 269 | 2785.5 | 5429 | 4882.1
Less than 1,000 connected properties | Gascoyne Water Cooperative Limited | WL38 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Asset | Other Water Assets | A2 | Length of water mains (km) | n/a | n/a | 106 | 106 | 106 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | 22.7 | 25.8 | 25.8 | 24.8 | 24.3 | 24.5 | 24.5 | 25 | 25 | 27.3 | 27.5 | 24.8476
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Asset | Sewerage Assets | A5 | Length of sewerage mains and channels (km) | 85 | 85 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Asset | Sewerage Assets | A6 | Properties served per km of sewer main (no/km) | 28.3 | 32.2 | 33 | 31.7 | 31 | 31 | 31 | 31 | 31 | 34 | 34.2 | 34.2048
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Asset | Sewerage Breaks and Chokes | A14 | Sewerage mains breaks and chokes (no per 100km sewer main) | 8 | 3.5 | 5 | 2.4 | 3.6 | 3 | 2 | 6 | 3.61 | 4.819 | 5 | 7.22 | An additional 2 blockages, however due to our small volume a large % shift can be seen.
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Asset | Water Main Breaks | A8 | Water main breaks (no per 100 km of water main) | 3.8 | 6.6 | 4.7 | 7.5 | 3.8 | 2.9 | 20 | 25 | 41.9 | 31.4 | 34.3 | 16.1905
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Asset | Water Main Breaks | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | 4 | 7 | 5 | 8 | 4 | 3 | 21 | 26 | 44 | 33 | 36 | 17 | Decrease of bursts and leaks due to town upgrades. Bursts and leaks, replaced with planned work.
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Asset | Water treatment plants | A1 | Number of water treatment plants providing full treatment | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Customers | Connected Properties and Population | C4^ | Total connected properties - water supply | 2402 | 2736 | 2736 | 2627 | 2576 | 2572 | 2572 | 2599 | 2581 | 2865 | 2886 | 2609
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Customers | Connected Properties and Population | C8 | Total connected properties - sewerage (000s) | 2.402 | 2.736 | 2.736 | 2.627 | 2.576 | 2.572 | 2.572 | 2.599 | 2.581 | 2.826 | 2.842 | 2.839
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Customers | Connected Properties and Population | SPW17/18 | Number of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | 100 | 100 | 100 | 100 | 2576 | 2572 | 2572 | 2599 | 2581 | 2865 | 2886 | 2609
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Customers | Connected Properties and Population | SPW17/18 | Percentage of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | 2402 | 2736 | 2736 | 2627 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Customers | Unplanned water supply interruptions | C15 | Average duration of an unplanned interruption- water (minutes) | 250 | 123 | 0 | 309 | 255 | 265 | 285 | 277 | 247 | 382 | 372 | 213 | Decrease of unplanned water interruptions and decrease in time required to repair assets.
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Customers | Water interruption frequency | C17 | Number of unplanned interruptions per 1000 properties | 183 | 185 | 0 | 5 | 1.6 | 1.2 | 80.9 | 83 | 140.3 | 27.6 | 30.1 | 36.7957
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Customers | Water interruption frequency | IC17 | Number of unplanned interruptions: water supply | n/a | n/a | n/a | n/a | 4 | 3 | 208 | 217 | 362 | 79 | 87 | 96 | One outage involved 32 people, which has increased the recorded volume for this FY.
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Environment | Comparative sewage treatment levels | E1 | Percentage of sewage treated to a primary level (%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Environment | Comparative sewage treatment levels | E2 | Percentage of sewage treated to a secondary level (%) | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100 | 100
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Environment | Comparative sewage treatment levels | E3 | Percentage of sewage treated to a tertiary or advanced level (%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Environment | Net greenhouse gas emissions | E8 | Per cent of biosolids reused (%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Health | Water quality compliance | H3 | Percentage of population where microbiological compliance was achieved (%) | 100 | 100 | 99.6 | 99.62 | 100 | 99.62 | 99 | 100 | 99.8 | 99.6 | 99.8 | 99.6
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Production of Water | W11.3 | Volume potable water produced for supply into the urban water supply system (ML) | 0 | 0 | 0 | 0 | 3130 | 3643.2 | 3363.017 | 3459 | 3653.8 | 3629.7 | 3708.5 | 3431.957
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Sewage Collected | W18 | Total sewage collected (ML) | 520 | 537 | 477 | 540 | 430 | 499.7 | 699.1459 | 645 | 803.7 | 843.5 | 627.3 | 708.31
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Sewage Collected | W19 | Sewage collected per property (kL/property) | 216.5 | 196.3 | 174.3 | 205.6 | 166.9 | 194.3 | 271.8 | 248 | 311.4 | 298.5 | 220.7 | 249.4928
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | 2434 | 2887 | 2934 | 2218.6 | 2307.6 | 2840 | 2895.684 | 2821 | 2854 | 2859.9 | 2861.3 | 2630.291
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Sources of Water | W3(W3.1) | Volume of water sourced from desalination (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | 3304 | 3629 | 3696 | 2819 | 3202.4 | 3732.2 | 3793.2 | 3533 | 3715.8 | 3696.9 | 3745.9 | 3465.323
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | 870 | 742 | 686 | 531.5 | 822.7 | 804 | 816.917 | 638 | 799.8 | 769.8 | 847.2 | 801.666
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | 0 | 0 | 0 | 0 | 72.1 | 89 | 80.6471 | 74 | 62 | 67.2 | 37.5 | 33.366 | Minus 11% change. Reduced volume of recycled water required by the City of Karratha due to upgrades at one of the supply points.
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Uses of recycled water and stormwater | W26 | Total recycled water supplied (ML) | 0 | 0 | 76 | 69 | 72.1 | 89 | 80.6471 | 74 | 62 | 67.2 | 37.5 | 33.37 | Reduced volume of recycled water required by the City of Karratha due to upgrades at one of the supply points.
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Uses of recycled water and stormwater | W27 | Recycled water (percent of effluent recycled) | 0 | 0 | 15.9 | 12.8 | 16.8 | 17.8 | 11.5 | 11.5 | 7.7 | 8 | 6 | 4.7112
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Uses of Water Supplied | W11 | Total urban water supplied (ML) | 3304 | 3629 | 3696 | 2819 | 3202.4 | 3732.2 | 3443.6641 | 3533 | 3715.8 | 3696.9 | 3745.9 | 3465.323
Less than 1,000 connected properties | Hamersley Iron Pty Ltd | WL33 | Water Resources | Uses of Water Supplied | W12 | Average annual residential water supplied (kL/property) | 1375.5 | 1326.4 | 1350.9 | 1073.1 | 1243.2 | 1451.1 | 1338.9 | 1359 | 1530.7 | 1422.3 | 1443 | 1421.6889
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Asset | Irrigation | RWSP1 | Length of unlined channels (km) | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Asset | Irrigation | RWSP2 | Length of lined channels (km) | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Asset | Irrigation | RWSP3 | Length of natural waterways (km) | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Asset | Irrigation | RWSP4 | Length of pipes in the supply network (km) | 495 | 495 | 495 | 495 | 515 | 521 | 524 | 526 | 527.5 | 500 | 502 | 549 | Figure now includes RWS customers - stock and garden. RWS is part of the irrigation non-potable network supply. RWS doesn't have a separate supply network.
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Asset | Irrigation | RWSP5 | Total carrier length (km) | 771 | 771 | 751 | 751 | 771 | 777 | 780 | 782 | 783.5 | 756 | 758 | 805
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Asset | Irrigation | RWSP6 | Number of customer service points fitted with an agency approved measurement device (No.) | 1624 | 1655 | 1636 | 1621 | 1635 | 1650 | 1661 | 1694 | 1703 | 1393 | 1395 | 1380
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Asset | Irrigation | RWSP7 | Number of customer service points fitted with an agency approved indirect measurement device (No.) | 58 | 49 | 51 | 52 | 53 | 52 | 54 | 55 | 52 | 50 | 50 | 45
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Asset | Irrigation | RWSP8 | Number of customer service points with no supply measurement (No.) | 0 | 0 | 80 | 80 | 88 | 85 | 86 | 82 | 81 | 80 | 82 | 89 | Customer supplied pump (By law service).
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Customers | Irrigation | RWSP10 | Number of customer accounts (No.) | 1012 | 1039 | 1061 | 1062 | 1077 | 1099 | 1113 | 1143 | 1130 | 1143 | 1185 | 1214
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Customers | Irrigation | RWSP11 | Total Number of planned service interruptions (No.) | 2 | 5 | 8 | 3 | 1 | 2 | 3 | 5 | 9 | 5 | 5 | 3
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Customers | Irrigation | RWSP11A | Total number of planned service interruptions with 5 business days notice of the interruption provided to affected customers (No.) | 2 | 5 | 8 | 3 | 1 | 2 | 3 | 5 | 9 | 5 | 5 | 3
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Customers | Irrigation | RWSP11B | Percentage of planned service interruptions with 5 business days notice of the interruption provided to affected customers (%) | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Customers | Irrigation | RWSP12B | Percentage of customer complaints resolved within 15 business days (%) | 100 | N/A | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | n/a | 100
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Network Supply | Irrigation | RWSP13 | Volume of water sourced from surface water (ML) | 73851 | 66060 | 69094 | 59277 | 69279 | 74809 | 70333 | 49701 | 53319 | 62677 | 74011 | 62708
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Network Supply | Irrigation | RWSP14 | Volume of water sourced from groundwater (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.313 | 34.5 | 34.2 | 0
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Network Supply | Irrigation | RWSP15 | Volume of water sourced from treated wastewater (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Network Supply | Irrigation | RWSP16 | Volume of water sourced from other sources (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Network Supply | Irrigation | RWSP17 | Total supply network intake volume (ML) | 73851 | 66060 | 69094 | 59277 | 69279 | 74809 | 73827 | 49701 | 53323.313 | 62711.5 | 74045.2 | 62708
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Network Supply | Irrigation | RWSP18 | Total volume of water supplied at customer service points - irrigation (ML) | 56310 | 52397 | 53456.15 | 43464.5 | 53168 | 52777 | 54710 | 38574 | 41115 | 48441 | 53549 | 46045.82
Irrigation Supply | Harvey Water (SWIMCO) | WL31 | Network Supply | Irrigation | RWSP19 | Quality of water provided (mg/L of dissolved solids) (mg/L) | 119 - 993 | 119 - 993 | 102 - 1530 | 124 - 1281 | 110 - 1292 | 111 - 1273 | 108 - 1352 | 110 - 1383 | 112 - 1352 | 98 - 1410 | 1500 | 1402
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Asset | Other Water Assets | A2 | Length of water mains (km) | n/a | n/a | n/a | n/a | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | n/a | n/a | n/a | n/a | 6.5 | 6.5 | 8 | 11 | 11 | 12.5 | 12.5 | 16.5
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Asset | Sewerage Assets | A5 | Length of sewerage mains and channels (km) | n/a | n/a | n/a | n/a | 1.5 | 1.5 | 1.5 | 2 | 1.5 | 1.5 | 1.5 | 1.5
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Asset | Sewerage Assets | A6 | Properties served per km of sewer main (no/km) | n/a | n/a | n/a | n/a | 8.7 | 8.7 | 10.7 | 15 | 14.7 | 16.7 | 16.7 | 22
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Asset | Sewerage Breaks and Chokes | A14 | Sewerage mains breaks and chokes (no per 100km sewer main) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Asset | Water Main Breaks | A8 | Water main breaks (no per 100 km of water main) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | n/a | n/a | 0 | 0
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Asset | Water Main Breaks | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Asset | Water treatment plants | A1 | Number of water treatment plants providing full treatment | n/a | n/a | n/a | n/a | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Customers | Connected Properties and Population | C4^ | Total connected properties - water supply | n/a | n/a | n/a | n/a | 13 | 13 | 16 | 22 | 19 | 23 | 25 | 33
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Customers | Connected Properties and Population | C8 | Total connected properties - sewerage (000s) | n/a | n/a | n/a | n/a | 0.013 | 0.013 | 0.016 | 0.022 | 0.022 | 0.025 | 0.025 | 0.033
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Customers | Connected Properties and Population | SPW17/18 | Number of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | n/a | n/a | n/a | n/a | 13 | 13 | 16 | 22 | 22 | 25 | 25 | 33
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Customers | Connected Properties and Population | SPW17/18 | Percentage of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | n/a | n/a | n/a | n/a | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Customers | Unplanned water supply interruptions | C15 | Average duration of an unplanned interruption- water (minutes) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 900 | 0 | 0 | 0 | 60
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Customers | Water interruption frequency | C17 | Number of unplanned interruptions per 1000 properties | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 90.9 | 0 | 0 | 0 | 30.303
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Customers | Water interruption frequency | IC17 | Number of unplanned interruptions: water supply | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Environment | Comparative sewage treatment levels | E1 | Percentage of sewage treated to a primary level (%) | n/a | n/a | n/a | n/a | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Environment | Comparative sewage treatment levels | E2 | Percentage of sewage treated to a secondary level (%) | n/a | n/a | n/a | n/a | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Environment | Comparative sewage treatment levels | E3 | Percentage of sewage treated to a tertiary or advanced level (%) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Environment | Net greenhouse gas emissions | E8 | Per cent of biosolids reused (%) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Health | Water quality compliance | H3 | Percentage of population where microbiological compliance was achieved (%) | n/a | n/a | n/a | n/a | 100 | 100 | 100 | 98 | 100 | 100 | 100 | 100 | %ile calculated using ecoli and thermo tolerant coliforms.
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Production of Water | W11.3 | Volume potable water produced for supply into the urban water supply system (ML) | n/a | n/a | n/a | n/a | 1 | 1.5 | 1.7 | 2 | 2.1 | 3.9 | 3.4 | 4.4
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Sewage Collected | W18 | Total sewage collected (ML) | n/a | n/a | n/a | n/a | 0.7 | 1.1 | 1.4 | 2 | 1.5 | 1.6 | 1.8 | 3.5
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Sewage Collected | W19 | Sewage collected per property (kL/property) | n/a | n/a | n/a | n/a | 53.8 | 84.6 | 87.5 | 82 | 68.2 | 64 | 72 | 106.0606
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | n/a | n/a | n/a | n/a | 9.7 | 4.3 | 6.3 | 6 | 5.9 | 6.9 | 7 | 7.3
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Sources of Water | W3(W3.1) | Volume of water sourced from desalination (ML) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | n/a | n/a | n/a | n/a | 9.7 | 4.3 | 6.3 | 6 | 5.9 | 6.9 | 7.2 | 7.325
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.025
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Uses of recycled water and stormwater | W26 | Total recycled water supplied (ML) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Uses of recycled water and stormwater | W27 | Recycled water (percent of effluent recycled) | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Uses of Water Supplied | W11 | Total urban water supplied (ML) | n/a | n/a | n/a | n/a | 2.6 | 3.1 | 3.3 | 4 | 4.6 | 5.7 | 6.2 | 6.33
Less than 1,000 connected properties | Lancelin South Pty Ltd | WL47 | Water Resources | Uses of Water Supplied | W12 | Average annual residential water supplied (kL/property) | n/a | n/a | n/a | n/a | 200 | 238.5 | 206.3 | 177 | 209.1 | 228 | 248 | 191.8182
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Asset | Irrigation | RWSP1 | Length of unlined channels (km) | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Asset | Irrigation | RWSP2 | Length of lined channels (km) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Asset | Irrigation | RWSP3 | Length of natural waterways (km) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Asset | Irrigation | RWSP4 | Length of pipes in the supply network (km) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Asset | Irrigation | RWSP5 | Total carrier length (km) | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Asset | Irrigation | RWSP6 | Number of customer service points fitted with an agency approved measurement device (No.) | 233 | 231 | 239 | 239 | 239 | 239 | 239 | 239 | 239 | 240 | 240 | 250
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Asset | Irrigation | RWSP7 | Number of customer service points fitted with an agency approved indirect measurement device (No.) | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 24
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Asset | Irrigation | RWSP8 | Number of customer service points with no supply measurement (No.) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Customers | Irrigation | RWSP10 | Number of customer accounts (No.) | 111 | 111 | 111 | 63 | 62 | 62 | 62 | 61 | 61 | 62 | 62 | 58
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Customers | Irrigation | RWSP11 | Total Number of planned service interruptions (No.) | 10 | 14 | 25 | 34 | 13 | 13 | 12 | 5 | 5 | 5 | 5 | 5
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Customers | Irrigation | RWSP11A | Total number of planned service interruptions with 5 business days notice of the interruption provided to affected customers (No.) | 7 | 14 | 21 | 29 | 11 | 10 | 12 | 5 | 5 | 5 | 5 | 5
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Customers | Irrigation | RWSP11B | Percentage of planned service interruptions with 5 business days notice of the interruption provided to affected customers (%) | 70 | 100 | 84 | 85.3 | 84.6 | 76.9 | 100 | 100 | 100 | 100 | 100 | 100
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Customers | Irrigation | RWSP12B | Percentage of customer complaints resolved within 15 business days (%) | 2 | 100 | 100 | 100 | 100 | n/a | n/a | 100 | 100 | 100 | n/a | n/a
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Network Supply | Irrigation | RWSP13 | Volume of water sourced from surface water (ML) | 130444 | 199778 | 176301 | 155549 | 193765 | 271225 | 280104 | 279576 | 254001 | 218932 | 180600 | 186574
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Network Supply | Irrigation | RWSP14 | Volume of water sourced from groundwater (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Network Supply | Irrigation | RWSP15 | Volume of water sourced from treated wastewater (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Network Supply | Irrigation | RWSP16 | Volume of water sourced from other sources (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Network Supply | Irrigation | RWSP17 | Total supply network intake volume (ML) | 130444 | 199778 | 176301 | 155549 | 193765 | 271225 | 280104 | 279576 | 254001 | 218932 | 180600 | 186574
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Network Supply | Irrigation | RWSP18 | Total volume of water supplied at customer service points - irrigation (ML) | 95772 | 146541 | 133699 | 116268.6 | 128800 | 187702 | 215786 | 200261 | 178734 | 179900 | 133491 | 142246
Irrigation Supply | Ord Irrigation Cooperative Limited | WL37 | Network Supply | Irrigation | RWSP19 | Quality of water provided (mg/L of dissolved solids) (mg/L) | 2 | <300 | <300 | <250 | <250 | <250 | <250 | <100 | <100 | <100 | <100 | <20
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Asset | Other Water Assets | A2 | Length of water mains (km) | n/a | 3.5 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8 | 8 | 8.2 | 8.2 | 8.2
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | n/a | 114.9 | 49 | 41.1 | 41.1 | 41.1 | 41.1 | 40 | 40.4 | 41 | 40.6 | 40.6098
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Asset | Sewerage Assets | A5 | Length of sewerage mains and channels (km) | n/a | 3.5 | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 8 | 7.7 | 7.7 | 7.7 | 7.7
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Asset | Sewerage Assets | A6 | Properties served per km of sewer main (no/km) | n/a | 114.9 | 52.2 | 43.77 | 43.8 | 43.8 | 43.8 | 43 | 43 | 43.6 | 43.5 | 43.5065
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Asset | Sewerage Breaks and Chokes | A14 | Sewerage mains breaks and chokes (no per 100km sewer main) | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Asset | Water Main Breaks | A8 | Water main breaks (no per 100 km of water main) | n/a | 0 | 0 | 36.6 | 0 | 0 | 0 | 12 | 0 | 0 | 36.6 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Asset | Water Main Breaks | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | n/a | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Asset | Water treatment plants | A1 | Number of water treatment plants providing full treatment | n/a | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Customers | Connected Properties and Population | C4^ | Total connected properties - water supply | n/a | 402 | 402 | 337 | 337 | 337 | 337 | 331 | 331 | 333 | 333 | 333
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Customers | Connected Properties and Population | C8 | Total connected properties - sewerage (000s) | n/a | 0.402 | 0.402 | 0.337 | 0.337 | 0.337 | 0.337 | 0.331 | 0.331 | 0.336 | 0.335 | 0.335
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Customers | Connected Properties and Population | SPW17/18 | Number of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | n/a | 100 | 100 | 100 | 337 | 337 | 337 | 331 | 331 | 336 | 333 | 333
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Customers | Connected Properties and Population | SPW17/18 | Percentage of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | n/a | 402 | 402 | 322 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Customers | Unplanned water supply interruptions | C15 | Average duration of an unplanned interruption- water (minutes) | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Customers | Water interruption frequency | C17 | Number of unplanned interruptions per 1000 properties | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 39.275 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Customers | Water interruption frequency | IC17 | Number of unplanned interruptions: water supply | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Environment | Comparative sewage treatment levels | E1 | Percentage of sewage treated to a primary level (%) | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Environment | Comparative sewage treatment levels | E2 | Percentage of sewage treated to a secondary level (%) | n/a | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Environment | Comparative sewage treatment levels | E3 | Percentage of sewage treated to a tertiary or advanced level (%) | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Environment | Net greenhouse gas emissions | E8 | Per cent of biosolids reused (%) | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Health | Water quality compliance | H3 | Percentage of population where microbiological compliance was achieved (%) | n/a | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Production of Water | W11.3 | Volume potable water produced for supply into the urban water supply system (ML) | 0 | 0 | 0 | 0 | 564 | 611.7 | 539 | 561 | 555 | 609 | 677 | 636
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Sewage Collected | W18 | Total sewage collected (ML) | n/a | 108 | 82 | 102 | 104 | 113.8 | 113.5 | 124 | 122.2 | 122.9 | 137.8 | 125.47
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Sewage Collected | W19 | Sewage collected per property (kL/property) | n/a | 268.7 | 204 | 302.7 | 308.6 | 337.7 | 336.8 | 374 | 369.2 | 365.8 | 411.5 | 374.5373
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | n/a | 0 | 0 | 0 | n/a | n/a | n/a | n/a | n/a | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | n/a | 751 | 669 | 496 | 564 | 611.7 | 539 | 561 | 555 | 609 | 677 | 636
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Sources of Water | W3(W3.1) | Volume of water sourced from desalination (ML) | n/a | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | n/a | 751 | 669 | 496 | 564 | 611.7 | 539 | 561 | 555 | 609 | 677 | 636
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | n/a | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | n/a | 0 | 0 | 0 | 0 | 0 | 0 | n/a | n/a | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Uses of recycled water and stormwater | W26 | Total recycled water supplied (ML) | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Uses of recycled water and stormwater | W27 | Recycled water (percent of effluent recycled) | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Uses of Water Supplied | W11 | Total urban water supplied (ML) | n/a | 751 | 669 | 496 | 564 | 611.7 | 539 | 561 | 555 | 609 | 677 | 636
Less than 1,000 connected properties | Robe River Mining Co Pty Ltd | WL45 | Water Resources | Uses of Water Supplied | W12 | Average annual residential water supplied (kL/property) | n/a | 1868.2 | 1664.2 | 1471.8 | 1673.6 | 1815.2 | 1599.4 | 1695 | 1676.7 | 2085.6 | 2489 | 2338.2353
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Asset | Other Water Assets | A2 | Length of water mains (km) | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 23
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | 19.1 | 19.1 | 19 | 19.1 | 19.1 | 19.2 | 19.2 | 6 | 5.9 | 5.9 | 5.9 | 4.8696
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Asset | Sewerage Assets | A5 | Length of sewerage mains and channels (km) | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5.9 | 5.9
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Asset | Sewerage Assets | A6 | Properties served per km of sewer main (no/km) | 68.2 | 68.2 | 68.2 | 68 | 68.2 | 68.3 | 68.5 | 22 | 21.7 | 21.7 | 22 | 23.2203
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Asset | Sewerage Breaks and Chokes | A14 | Sewerage mains breaks and chokes (no per 100km sewer main) | 33.3 | 68.2 | 116.7 | 0 | 8 | 2 | 8 | 3 | 2 | 0 | 1 | 0
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Asset | Water Main Breaks | A8 | Water main breaks (no per 100 km of water main) | 40.9 | 31.8 | 40.9 | 18.2 | 27.3 | 36.4 | 50 | 277 | 9.1 | 31.8 | 18.2 | 0
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Asset | Water Main Breaks | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | 9 | 7 | 9 | 4 | 6 | 6 | 11 | 61 | 2 | 7 | 4 | 0 | No breaks, bursts or leaks within this reporting period. Unplanned interruption due to third-party (contractor) damage, not considered a mains break, burst or leak.
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Asset | Water treatment plants | A1 | Number of water treatment plants providing full treatment | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Customers | Connected Properties and Population | C4^ | Total connected properties - water supply | 421 | 421 | 421 | 421 | 421 | 422 | 422 | 130 | 130 | 130 | 130 | 112
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Customers | Connected Properties and Population | C8 | Total connected properties - sewerage (000s) | 0.409 | 0.409 | 0.409 | 0.409 | 0.41 | 0.41 | 0.411 | 0.13 | 0.13 | 0.13 | 0.13 | 0.137
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Customers | Connected Properties and Population | SPW17/18 | Number of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 130 | 130 | 130 | 112
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Customers | Connected Properties and Population | SPW17/18 | Percentage of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 100 | 100 | 100
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Customers | Unplanned water supply interruptions | C15 | Average duration of an unplanned interruption- water (minutes) | 530 | 227 | 111 | 0 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 120
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Customers | Water interruption frequency | C17 | Number of unplanned interruptions per 1000 properties | 7.1 | 11.9 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 8.9286
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Customers | Water interruption frequency | IC17 | Number of unplanned interruptions: water supply | n/a | n/a | n/a | n/a | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | Contractor damage, resulting in 2 hrs of unplanned interruptions.
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Environment | Comparative sewage treatment levels | E1 | Percentage of sewage treated to a primary level (%) | 100 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Estimate only. No chemical treatment used, only bioselectors.
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Environment | Comparative sewage treatment levels | E2 | Percentage of sewage treated to a secondary level (%) | 100 | 99 | 99 | 99 | 99 | 99 | 99 | 99 | 99 | 99 | 99 | 99
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Environment | Comparative sewage treatment levels | E3 | Percentage of sewage treated to a tertiary or advanced level (%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Environment | Net greenhouse gas emissions | E8 | Per cent of biosolids reused (%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Unknown as biosolids are shipped off the island.
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Health | Water quality compliance | H3 | Percentage of population where microbiological compliance was achieved (%) | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Production of Water | W11.3 | Volume potable water produced for supply into the urban water supply system (ML) | 0 | 0 | 0 | 0 | 148.9 | 196.5 | 207.8 | 166 | 174.3 | 202.6 | 352.8 | 210.597
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Sewage Collected | W18 | Total sewage collected (ML) | 59.1 | 70.1 | 73.7 | 74.3 | 83.7 | 67.8 | 55.8 | 79 | 88 | 87 | 90 | 89.8
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Sewage Collected | W19 | Sewage collected per property (kL/property) | 144.5 | 171.4 | 180.2 | 181.7 | 204.6 | 165.5 | 135.7 | 604 | 676.9 | 669.2 | 692.3 | 655.4745
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | 27.8 | 20.3 | 19.3 | 11.13 | 0.007 | 5.5 | 4.7 | 1.3 | 0.1 | 0.4 | 3.8 | 0 | No abstraction sourced from groundwater within reporting period.
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Sources of Water | W3(W3.1) | Volume of water sourced from desalination (ML) | 88.2 | 152 | 188.7 | 178.3 | 148.9 | 196.5 | 400.7 | 166 | 174.3 | 202.6 | 349 | 550.4 | The volume of sea water abstracted during the reporting period was 550.36 ML which is higher than the volume abstracted in the 2023-24 period of 500.61 ML. However due to desalination processes, the freshwater to network is 210.6 ML.
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | 116 | 172.1 | 208 | 189 | 148.9 | 202 | 405.4 | 168 | 174.4 | 203 | 352.8 | 550.4
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Uses of recycled water and stormwater | W26 | Total recycled water supplied (ML) | 4.8 | 4.1 | 0 | 0 | 47.7 | 55.2 | 61.8 | 55 | 51 | 50 | 66 | 66.9 | The increase from last reporting period is due to a greater requirement for irrigation due to a dry summer.
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Uses of recycled water and stormwater | W27 | Recycled water (percent of effluent recycled) | 8.1 | 5.8 | 0 | 0 | 57 | 81.4 | 110.8 | 70.1 | 58 | 57.5 | 73.3 | 74.4989
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Uses of Water Supplied | W11 | Total urban water supplied (ML) | 97.4 | 106 | 119.3 | 109.4 | 148.4 | 196.5 | 207.8 | 166 | 174.3 | 202.6 | 352.8 | 210.597
Less than 1,000 connected properties | Rottnest Island Authority | WL10 | Water Resources | Uses of Water Supplied | W12 | Average annual residential water supplied (kL/property) | 231.4 | 252.3 | 283.4 | 259.8 | 352.6081 | 465.6 | 492.4 | 1280 | 1340.8 | 1558.5 | 2713.8 | 1880.3304
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Asset | Other Water Assets | A2 | Length of water mains (km) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0.1
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Asset | Other Water Assets | A3 | Properties served per km of water main (no/km) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Asset | Sewerage Assets | A5 | Length of sewerage mains and channels (km) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 7.2
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Asset | Sewerage Assets | A6 | Properties served per km of sewer main (no/km) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 18.3333
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Asset | Sewerage Breaks and Chokes | A14 | Sewerage mains breaks and chokes (no per 100km sewer main) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | n/a
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Asset | Water Main Breaks | A8 | Water main breaks (no per 100 km of water main) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Asset | Water Main Breaks | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Customers | Connected Properties and Population | C4^ | Total connected properties - water supply | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Customers | Connected Properties and Population | C8 | Total connected properties - sewerage (000s) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0.132
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Environment | Comparative sewage treatment levels | E1 | Percentage of sewage treated to a primary level (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Environment | Comparative sewage treatment levels | E2 | Percentage of sewage treated to a secondary level (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Environment | Comparative sewage treatment levels | E3 | Percentage of sewage treated to a tertiary or advanced level (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 100
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Environment | Net greenhouse gas emissions | E8 | Per cent of biosolids reused (%) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Sewage Collected | W18 | Total sewage collected (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 9.1
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Sewage Collected | W19 | Sewage collected per property (kL/property) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 68.9394
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Sources of Water | W1 | Volume of water sourced from surface water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Sources of Water | W2 | Volume of water sourced from groundwater (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Sources of Water | W3(W3.1) | Volume of water sourced from desalination (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Sources of Water | W7 | Total sourced water (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Transfers of Water | W5(W5.3) | Volume of water sourced from bulk supplier (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Transfers of Water | W6 | Volume of bulk recycled water purchased (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Uses of recycled water and stormwater | W26 | Total recycled water supplied (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Uses of recycled water and stormwater | W27 | Recycled water (percent of effluent recycled) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Uses of Water Supplied | W11 | Total urban water supplied (ML) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0
Less than 1,000 connected properties | TMC Witchcliffe Pty Ltd | WL50 | Water Resources | Uses of Water Supplied | W12 | Average annual residential water supplied (kL/property) | N/L | N/L | N/L | N/L | N/L | N/L | N/O | N/O | N/O | N/O | N/R | 0

## Key
Key:
n/a | Not applicable
N/L | Not licensed
N/O | Not operating
N/R | Not reported
^ | Figure appears as raw data rather than converted to 1,000s