## Cover
ERA
Material constrained portfolio determination
Quarter 2
Results

## Summary
Material constrained portfolio determination
Summary
Figure 1: High-level steps to determine material constrained portfolios
This is the Economic Regulation Authority's spreadsheet detailing the results of our calculations of material constrained portfolios for Quarter 2 of 2025. This covers the period from 1 April 2025 to 1 July 2025.
Constrained portfolios that have facilities which received energy uplift payments in 10 per cent or more of relevant intervals over a three-month rolling test window, or fixed assessment period, are a material constrained portfolio. The material constrained portfolios identified in Quarter 2 of 2025 are listed in the "Results" tab of this spreadsheet and are highlighted in yellow.
For completeness, this spreadsheet is to be read in conjunction with the ERA's report and method paper on material constrained portfolios, which have been published alongside this spreadsheet.
Definitions of column headings in results tab
Constraint equation ID: an identifier for a mathematical representation of a network constraint and a limitation or requirement affecting the capability of a Load or Energy Producing System such that it would represent a risk to Power System Security or Power System Reliability if the limitation or requirement was removed (ESM Rules, Chapter 11).
Registered facility: In respect of a Rule Participant, a Facility registered by that Rule Participant with AEMO in a Facility Class under Chapter 2 [of the ESM Rules] (ESM Rules, Chapter 11).
Constrained portfolio number: a number assigned to a constrained set comprising one or more Scheduled Facilities, Semi-Scheduled Facilities and Non-Scheduled Facilities identified by the Economic Regulation Authority in accordance with ESM Rule 2.16B.1(a) [ESM Rules, Chapter 11).
CP_UP: refers to the number of Dispatch Intervals in the Rolling Test Window or Fixed Assessment Period (as applicable) in which the Constraint Equation relevant to the identification of the Constrained Portfolio and a Registered Facility in the Constrained Portfolio that received an Energy Uplift Payment (ESM Rule 2.16C.2).
NC: refers to the total number of Dispatch Intervals in the Rolling Test Window or Fixed Assessment Period (as applicable) in which the Constraint Equation relevant to the identification of the Constrained Portfolio bound (ESM Rule 2.16C.2)
Constrained uplift payment ratio (CUPR): a mathematical equation with CP_UP as the numerator and NC as a the denominator, multiplied by 100 (ESM Rule 2.16C.2 and ESM Rules Chapter 11).
Fixed assessment period: A period of at least seven consecutive Trading Days in which the Constraint Equation relevant to the identification of a Constrained Portfolio under ESM Rule 2.16B.2(b) has continuously bound within or across a Rolling Test Window. A Rolling Test Window may contain multiple Fixed Assessment Periods (ESM Rules, Chapter 11).
Fixed assessment period CP_UP: refers to the number of Dispatch Intervals in a Fixed Assessment Period in which the Constraint Equation relevant to the identification of the Constrained Portfolio and a Registered Facility in the Constrained Portfolio that received an Energy Uplift Payment (ESM Rule 2.16C.2 and Chapter 11).
Fixed assessment period NC: refers to the the total number of Dispatch Intervals in the Fixed Assessment Period in which the Constraint Equation relevant to the identification of the Constrained Portfolio bound (ESM Rule 2.16C.2 and Chapter 11)
Fixed assessment period CUPR: a mathematical equation with Fixed Assessment Period CP_UP as the numerator and Fixed Assessment Period NC as a the denominator, multiplied by 100 (ESM Rule 2.16C.2 and ESM Rules Chapter 11).

## Results
Constraint Equation ID | Registered Facility | Constrained Portfolio Number | CP_UP | NC | Constrained Uplift Payment Ratio (CUPR) | Fixed Asssessment Period CP_UP | Fixed Assessment Period NC | Fixed Assessment Period CUPR
#E 1*NAMKKN_MERR_SG1 >= 6 id-975 | NAMKKN_MERR_SG1 | 12 | 19 | 19 | 100
SHO-ST-OLY 91 ^ {LWT-SHO-KEM 91, BLW-SHO 91} [On(COLLIE_ESR1)] | COLLIE_ESR1 | 239 | 8 | 8 | 100
MSR-KMK 81 * {NIL} [Manual(TIWEST_COG1)] | TIWEST_COG1 | 75 | 315 | 316 | 99.6835
MSR-KMK 81 * {NIL} [RegLower(TIWEST_COG1)] | TIWEST_COG1 | 76 | 315 | 316 | 99.6835
MSR-KMK 81 * {NIL} [RegRaise(TIWEST_COG1)] | TIWEST_COG1 | 77 | 315 | 316 | 99.6835
Island(EGF) * {NIL} [Manual(PRK_AG)] | PRK_AG | 36 | 1267 | 1320 | 95.9848
NetworkCommit(ALINTA_WGP_GT) * {NIL} [On(ALINTA_WGP_GT)] | ALINTA_WGP_GT | 229 | 91 | 100 | 91
NetworkCommit(PINJAR_GT11) * {NIL} [On(PINJAR_GT11)] | PINJAR_GT11 | 231 | 213 | 242 | 88.0165
NetworkCommit(PINJAR_GT9) * {NIL} [On(PINJAR_GT9)] | PINJAR_GT9 | 232 | 19 | 22 | 86.3636
#E 1*COLLIE_ESR1 >= 0 id-997 | COLLIE_ESR1 | 6 | 5 | 6 | 83.3333
NetworkCommit(PRK_AG) * {NIL} [On(PRK_AG)] | PRK_AG | 233 | 57 | 69 | 82.6087
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | TESLA_KEMERTON_G1 | 90 | 39 | 71 | 54.9296
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | TESLA_PICTON_G1 | 90 | 39 | 71 | 54.9296
MGA-GTN 81 ^ LA23-LE68 {MGA-TS 81} [WWF-GTN 81 (GTN-)] | TESLA_GERALDTON_G1 | 59 | 4 | 9 | 44.4444
NT-NOR 81 > {D-SVY 81} [MW-WUN 71 (WUN-)] | TESLA_NORTHAM_G1 | 228 | 11 | 29 | 37.931
NetworkCommit(NAMKKN_MERR_SG1) * {NIL} [On(NAMKKN_MERR_SG1)] | NAMKKN_MERR_SG1 | 230 | 1 | 3 | 33.3333
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | TIWEST_COG1 | 91 | 10 | 71 | 14.0845
NIL > {MRS-MRT X1} [MU-NGS X1 (MU~)] | STHRNCRS_EG | 132 | 1 | 9 | 11.1111
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | COCKBURN_CCG1 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | KWINANA_GT2 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | KWINANA_GT3 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MUNGARRA_GT1 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MUNGARRA_GT3 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT1 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT10 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT11 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT2 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT3 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT4 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT5 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT7 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT9 | 51 | 2 | 22 | 9.0909
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | TIWEST_COG1 | 53 | 2 | 22 | 9.0909
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MUNGARRA_GT1 | 71 | 2 | 43 | 4.6512
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MUNGARRA_GT3 | 71 | 2 | 43 | 4.6512
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT1 | 71 | 2 | 43 | 4.6512
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT10 | 71 | 2 | 43 | 4.6512
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT11 | 71 | 2 | 43 | 4.6512
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT2 | 71 | 2 | 43 | 4.6512
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT3 | 71 | 2 | 43 | 4.6512
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT4 | 71 | 2 | 43 | 4.6512
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT5 | 71 | 2 | 43 | 4.6512
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT7 | 71 | 2 | 43 | 4.6512
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT9 | 71 | 2 | 43 | 4.6512
NIL > {WMS G501} [MU-NGS X1 (MU~)] | NAMKKN_MERR_SG1 | 209 | 1 | 25 | 4
NIL > {WMS G501} [MU-NGS X1 (MU~)] | INVESTEC_COLLGAR_WF1 | 210 | 1 | 25 | 4
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | COCKBURN_CCG1 | 89 | 2 | 71 | 2.8169
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | COLLIE_G1 | 89 | 2 | 71 | 2.8169
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | KEMERTON_GT11 | 89 | 2 | 71 | 2.8169
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | KEMERTON_GT12 | 89 | 2 | 71 | 2.8169
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | KWINANA_GT2 | 89 | 2 | 71 | 2.8169
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | KWINANA_GT3 | 89 | 2 | 71 | 2.8169
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | MUJA_G7 | 89 | 2 | 71 | 2.8169
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | MUJA_G8 | 89 | 2 | 71 | 2.8169
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MUNGARRA_GT1 | 173 | 14 | 603 | 2.3217
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MUNGARRA_GT3 | 173 | 14 | 603 | 2.3217
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT1 | 173 | 14 | 603 | 2.3217
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT10 | 173 | 14 | 603 | 2.3217
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT11 | 173 | 14 | 603 | 2.3217
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT2 | 173 | 14 | 603 | 2.3217
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT3 | 173 | 14 | 603 | 2.3217
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT4 | 173 | 14 | 603 | 2.3217
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT5 | 173 | 14 | 603 | 2.3217
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT7 | 173 | 14 | 603 | 2.3217
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT9 | 173 | 14 | 603 | 2.3217
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MUNGARRA_GT1 | 179 | 2 | 126 | 1.5873
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MUNGARRA_GT3 | 179 | 2 | 126 | 1.5873
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT1 | 179 | 2 | 126 | 1.5873
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT10 | 179 | 2 | 126 | 1.5873
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT11 | 179 | 2 | 126 | 1.5873
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT2 | 179 | 2 | 126 | 1.5873
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT3 | 179 | 2 | 126 | 1.5873
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT4 | 179 | 2 | 126 | 1.5873
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT5 | 179 | 2 | 126 | 1.5873
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT7 | 179 | 2 | 126 | 1.5873
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT9 | 179 | 2 | 126 | 1.5873
#E 1*ALINTA_PNJ_U2 <= 0 id-974 | ALINTA_PNJ_U2 | 1 | 0 | 6 | 0
#E 1*ALINTA_WGP_U2 = 70 id-1061 | ALINTA_WGP_U2 | 2 | 0 | 3 | 0
#E 1*ALINTA_WGP_U2 = 70 id-1062 | ALINTA_WGP_U2 | 3 | 0 | 4 | 0
#E 1*COLLIE_ESR1 >= 0 id-995 | COLLIE_ESR1 | 4 | 0 | 6 | 0
#E 1*COLLIE_ESR1 >= 0 id-996 | COLLIE_ESR1 | 5 | 0 | 1 | 0
#E 1*COLLIE_G1 <= 0 id-998 | COLLIE_G1 | 7 | 0 | 4 | 0
#E 1*MERSOLAR_PV1 = 0 id-1008 | MERSOLAR_PV1 | 8 | 0 | 947 | 0
#E 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 + 1*TESLA_GERALDTON_G1 = 0 id-979 | GREENOUGH_RIVER_PV1 | 9 | 0 | 92 | 0
#E 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 + 1*TESLA_GERALDTON_G1 = 0 id-979 | MWF_MUMBIDA_WF1 | 10 | 0 | 92 | 0
#E 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 + 1*TESLA_GERALDTON_G1 = 0 id-979 | TESLA_GERALDTON_G1 | 11 | 0 | 92 | 0
#E 1*PINJAR_GT5 = 0 id-1014 | PINJAR_GT5 | 13 | 0 | 663 | 0
#E 1*PRK_AG = 0 id-1048 | PRK_AG | 14 | 0 | 63 | 0
#E 1*STHRNCRS_EG = 0 id-1049 | STHRNCRS_EG | 15 | 0 | 45 | 0
#E 1*TESLA_GERALDTON_G1 + 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 = 0 id-982 | GREENOUGH_RIVER_PV1 | 16 | 0 | 98 | 0
#E 1*TESLA_GERALDTON_G1 + 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 = 0 id-982 | MWF_MUMBIDA_WF1 | 17 | 0 | 98 | 0
#E 1*TESLA_GERALDTON_G1 + 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 = 0 id-982 | TESLA_GERALDTON_G1 | 18 | 0 | 98 | 0
#E 1*TESLA_GERALDTON_G1 + 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 = 0 id-988 | GREENOUGH_RIVER_PV1 | 19 | 0 | 101 | 0
#E 1*TESLA_GERALDTON_G1 + 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 = 0 id-988 | MWF_MUMBIDA_WF1 | 20 | 0 | 101 | 0
#E 1*TESLA_GERALDTON_G1 + 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 = 0 id-988 | TESLA_GERALDTON_G1 | 21 | 0 | 101 | 0
#E 1*TESLA_GERALDTON_G1 + 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 = 0 id-989 | GREENOUGH_RIVER_PV1 | 22 | 0 | 106 | 0
#E 1*TESLA_GERALDTON_G1 + 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 = 0 id-989 | MWF_MUMBIDA_WF1 | 23 | 0 | 106 | 0
#E 1*TESLA_GERALDTON_G1 + 1*MWF_MUMBIDA_WF1 + 1*GREENOUGH_RIVER_PV1 = 0 id-989 | TESLA_GERALDTON_G1 | 24 | 0 | 106 | 0
#E 1*TESLA_NORTHAM_G1 = 0 id-1009 | TESLA_NORTHAM_G1 | 25 | 0 | 23 | 0
CPS-SHO 91 * {NIL} [Off(COLLIE_G1)] | COLLIE_G1 | 26 | 0 | 1712 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PERTHENERGY_KWINANA_GT1 | 27 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | BADGINGARRA_WF1 | 28 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | YANDIN_WF1 | 28 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | GREENOUGH_RIVER_PV1 | 29 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | WARRADARGE_WF1 | 29 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | EDWFMAN_WF1 | 30 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MWF_MUMBIDA_WF1 | 31 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | NEWGEN_NEERABUP_GT1 | 32 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | COCKBURN_CCG1 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | KWINANA_GT2 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | KWINANA_GT3 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MUNGARRA_GT1 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MUNGARRA_GT3 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT1 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT10 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT11 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT2 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT3 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT4 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT5 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT7 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT9 | 33 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | TESLA_NORTHAM_G1 | 34 | 0 | 43 | 0
GLT-NT 91, NT T1, JDP-WNO 81, SPS_NTBUS > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | TIWEST_COG1 | 35 | 0 | 43 | 0
Island(EGF) * {NIL} [Manual(STHRNCRS_EG)] | STHRNCRS_EG | 37 | 0 | 204 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | ALINTA_WWF | 38 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | BADGINGARRA_WF1 | 38 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | GREENOUGH_RIVER_PV1 | 39 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | EDWFMAN_WF1 | 40 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | MWF_MUMBIDA_WF1 | 41 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | NEWGEN_NEERABUP_GT1 | 42 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | MUNGARRA_GT1 | 43 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | MUNGARRA_GT3 | 43 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | PINJAR_GT1 | 43 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | PINJAR_GT10 | 43 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | PINJAR_GT11 | 43 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | PINJAR_GT2 | 43 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | PINJAR_GT3 | 43 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | PINJAR_GT4 | 43 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | PINJAR_GT5 | 43 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | PINJAR_GT7 | 43 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | PINJAR_GT9 | 43 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | TESLA_GERALDTON_G1 | 44 | 0 | 2 | 0
JDP-WNO 81 > {NBT-NT 91, SPS_MARNET} [NT-HBK 81 (HBK~)] | TESLA_NORTHAM_G1 | 44 | 0 | 2 | 0
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PERTHENERGY_KWINANA_GT1 | 45 | 0 | 22 | 0
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | BADGINGARRA_WF1 | 46 | 0 | 22 | 0
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | YANDIN_WF1 | 46 | 0 | 22 | 0
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | GREENOUGH_RIVER_PV1 | 47 | 0 | 22 | 0
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | WARRADARGE_WF1 | 47 | 0 | 22 | 0
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | EDWFMAN_WF1 | 48 | 0 | 22 | 0
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MWF_MUMBIDA_WF1 | 49 | 0 | 22 | 0
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | NEWGEN_NEERABUP_GT1 | 50 | 0 | 22 | 0
JDP-WNO 81 > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | TESLA_NORTHAM_G1 | 52 | 0 | 22 | 0
MGA T1 * {NIL} [Off(MUNGARRA_GT1)] | MUNGARRA_GT1 | 54 | 0 | 168 | 0
MGA-GTN 81 ^ LA23-LE68 {MGA-TS 81} [WWF-GTN 81 (GTN-)] | ALINTA_WWF | 55 | 0 | 9 | 0
MGA-GTN 81 ^ LA23-LE68 {MGA-TS 81} [WWF-GTN 81 (GTN-)] | GREENOUGH_RIVER_PV1 | 56 | 0 | 9 | 0
MGA-GTN 81 ^ LA23-LE68 {MGA-TS 81} [WWF-GTN 81 (GTN-)] | MWF_MUMBIDA_WF1 | 57 | 0 | 9 | 0
MGA-GTN 81 ^ LA23-LE68 {MGA-TS 81} [WWF-GTN 81 (GTN-)] | MUNGARRA_GT1 | 58 | 0 | 9 | 0
MGA-GTN 81 ^ LA23-LE68 {MGA-TS 81} [WWF-GTN 81 (GTN-)] | MUNGARRA_GT3 | 58 | 0 | 9 | 0
MGA-MGS 81 * {NIL} [Off(GREENOUGH_RIVER_PV1)] | GREENOUGH_RIVER_PV1 | 60 | 0 | 102 | 0
MOR-MUC 81 > {TST-TS 81} [PJR-RGN 81 (RGN~)] | ALINTA_WWF | 61 | 0 | 5 | 0
MOR-MUC 81 > {TST-TS 81} [PJR-RGN 81 (RGN~)] | BADGINGARRA_WF1 | 61 | 0 | 5 | 0
MOR-MUC 81 > {TST-TS 81} [PJR-RGN 81 (RGN~)] | GREENOUGH_RIVER_PV1 | 62 | 0 | 5 | 0
MOR-MUC 81 > {TST-TS 81} [PJR-RGN 81 (RGN~)] | EDWFMAN_WF1 | 63 | 0 | 5 | 0
MOR-MUC 81 > {TST-TS 81} [PJR-RGN 81 (RGN~)] | MWF_MUMBIDA_WF1 | 64 | 0 | 5 | 0
MOR-MUC 81 > {TST-TS 81} [PJR-RGN 81 (RGN~)] | MUNGARRA_GT1 | 65 | 0 | 5 | 0
MOR-MUC 81 > {TST-TS 81} [PJR-RGN 81 (RGN~)] | MUNGARRA_GT3 | 65 | 0 | 5 | 0
MOR-MUC 81 > {TST-TS 81} [PJR-RGN 81 (RGN~)] | TESLA_GERALDTON_G1 | 66 | 0 | 5 | 0
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | ALINTA_WWF | 67 | 0 | 43 | 0
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | BADGINGARRA_WF1 | 67 | 0 | 43 | 0
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | YANDIN_WF1 | 67 | 0 | 43 | 0
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | GREENOUGH_RIVER_PV1 | 68 | 0 | 43 | 0
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | WARRADARGE_WF1 | 68 | 0 | 43 | 0
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | EDWFMAN_WF1 | 69 | 0 | 43 | 0
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MWF_MUMBIDA_WF1 | 70 | 0 | 43 | 0
MOR-TS 81 > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | TESLA_GERALDTON_G1 | 72 | 0 | 43 | 0
MRT SR1-2 * LA28-LE84 {NIL} [Limit(INVESTEC_COLLGAR_WF1)] | INVESTEC_COLLGAR_WF1 | 73 | 0 | 3614 | 0
MRT SR1-2 * LA28-LE85 {NIL} [Limit(MERSOLAR_PV1)] | MERSOLAR_PV1 | 74 | 0 | 3365 | 0
MSR-KND 81 * {NIL} [Off(PERTHENERGY_KWINANA_GT1)] | PERTHENERGY_KWINANA_GT1 | 78 | 0 | 348 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) * {NIL} [Off(INVESTEC_COLLGAR_WF1)] | INVESTEC_COLLGAR_WF1 | 79 | 0 | 1276 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) * {NIL} [Off(MERSOLAR_PV1)] | MERSOLAR_PV1 | 80 | 0 | 90 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) * {NIL} [Off(NAMKKN_MERR_SG1)] | NAMKKN_MERR_SG1 | 81 | 0 | 1276 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | PERTHENERGY_KWINANA_GT1 | 82 | 0 | 71 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | ALCOA_WGP | 83 | 0 | 71 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | ALINTA_PNJ_U1 | 84 | 0 | 71 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | ALINTA_WGP_GT | 84 | 0 | 71 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | ALINTA_WGP_U2 | 84 | 0 | 71 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | ALBANY_WF1 | 85 | 0 | 71 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | GRASMERE_WF1 | 85 | 0 | 71 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | COLLIE_ESR1 | 86 | 0 | 71 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | FLATROCKS_WF1 | 87 | 0 | 71 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | BW1_BLUEWATERS_G2 | 88 | 0 | 71 | 0
MU-NGS X1, MU BTT2, MU BTT3, Off(SPS_220TRIP), On(MRT81-MNC) > {MU BTT1} [PIC-MRR 81 (PIC-)] | BW2_BLUEWATERS_G1 | 88 | 0 | 71 | 0
NBT-YDT 91, SPS_MARNET * {NIL} [Off(WARRADARGE_WF1)] | WARRADARGE_WF1 | 92 | 0 | 1023 | 0
NBT-YDT 91, SPS_MARNET * {NIL} [Off(YANDIN_WF1)] | YANDIN_WF1 | 93 | 0 | 1023 | 0
NIL > {BLD-WMS 81} [MU-NGS X1 (MU~)] | MERSOLAR_PV1 | 94 | 0 | 4 | 0
NIL > {BLD-WMS 81} [MU-NGS X1 (MU~)] | NAMKKN_MERR_SG1 | 95 | 0 | 4 | 0
NIL > {BLD-WMS 81} [MU-NGS X1 (MU~)] | INVESTEC_COLLGAR_WF1 | 96 | 0 | 4 | 0
NIL > {BLD-WMS 81} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT2 | 97 | 0 | 4 | 0
NIL > {BLD-WMS 81} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT3 | 97 | 0 | 4 | 0
NIL > {BLD-WMS 81} [MU-NGS X1 (MU~)] | PRK_AG | 98 | 0 | 4 | 0
NIL > {CGT-CGW X1} [MU-NGS X1 (MU~)] | MERSOLAR_PV1 | 99 | 0 | 2 | 0
NIL > {CGT-CGW X1} [MU-NGS X1 (MU~)] | NAMKKN_MERR_SG1 | 100 | 0 | 2 | 0
NIL > {CGT-CGW X1} [MU-NGS X1 (MU~)] | INVESTEC_COLLGAR_WF1 | 101 | 0 | 2 | 0
NIL > {CGT-CGW X1} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT2 | 102 | 0 | 2 | 0
NIL > {CGT-CGW X1} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT3 | 102 | 0 | 2 | 0
NIL > {CGT-CGW X1} [MU-NGS X1 (MU~)] | PRK_AG | 103 | 0 | 2 | 0
NIL > {CGT-CGW X1} [MU-NGS X1 (MU~)] | STHRNCRS_EG | 104 | 0 | 2 | 0
NIL > {CGT-CGW X2} [MU-NGS X1 (MU~)] | MERSOLAR_PV1 | 105 | 0 | 2 | 0
NIL > {CGT-CGW X2} [MU-NGS X1 (MU~)] | NAMKKN_MERR_SG1 | 106 | 0 | 2 | 0
NIL > {CGT-CGW X2} [MU-NGS X1 (MU~)] | INVESTEC_COLLGAR_WF1 | 107 | 0 | 2 | 0
NIL > {CGT-CGW X2} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT2 | 108 | 0 | 2 | 0
NIL > {CGT-CGW X2} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT3 | 108 | 0 | 2 | 0
NIL > {CGT-CGW X2} [MU-NGS X1 (MU~)] | PRK_AG | 109 | 0 | 2 | 0
NIL > {CGT-CGW X2} [MU-NGS X1 (MU~)] | STHRNCRS_EG | 110 | 0 | 2 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | ALINTA_WWF | 111 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | BADGINGARRA_WF1 | 111 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | YANDIN_WF1 | 111 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | GREENOUGH_RIVER_PV1 | 112 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | WARRADARGE_WF1 | 112 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | EDWFMAN_WF1 | 113 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | MWF_MUMBIDA_WF1 | 114 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | MUNGARRA_GT1 | 115 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | MUNGARRA_GT3 | 115 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT1 | 115 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT10 | 115 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT11 | 115 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT2 | 115 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT3 | 115 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT4 | 115 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT5 | 115 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT7 | 115 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT9 | 115 | 0 | 1 | 0
NIL > {CTB-ENB 81} [CTB-RGN 81 (CTB~)] | TESLA_GERALDTON_G1 | 116 | 0 | 1 | 0
NIL > {MBR-ALB 81} [KOJ81-KAF (KOJ-)] | ALBANY_WF1 | 117 | 0 | 244 | 0
NIL > {MBR-ALB 81} [KOJ81-KAF (KOJ-)] | GRASMERE_WF1 | 117 | 0 | 244 | 0
NIL > {MBR-ALB 81} [KOJ81-KAF (KOJ-)] | FLATROCKS_WF1 | 118 | 0 | 244 | 0
NIL > {MDP-MRT 81} [MU-NGS X1 (MU~)] | MERSOLAR_PV1 | 119 | 0 | 1 | 0
NIL > {MDP-MRT 81} [MU-NGS X1 (MU~)] | INVESTEC_COLLGAR_WF1 | 120 | 0 | 1 | 0
NIL > {MDP-MRT 81} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT2 | 121 | 0 | 1 | 0
NIL > {MDP-MRT 81} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT3 | 121 | 0 | 1 | 0
NIL > {MDP-MRT 81} [MU-NGS X1 (MU~)] | PRK_AG | 122 | 0 | 1 | 0
NIL > {MDP-MRT 81} [MU-NGS X1 (MU~)] | STHRNCRS_EG | 123 | 0 | 1 | 0
NIL > {MGA-TS 81, SPS_MGS, SPS_WWF} [TS-MBA 81 (MBA~)] | MWF_MUMBIDA_WF1 | 124 | 0 | 41 | 0
NIL > {MGA-TS 81, SPS_MGS, SPS_WWF} [TS-MBA 81 (MBA~)] | MUNGARRA_GT1 | 125 | 0 | 41 | 0
NIL > {MGA-TS 81, SPS_MGS, SPS_WWF} [TS-MBA 81 (MBA~)] | MUNGARRA_GT3 | 125 | 0 | 41 | 0
NIL > {MGA-TS 81, SPS_WWF, SPS_MGS} [TS-MBA 81 (MBA~)] | MWF_MUMBIDA_WF1 | 126 | 0 | 41 | 0
NIL > {MGA-TS 81, SPS_WWF, SPS_MGS} [TS-MBA 81 (MBA~)] | MUNGARRA_GT1 | 127 | 0 | 41 | 0
NIL > {MGA-TS 81, SPS_WWF, SPS_MGS} [TS-MBA 81 (MBA~)] | MUNGARRA_GT3 | 127 | 0 | 41 | 0
NIL > {MRS-MRT X1} [MU-NGS X1 (MU~)] | NAMKKN_MERR_SG1 | 128 | 0 | 9 | 0
NIL > {MRS-MRT X1} [MU-NGS X1 (MU~)] | INVESTEC_COLLGAR_WF1 | 129 | 0 | 9 | 0
NIL > {MRS-MRT X1} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT2 | 130 | 0 | 9 | 0
NIL > {MRS-MRT X1} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT3 | 130 | 0 | 9 | 0
NIL > {MRS-MRT X1} [MU-NGS X1 (MU~)] | PRK_AG | 131 | 0 | 9 | 0
NIL > {MRT-NOR-CNS 81} [MU-NGS X1 (MU~)] | MERSOLAR_PV1 | 133 | 0 | 4 | 0
NIL > {MRT-NOR-CNS 81} [MU-NGS X1 (MU~)] | NAMKKN_MERR_SG1 | 134 | 0 | 4 | 0
NIL > {MRT-NOR-CNS 81} [MU-NGS X1 (MU~)] | INVESTEC_COLLGAR_WF1 | 135 | 0 | 4 | 0
NIL > {MRT-NOR-CNS 81} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT2 | 136 | 0 | 4 | 0
NIL > {MRT-NOR-CNS 81} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT3 | 136 | 0 | 4 | 0
NIL > {MRT-NOR-CNS 81} [MU-NGS X1 (MU~)] | PRK_AG | 137 | 0 | 4 | 0
NIL > {MRT-NOR-CNS 81} [MU-NGS X1 (MU~)] | STHRNCRS_EG | 138 | 0 | 4 | 0
NIL > {MU-KOJ 82} [MU-KOJ 81 (MU~)] | ALBANY_WF1 | 139 | 0 | 3 | 0
NIL > {MU-KOJ 82} [MU-KOJ 81 (MU~)] | GRASMERE_WF1 | 139 | 0 | 3 | 0
NIL > {MU-KOJ 82} [MU-KOJ 81 (MU~)] | FLATROCKS_WF1 | 140 | 0 | 3 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | ALINTA_WWF | 141 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | BADGINGARRA_WF1 | 141 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | GREENOUGH_RIVER_PV1 | 142 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | EDWFMAN_WF1 | 143 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | MWF_MUMBIDA_WF1 | 144 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | NEWGEN_NEERABUP_GT1 | 145 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | MUNGARRA_GT1 | 146 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | MUNGARRA_GT3 | 146 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | PINJAR_GT1 | 146 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | PINJAR_GT10 | 146 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | PINJAR_GT11 | 146 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | PINJAR_GT2 | 146 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | PINJAR_GT3 | 146 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | PINJAR_GT4 | 146 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | PINJAR_GT5 | 146 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | PINJAR_GT7 | 146 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | PINJAR_GT9 | 146 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-MUL 81 (JDP~)] | TESLA_GERALDTON_G1 | 147 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | ALINTA_WWF | 148 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | BADGINGARRA_WF1 | 148 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | GREENOUGH_RIVER_PV1 | 149 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | EDWFMAN_WF1 | 150 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | MWF_MUMBIDA_WF1 | 151 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | NEWGEN_NEERABUP_GT1 | 152 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | MUNGARRA_GT1 | 153 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | MUNGARRA_GT3 | 153 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT1 | 153 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT10 | 153 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT11 | 153 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT2 | 153 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT3 | 153 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT4 | 153 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT5 | 153 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT7 | 153 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT9 | 153 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | TESLA_GERALDTON_G1 | 154 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | ALINTA_WWF | 155 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | BADGINGARRA_WF1 | 155 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | GREENOUGH_RIVER_PV1 | 156 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | EDWFMAN_WF1 | 157 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | MWF_MUMBIDA_WF1 | 158 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | NEWGEN_NEERABUP_GT1 | 159 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | MUNGARRA_GT1 | 160 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | MUNGARRA_GT3 | 160 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | PINJAR_GT1 | 160 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | PINJAR_GT10 | 160 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | PINJAR_GT11 | 160 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | PINJAR_GT2 | 160 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | PINJAR_GT3 | 160 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | PINJAR_GT4 | 160 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | PINJAR_GT5 | 160 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | PINJAR_GT7 | 160 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | PINJAR_GT9 | 160 | 0 | 2 | 0
NIL > {NBT-NT 91, SPS_MARNET} [NBT-WNO 81 (NBT~)] | TESLA_GERALDTON_G1 | 161 | 0 | 2 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | BADGINGARRA_WF1 | 162 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | YANDIN_WF1 | 162 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | GREENOUGH_RIVER_PV1 | 163 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | WARRADARGE_WF1 | 163 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | EDWFMAN_WF1 | 164 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MWF_MUMBIDA_WF1 | 165 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | NEWGEN_NEERABUP_GT1 | 166 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MUNGARRA_GT1 | 167 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MUNGARRA_GT3 | 167 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT1 | 167 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT10 | 167 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT11 | 167 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT2 | 167 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT3 | 167 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT4 | 167 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT5 | 167 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT7 | 167 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT9 | 167 | 0 | 3 | 0
NIL > {NT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | TESLA_NORTHAM_G1 | 168 | 0 | 3 | 0
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | ALINTA_WWF | 169 | 0 | 603 | 0
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | BADGINGARRA_WF1 | 169 | 0 | 603 | 0
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | YANDIN_WF1 | 169 | 0 | 603 | 0
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | GREENOUGH_RIVER_PV1 | 170 | 0 | 603 | 0
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | WARRADARGE_WF1 | 170 | 0 | 603 | 0
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | EDWFMAN_WF1 | 171 | 0 | 603 | 0
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MWF_MUMBIDA_WF1 | 172 | 0 | 603 | 0
NIL > {PJR-CTB 81} [PJR-RGN 81 (RGN~)] | TESLA_GERALDTON_G1 | 174 | 0 | 603 | 0
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | ALINTA_WWF | 175 | 0 | 126 | 0
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | BADGINGARRA_WF1 | 175 | 0 | 126 | 0
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | YANDIN_WF1 | 175 | 0 | 126 | 0
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | GREENOUGH_RIVER_PV1 | 176 | 0 | 126 | 0
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | WARRADARGE_WF1 | 176 | 0 | 126 | 0
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | EDWFMAN_WF1 | 177 | 0 | 126 | 0
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MWF_MUMBIDA_WF1 | 178 | 0 | 126 | 0
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | TESLA_GERALDTON_G1 | 180 | 0 | 126 | 0
NIL > {PKS GT1} [MU-NGS X1 (MU~)] | MERSOLAR_PV1 | 181 | 0 | 1 | 0
NIL > {PKS GT1} [MU-NGS X1 (MU~)] | NAMKKN_MERR_SG1 | 182 | 0 | 1 | 0
NIL > {PKS GT1} [MU-NGS X1 (MU~)] | INVESTEC_COLLGAR_WF1 | 183 | 0 | 1 | 0
NIL > {PKS GT1} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT2 | 184 | 0 | 1 | 0
NIL > {PKS GT1} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT3 | 184 | 0 | 1 | 0
NIL > {PKS GT1} [MU-NGS X1 (MU~)] | PRK_AG | 185 | 0 | 1 | 0
NIL > {PKS GT1} [MU-NGS X1 (MU~)] | STHRNCRS_EG | 186 | 0 | 1 | 0
NIL > {PKS GT2} [MU-NGS X1 (MU~)] | MERSOLAR_PV1 | 187 | 0 | 1 | 0
NIL > {PKS GT2} [MU-NGS X1 (MU~)] | NAMKKN_MERR_SG1 | 188 | 0 | 1 | 0
NIL > {PKS GT2} [MU-NGS X1 (MU~)] | INVESTEC_COLLGAR_WF1 | 189 | 0 | 1 | 0
NIL > {PKS GT2} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT2 | 190 | 0 | 1 | 0
NIL > {PKS GT2} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT3 | 190 | 0 | 1 | 0
NIL > {PKS GT2} [MU-NGS X1 (MU~)] | PRK_AG | 191 | 0 | 1 | 0
NIL > {PKS GT2} [MU-NGS X1 (MU~)] | STHRNCRS_EG | 192 | 0 | 1 | 0
NIL > {PKS GT3} [MU-NGS X1 (MU~)] | MERSOLAR_PV1 | 193 | 0 | 1 | 0
NIL > {PKS GT3} [MU-NGS X1 (MU~)] | NAMKKN_MERR_SG1 | 194 | 0 | 1 | 0
NIL > {PKS GT3} [MU-NGS X1 (MU~)] | INVESTEC_COLLGAR_WF1 | 195 | 0 | 1 | 0
NIL > {PKS GT3} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT2 | 196 | 0 | 1 | 0
NIL > {PKS GT3} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT3 | 196 | 0 | 1 | 0
NIL > {PKS GT3} [MU-NGS X1 (MU~)] | PRK_AG | 197 | 0 | 1 | 0
NIL > {PKS GT3} [MU-NGS X1 (MU~)] | STHRNCRS_EG | 198 | 0 | 1 | 0
NIL > {TS-MBA 81, SPS_MGS, SPS_WWF} [MGA-TS 81 (MGA~)] | MWF_MUMBIDA_WF1 | 199 | 0 | 41 | 0
NIL > {TS-MBA 81, SPS_MGS, SPS_WWF} [MGA-TS 81 (MGA~)] | MUNGARRA_GT1 | 200 | 0 | 41 | 0
NIL > {TS-MBA 81, SPS_MGS, SPS_WWF} [MGA-TS 81 (MGA~)] | MUNGARRA_GT3 | 200 | 0 | 41 | 0
NIL > {TS-MBA 81, SPS_WWF, SPS_MGS} [MGA-TS 81 (MGA~)] | MWF_MUMBIDA_WF1 | 201 | 0 | 41 | 0
NIL > {TS-MBA 81, SPS_WWF, SPS_MGS} [MGA-TS 81 (MGA~)] | MUNGARRA_GT1 | 202 | 0 | 41 | 0
NIL > {TS-MBA 81, SPS_WWF, SPS_MGS} [MGA-TS 81 (MGA~)] | MUNGARRA_GT3 | 202 | 0 | 41 | 0
NIL > {WMK G501} [MU-NGS X1 (MU~)] | MERSOLAR_PV1 | 203 | 0 | 30 | 0
NIL > {WMK G501} [MU-NGS X1 (MU~)] | NAMKKN_MERR_SG1 | 204 | 0 | 30 | 0
NIL > {WMK G501} [MU-NGS X1 (MU~)] | INVESTEC_COLLGAR_WF1 | 205 | 0 | 30 | 0
NIL > {WMK G501} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT2 | 206 | 0 | 30 | 0
NIL > {WMK G501} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT3 | 206 | 0 | 30 | 0
NIL > {WMK G501} [MU-NGS X1 (MU~)] | PRK_AG | 207 | 0 | 30 | 0
NIL > {WMS G501} [MU-NGS X1 (MU~)] | MERSOLAR_PV1 | 208 | 0 | 25 | 0
NIL > {WMS G501} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT2 | 211 | 0 | 25 | 0
NIL > {WMS G501} [MU-NGS X1 (MU~)] | WEST_KALGOORLIE_GT3 | 211 | 0 | 25 | 0
NIL > {WMS G501} [MU-NGS X1 (MU~)] | PRK_AG | 212 | 0 | 25 | 0
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | ALINTA_WWF | 213 | 0 | 1 | 0
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 214 | 0 | 1 | 0
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MWF_MUMBIDA_WF1 | 215 | 0 | 1 | 0
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MUNGARRA_GT1 | 216 | 0 | 1 | 0
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MUNGARRA_GT3 | 216 | 0 | 1 | 0
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | TESLA_GERALDTON_G1 | 217 | 0 | 1 | 0
NIL ^ LA3-LE8 {GTN-WWF 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | ALINTA_WWF | 218 | 0 | 2 | 0
NIL ^ LA3-LE8 {GTN-WWF 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 219 | 0 | 2 | 0
NIL ^ LA3-LE8 {GTN-WWF 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MWF_MUMBIDA_WF1 | 220 | 0 | 2 | 0
NIL ^ LA3-LE8 {GTN-WWF 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MUNGARRA_GT1 | 221 | 0 | 2 | 0
NIL ^ LA3-LE8 {GTN-WWF 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MUNGARRA_GT3 | 221 | 0 | 2 | 0
NIL ^ LA3-LE8 {GTN-WWF 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | TESLA_GERALDTON_G1 | 222 | 0 | 2 | 0
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | ALINTA_WWF | 223 | 0 | 1 | 0
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 224 | 0 | 1 | 0
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MWF_MUMBIDA_WF1 | 225 | 0 | 1 | 0
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MUNGARRA_GT1 | 226 | 0 | 1 | 0
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MUNGARRA_GT3 | 226 | 0 | 1 | 0
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | TESLA_GERALDTON_G1 | 227 | 0 | 1 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | BADGINGARRA_WF1 | 234 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | YANDIN_WF1 | 234 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | GREENOUGH_RIVER_PV1 | 235 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | WARRADARGE_WF1 | 235 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | EDWFMAN_WF1 | 236 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MWF_MUMBIDA_WF1 | 237 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MUNGARRA_GT1 | 238 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | MUNGARRA_GT3 | 238 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT1 | 238 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT10 | 238 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT11 | 238 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT2 | 238 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT3 | 238 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT4 | 238 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT5 | 238 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT7 | 238 | 0 | 12 | 0
PJR-YP 81 > {NBT-PJR 81, SPS_WWF} [HBK-MUC 81 (MUC~)] | PINJAR_GT9 | 238 | 0 | 12 | 0
SHO-ST-OLY 91 ^ {LWT-SHO-KEM 91, BLW-SHO 91} [On(COLLIE_G1)] | COLLIE_G1 | 240 | 0 | 9 | 0
TS-MBA 81 ^ LA18-LE57 {TST-TS 81} [WWF-GTN 81 (GTN-), MGA-GTN 81 (GTN-)] | GREENOUGH_RIVER_PV1 | 241 | 0 | 1 | 0
TS-MBA 81 ^ LA18-LE57 {TST-TS 81} [WWF-GTN 81 (GTN-), MGA-GTN 81 (GTN-)] | MWF_MUMBIDA_WF1 | 242 | 0 | 1 | 0
TS-MBA 81 ^ LA18-LE57 {TST-TS 81} [WWF-GTN 81 (GTN-), MGA-GTN 81 (GTN-)] | MUNGARRA_GT1 | 243 | 0 | 1 | 0
TS-MBA 81 ^ LA18-LE57 {TST-TS 81} [WWF-GTN 81 (GTN-), MGA-GTN 81 (GTN-)] | MUNGARRA_GT3 | 243 | 0 | 1 | 0
TS-MBA 81 ^ LA18-LE57 {TST-TS 81} [WWF-GTN 81 (GTN-), MGA-GTN 81 (GTN-)] | TESLA_GERALDTON_G1 | 244 | 0 | 1 | 0
WGP-LWT 91 * {NIL} [Off(ALINTA_WGP_GT)] | ALINTA_WGP_GT | 245 | 0 | 11 | 0