## Cover
ERA
Material constrained portfolio determination
Results for 2025 Quarter 3

## Summary
Material constrained portfolio determination
Summary
Figure 1: High-level steps to determine material constrained portfolios
This is the Economic Regulation Authority's spreadsheet detailing the results of our calculations of material constrained portfolios for Quarter 3 of 2025. This covers the period from 1 July 2025 to 1 October 2025.
Constrained portfolios that have facilities which received energy uplift payments in 10 per cent or more of relevant intervals over a three-month rolling test window, or fixed assessment period, are a material constrained portfolio. The material constrained portfolios identified in Quarter 3 of 2025 are listed in the "Results" tab of this spreadsheet and are highlighted in yellow.
For completeness, this spreadsheet is to be read in conjunction with the ERA's report and method paper on material constrained portfolios, which have been published alongside this spreadsheet.
Definitions of column headings in results tab
Constraint equation ID: an identifier for a mathematical representation of a network constraint and a limitation or requirement affecting the capability of a Load or Energy Producing System such that it would represent a risk to Power System Security or Power System Reliability if the limitation or requirement was removed (ESM Rules, Chapter 11).
Registered facility: In respect of a Rule Participant, a Facility registered by that Rule Participant with AEMO in a Facility Class under Chapter 2 [of the ESM Rules] (ESM Rules, Chapter 11).
Constrained portfolio number: a number assigned to a constrained set comprising one or more Scheduled Facilities, Semi-Scheduled Facilities and Non-Scheduled Facilities identified by the Economic Regulation Authority in accordance with ESM Rule 2.16B.1(a) [ESM Rules, Chapter 11).
CP_UP: refers to the number of Dispatch Intervals in the Rolling Test Window or Fixed Assessment Period (as applicable) in which the Constraint Equation relevant to the identification of the Constrained Portfolio and a Registered Facility in the Constrained Portfolio that received an Energy Uplift Payment (ESM Rule 2.16C.2).
NC: refers to the total number of Dispatch Intervals in the Rolling Test Window or Fixed Assessment Period (as applicable) in which the Constraint Equation relevant to the identification of the Constrained Portfolio bound (ESM Rule 2.16C.2)
Constrained uplift payment ratio (CUPR): a mathematical equation with CP_UP as the numerator and NC as a the denominator, multiplied by 100 (ESM Rule 2.16C.2 and ESM Rules Chapter 11).
Fixed assessment period: A period of at least seven consecutive Trading Days in which the Constraint Equation relevant to the identification of a Constrained Portfolio under ESM Rule 2.16B.2(b) has continuously bound within or across a Rolling Test Window. A Rolling Test Window may contain multiple Fixed Assessment Periods (ESM Rules, Chapter 11).
Fixed assessment period CP_UP: refers to the number of Dispatch Intervals in a Fixed Assessment Period in which the Constraint Equation relevant to the identification of the Constrained Portfolio and a Registered Facility in the Constrained Portfolio that received an Energy Uplift Payment (ESM Rule 2.16C.2 and Chapter 11).
Fixed assessment period NC: refers to the the total number of Dispatch Intervals in the Fixed Assessment Period in which the Constraint Equation relevant to the identification of the Constrained Portfolio bound (ESM Rule 2.16C.2 and Chapter 11)
Fixed assessment period CUPR: a mathematical equation with Fixed Assessment Period CP_UP as the numerator and Fixed Assessment Period NC as a the denominator, multiplied by 100 (ESM Rule 2.16C.2 and ESM Rules Chapter 11).

## Results
Constraint Equation ID | Registered Facility | Constrained Portfolio Number | CP_UP | NC | Constrained Uplift Payment Ratio (CUPR) | Fixed Assessment Period CP_UP | Fixed Assessment Period NC | Fixed Assessment Period CUPR | Participant name
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | GREENOUGH_RIVER_PV1 | 20 | 1 | 1 | 100 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | MUNGARRA_GT1 | 20 | 1 | 1 | 100 |  |  |  | Synergy
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | MUNGARRA_GT3 | 20 | 1 | 1 | 100 |  |  |  | Synergy
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT1 | 20 | 1 | 1 | 100 |  |  |  | Synergy
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT10 | 20 | 1 | 1 | 100 |  |  |  | Synergy
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT11 | 20 | 1 | 1 | 100 |  |  |  | Synergy
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT2 | 20 | 1 | 1 | 100 |  |  |  | Synergy
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT3 | 20 | 1 | 1 | 100 |  |  |  | Synergy
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT4 | 20 | 1 | 1 | 100 |  |  |  | Synergy
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT5 | 20 | 1 | 1 | 100 |  |  |  | Synergy
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT7 | 20 | 1 | 1 | 100 |  |  |  | Synergy
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT9 | 20 | 1 | 1 | 100 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | TESLA_GERALDTON_G1 | 64 | 25 | 25 | 100 |  |  |  | Tesla Geraldton Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | TESLA_NORTHAM_G1 | 64 | 25 | 25 | 100 |  |  |  | Tesla Northam Pty Ltd
NIL > {GLT T1} [TST-TS 81 (TS-)] | SBSOLAR1_CUNDERDIN_PV1 | 89 | 1 | 1 | 100 |  |  |  | Cunderdin Development Pty Ltd
NIL > {NBT T2} [TST-TS 81 (TS-)] | SBSOLAR1_CUNDERDIN_PV1 | 98 | 1 | 1 | 100 |  |  |  | Cunderdin Development Pty Ltd
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | SBSOLAR1_CUNDERDIN_PV1 | 115 | 1 | 1 | 100 |  |  |  | Cunderdin Development Pty Ltd
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | SBSOLAR1_CUNDERDIN_PV1 | 124 | 1 | 1 | 100 |  |  |  | Cunderdin Development Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | GREENOUGH_RIVER_PV1 | 127 | 2 | 2 | 100 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | MUNGARRA_GT1 | 127 | 2 | 2 | 100 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | MUNGARRA_GT3 | 127 | 2 | 2 | 100 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT1 | 127 | 2 | 2 | 100 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT10 | 127 | 2 | 2 | 100 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT11 | 127 | 2 | 2 | 100 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT2 | 127 | 2 | 2 | 100 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT3 | 127 | 2 | 2 | 100 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT4 | 127 | 2 | 2 | 100 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT5 | 127 | 2 | 2 | 100 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT7 | 127 | 2 | 2 | 100 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | PINJAR_GT9 | 127 | 2 | 2 | 100 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | WARRADARGE_WF1 | 127 | 2 | 2 | 100 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | SBSOLAR1_CUNDERDIN_PV1 | 159 | 1 | 1 | 100 |  |  |  | Cunderdin Development Pty Ltd
NetworkCommit(PINJAR_GT10) * {NIL} [On(PINJAR_GT10)] | PINJAR_GT10 | 193 | 1944 | 1980 | 98.1818 |  |  |  | Synergy
NetworkCommit(ALINTA_WGP_U2) * {NIL} [On(ALINTA_WGP_U2)] | ALINTA_WGP_U2 | 183 | 1320 | 1349 | 97.8503 |  |  |  | Alinta Sales Pty Ltd
NetworkCommit(ALINTA_WGP_U2) * {NIL} [On(ALINTA_WGP_U2)] | ALINTA_WGP_U2 | 184 | 1320 | 1349 | 97.8503 |  |  |  | Alinta Sales Pty Ltd
NetworkCommit(ALINTA_WGP_U2) * {NIL} [On(ALINTA_WGP_U2)] | ALINTA_WGP_U2 | 185 | 1320 | 1349 | 97.8503 |  |  |  | Alinta Sales Pty Ltd
NetworkCommit(PINJAR_GT4) * {NIL} [On(PINJAR_GT4)] | PINJAR_GT4 | 196 | 173 | 177 | 97.7401 |  |  |  | Synergy
NetworkCommit(PINJAR_GT3) * {NIL} [On(PINJAR_GT3)] | PINJAR_GT3 | 195 | 167 | 173 | 96.5318 |  |  |  | Synergy
NetworkCommit(PINJAR_GT9) * {NIL} [On(PINJAR_GT9)] | PINJAR_GT9 | 197 | 2535 | 2641 | 95.9864 |  |  |  | Synergy
NetworkCommit(PINJAR_GT1) * {NIL} [On(PINJAR_GT1)] | PINJAR_GT1 | 192 | 158 | 165 | 95.7576 |  |  |  | Synergy
NetworkCommit(ALINTA_WGP_GT) * {NIL} [On(ALINTA_WGP_GT)] | ALINTA_WGP_GT | 180 | 1259 | 1329 | 94.7329 |  |  |  | Alinta Sales Pty Ltd
NetworkCommit(ALINTA_WGP_GT) * {NIL} [On(ALINTA_WGP_GT)] | ALINTA_WGP_GT | 181 | 1259 | 1329 | 94.7329 |  |  |  | Alinta Sales Pty Ltd
NetworkCommit(ALINTA_WGP_GT) * {NIL} [On(ALINTA_WGP_GT)] | ALINTA_WGP_GT | 182 | 1259 | 1329 | 94.7329 |  |  |  | Alinta Sales Pty Ltd
NIL ^ LA3-LE8 {WWF-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | TESLA_GERALDTON_G1 | 172 | 605 | 649 | 93.2203 |  |  |  | Tesla Geraldton Pty Ltd
NetworkCommit(PINJAR_GT11) * {NIL} [On(PINJAR_GT11)] | PINJAR_GT11 | 194 | 2973 | 3214 | 92.5016 |  |  |  | Synergy
NetworkCommit(KEMERTON_GT11) * {NIL} [On(KEMERTON_GT11)] | KEMERTON_GT11 | 186 | 241 | 261 | 92.3372 |  |  |  | Synergy
NetworkCommit(KEMERTON_GT11) * {NIL} [On(KEMERTON_GT11)] | KEMERTON_GT11 | 187 | 241 | 261 | 92.3372 |  |  |  | Synergy
NetworkCommit(KWINANA_GT2) * {NIL} [On(KWINANA_GT2)] | KWINANA_GT2 | 190 | 40 | 44 | 90.9091 |  |  |  | Synergy
NetworkCommit(KWINANA_GT3) * {NIL} [On(KWINANA_GT3)] | KWINANA_GT3 | 191 | 37 | 41 | 90.2439 |  |  |  | Synergy
NetworkCommit(KEMERTON_GT12) * {NIL} [On(KEMERTON_GT12)] | KEMERTON_GT12 | 188 | 42 | 48 | 87.5 |  |  |  | Synergy
NetworkCommit(KEMERTON_GT12) * {NIL} [On(KEMERTON_GT12)] | KEMERTON_GT12 | 189 | 42 | 48 | 87.5 |  |  |  | Synergy
Island(EGF) * {NIL} [Manual(PRK_AG)] | PRK_AG | 29 | 51 | 97 | 52.5773 |  |  |  | Goldfields Power Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | GREENOUGH_RIVER_PV1 | 134 | 6 | 34 | 17.6471 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MUNGARRA_GT1 | 134 | 6 | 34 | 17.6471 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MUNGARRA_GT3 | 134 | 6 | 34 | 17.6471 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT1 | 134 | 6 | 34 | 17.6471 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT10 | 134 | 6 | 34 | 17.6471 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT11 | 134 | 6 | 34 | 17.6471 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT2 | 134 | 6 | 34 | 17.6471 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT3 | 134 | 6 | 34 | 17.6471 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT4 | 134 | 6 | 34 | 17.6471 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT5 | 134 | 6 | 34 | 17.6471 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT7 | 134 | 6 | 34 | 17.6471 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | PINJAR_GT9 | 134 | 6 | 34 | 17.6471 |  |  |  | Synergy
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | WARRADARGE_WF1 | 134 | 6 | 34 | 17.6471 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
MSR-KMK 81 * {NIL} [Manual(TIWEST_COG1)] | TIWEST_COG1 | 77 | 49 | 1207 | 4.0597 |  |  |  | Tronox Management Pty Ltd
MSR-KMK 81 * {NIL} [RegLower(TIWEST_COG1)] | TIWEST_COG1 | 78 | 49 | 1207 | 4.0597 |  |  |  | Tronox Management Pty Ltd
MSR-KMK 81 * {NIL} [RegRaise(TIWEST_COG1)] | TIWEST_COG1 | 79 | 49 | 1207 | 4.0597 |  |  |  | Tronox Management Pty Ltd
#E 1*ALBANY_WF1 + 1*GRASMERE_WF1 <= 0 id-1081 | ALBANY_WF1 | 1 | 0 | 11 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
#E 1*ALBANY_WF1 + 1*GRASMERE_WF1 <= 0 id-1081 | GRASMERE_WF1 | 1 | 0 | 11 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
#E 1*ALBANY_WF1 + 1*GRASMERE_WF1 <= 0 id-1081 | ALBANY_WF1 | 2 | 0 | 11 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
#E 1*ALBANY_WF1 + 1*GRASMERE_WF1 <= 0 id-1081 | GRASMERE_WF1 | 2 | 0 | 11 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
#E 1*ALBANY_WF1 + 1*GRASMERE_WF1 <= 0 id-1081 | ALBANY_WF1 | 3 | 0 | 11 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
#E 1*ALBANY_WF1 + 1*GRASMERE_WF1 <= 0 id-1081 | GRASMERE_WF1 | 3 | 0 | 11 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
#E 1*ALBANY_WF1 + 1*GRASMERE_WF1 <= 0 id-1081 | ALBANY_WF1 | 4 | 0 | 11 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
#E 1*ALBANY_WF1 + 1*GRASMERE_WF1 <= 0 id-1081 | GRASMERE_WF1 | 4 | 0 | 11 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
#E 1*ALINTA_WGP_GT <= 0 id-1077 | ALINTA_WGP_GT | 5 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*ALINTA_WGP_GT <= 0 id-1077 | ALINTA_WGP_GT | 6 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*ALINTA_WGP_GT <= 0 id-1077 | ALINTA_WGP_GT | 7 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*ALINTA_WGP_GT <= 0 id-1078 | ALINTA_WGP_GT | 8 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*ALINTA_WGP_GT <= 0 id-1078 | ALINTA_WGP_GT | 9 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*ALINTA_WGP_GT <= 0 id-1078 | ALINTA_WGP_GT | 10 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*ALINTA_WGP_GT <= 0 id-1079 | ALINTA_WGP_GT | 11 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*ALINTA_WGP_GT <= 0 id-1079 | ALINTA_WGP_GT | 12 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*ALINTA_WGP_GT <= 0 id-1079 | ALINTA_WGP_GT | 13 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*ALINTA_WGP_GT <= 0 id-1080 | ALINTA_WGP_GT | 14 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*ALINTA_WGP_GT <= 0 id-1080 | ALINTA_WGP_GT | 15 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*ALINTA_WGP_GT <= 0 id-1080 | ALINTA_WGP_GT | 16 | 0 | 107 | 0 |  |  |  | Alinta Sales Pty Ltd
#E 1*COCKBURN_CCG1 >= 4 id-1132 | COCKBURN_CCG1 | 17 | 0 | 10 | 0 |  |  |  | Synergy
#E 1*TESLA_PICTON_G1 = 0 id-1083 | TESLA_PICTON_G1 | 18 | 0 | 1 | 0 |  |  |  | Tesla Corporation Management Pty Ltd
CPS-SHO 91 * {NIL} [Off(COLLIE_G1)] | COLLIE_G1 | 19 | 0 | 3293 | 0 | 0 | 3293 | 0 | Synergy
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | GREENOUGH_RIVER_PV1 | 21 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | EDWFMAN_WF1 | 22 | 0 | 1 | 0 |  |  |  | EDWF Manager Pty Ltd
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | MWF_MUMBIDA_WF1 | 23 | 0 | 1 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | NEWGEN_NEERABUP_GT1 | 24 | 0 | 1 | 0 |  |  |  | NewGen Neerabup Partnership
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | GREENOUGH_RIVER_PV1 | 25 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | SBSOLAR1_CUNDERDIN_PV1 | 26 | 0 | 1 | 0 |  |  |  | Cunderdin Development Pty Ltd
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | TESLA_GERALDTON_G1 | 27 | 0 | 1 | 0 |  |  |  | Tesla Geraldton Pty Ltd
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | TESLA_NORTHAM_G1 | 27 | 0 | 1 | 0 |  |  |  | Tesla Northam Pty Ltd
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | ALINTA_WWF | 28 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
HBK-MUC 81 > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | BADGINGARRA_WF1 | 28 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
KMP-KEM 91 * {NIL} [Off(KEMERTON_GT11)] | KEMERTON_GT11 | 30 | 0 | 179 | 0 |  |  |  | Synergy
KMP-KEM 91 * {NIL} [Off(KEMERTON_GT11)] | KEMERTON_GT11 | 31 | 0 | 179 | 0 |  |  |  | Synergy
KMP-KEM 91 * {NIL} [Off(KEMERTON_GT12)] | KEMERTON_GT12 | 32 | 0 | 179 | 0 |  |  |  | Synergy
KMP-KEM 91 * {NIL} [Off(KEMERTON_GT12)] | KEMERTON_GT12 | 33 | 0 | 179 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALBANY_WF1 | 34 | 0 | 37 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | COCKBURN_CCG1 | 34 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | COLLIE_G1 | 34 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | GRASMERE_WF1 | 34 | 0 | 37 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | KEMERTON_GT11 | 34 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | KEMERTON_GT12 | 34 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | KWINANA_GT2 | 34 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | KWINANA_GT3 | 34 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | MUJA_G7 | 34 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | MUJA_G8 | 34 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | WEST_KALGOORLIE_GT2 | 34 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | WEST_KALGOORLIE_GT3 | 34 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALINTA_WGP_GT | 35 | 0 | 37 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALINTA_WGP_U2 | 35 | 0 | 37 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALBANY_WF1 | 36 | 0 | 37 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | FLATROCKS_WF1 | 36 | 0 | 37 | 0 |  |  |  | Enel Energy Australia Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | GRASMERE_WF1 | 36 | 0 | 37 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | BW1_BLUEWATERS_G2 | 37 | 0 | 37 | 0 |  |  |  | Bluewaters Power 1 Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | BW2_BLUEWATERS_G1 | 37 | 0 | 37 | 0 |  |  |  | Bluewaters Power 2 Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | BW1_BLUEWATERS_G2 | 38 | 0 | 37 | 0 |  |  |  | Bluewaters Power 1 Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | BW2_BLUEWATERS_G1 | 38 | 0 | 37 | 0 |  |  |  | Bluewaters Power 2 Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | COLLIE_BESS2 | 39 | 0 | 37 | 0 |  |  |  | Collie Battery Pty Ltd ATF Collie Battery Trust
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | COLLIE_ESR1 | 39 | 0 | 37 | 0 |  |  |  | Collie Battery Pty Ltd ATF Collie Battery Trust
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALBANY_WF1 | 40 | 0 | 37 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | GRASMERE_WF1 | 40 | 0 | 37 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | INVESTEC_COLLGAR_WF1 | 41 | 0 | 37 | 0 |  |  |  | Collgar Wind Farm
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | KEMERTON_GT11 | 42 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | KEMERTON_GT12 | 42 | 0 | 37 | 0 |  |  |  | Synergy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | MERSOLAR_PV1 | 43 | 0 | 37 | 0 |  |  |  | Merredin Project Company Pty Ltd ATF the Merredin
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | NAMKKN_MERR_SG1 | 44 | 0 | 37 | 0 |  |  |  | Merredin Energy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | PERTHENERGY_KWINANA_GT1 | 45 | 0 | 37 | 0 |  |  |  | Western Energy Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | PHOENIX_KWINANA_WTE_G1 | 46 | 0 | 37 | 0
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALBANY_WF1 | 47 | 0 | 37 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | GRASMERE_WF1 | 47 | 0 | 37 | 0 |  |  |  | SRV AGWF Pty Ltd as trustee for AGWF Trust
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | PRK_AG | 48 | 0 | 37 | 0 |  |  |  | Goldfields Power Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | STHRNCRS_EG | 48 | 0 | 37 | 0 |  |  |  | Southern Cross Energy
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | TESLA_KEMERTON_G1 | 49 | 0 | 37 | 0 |  |  |  | Tesla Kemerton Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | TESLA_PICTON_G1 | 49 | 0 | 37 | 0 |  |  |  | Tesla Corporation Management Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | TIWEST_COG1 | 50 | 0 | 37 | 0 |  |  |  | Tronox Management Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALCOA_WGP | 51 | 0 | 37 | 0 |  |  |  | Alcoa of Australia Limited
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALINTA_PNJ_U1 | 52 | 0 | 37 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALINTA_PNJ_U1 | 53 | 0 | 37 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALINTA_WGP_GT | 53 | 0 | 37 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALINTA_WGP_U2 | 53 | 0 | 37 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALINTA_PNJ_U1 | 54 | 0 | 37 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALINTA_WGP_GT | 54 | 0 | 37 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-BIB 81, KW-SF 82 > {KW-ST 81} [CC81-KCM (CC-)] | ALINTA_WGP_U2 | 54 | 0 | 37 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | COCKBURN_CCG1 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | GREENOUGH_RIVER_PV1 | 55 | 0 | 25 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | KWINANA_GT2 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | KWINANA_GT3 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | MUNGARRA_GT1 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | MUNGARRA_GT3 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | PINJAR_GT1 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | PINJAR_GT10 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | PINJAR_GT11 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | PINJAR_GT2 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | PINJAR_GT3 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | PINJAR_GT4 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | PINJAR_GT5 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | PINJAR_GT7 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | PINJAR_GT9 | 55 | 0 | 25 | 0 |  |  |  | Synergy
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | WARRADARGE_WF1 | 55 | 0 | 25 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | GREENOUGH_RIVER_PV1 | 56 | 0 | 25 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | WARRADARGE_WF1 | 56 | 0 | 25 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | EDWFMAN_WF1 | 57 | 0 | 25 | 0 |  |  |  | EDWF Manager Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | MWF_MUMBIDA_WF1 | 58 | 0 | 25 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | NEWGEN_NEERABUP_GT1 | 59 | 0 | 25 | 0 |  |  |  | NewGen Neerabup Partnership
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | PERTHENERGY_KWINANA_GT1 | 60 | 0 | 25 | 0 |  |  |  | Western Energy Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | PHOENIX_KWINANA_WTE_G1 | 61 | 0 | 25 | 0
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | GREENOUGH_RIVER_PV1 | 62 | 0 | 25 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | WARRADARGE_WF1 | 62 | 0 | 25 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | SBSOLAR1_CUNDERDIN_PV1 | 63 | 0 | 25 | 0 |  |  |  | Cunderdin Development Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | TIWEST_COG1 | 65 | 0 | 25 | 0 |  |  |  | Tronox Management Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | ALCOA_WGP | 66 | 0 | 25 | 0 |  |  |  | Alcoa of Australia Limited
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | ALINTA_PNJ_U1 | 67 | 0 | 25 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | ALINTA_PNJ_U1 | 68 | 0 | 25 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | ALINTA_PNJ_U1 | 69 | 0 | 25 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | ALINTA_WWF | 69 | 0 | 25 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | BADGINGARRA_WF1 | 69 | 0 | 25 | 0 |  |  |  | Alinta Sales Pty Ltd
KW-SF 82 > {ST-SF 81} [KW-BIB 81 (KW~)] | YANDIN_WF1 | 69 | 0 | 25 | 0 |  |  |  | Alinta Sales Pty Ltd
MGA-MGS 81 * {NIL} [Off(GREENOUGH_RIVER_PV1)] | GREENOUGH_RIVER_PV1 | 70 | 0 | 3223 | 0 | 0 | 3223 | 0 | SRV GRSF Pty Ltd as Trustee for GRSF Trust
MGA-MGS 81 * {NIL} [Off(GREENOUGH_RIVER_PV1)] | GREENOUGH_RIVER_PV1 | 71 | 0 | 3223 | 0 | 0 | 3223 | 0 | SRV GRSF Pty Ltd as Trustee for GRSF Trust
MGA-MGS 81 * {NIL} [Off(GREENOUGH_RIVER_PV1)] | GREENOUGH_RIVER_PV1 | 72 | 0 | 3223 | 0 | 0 | 3223 | 0 | SRV GRSF Pty Ltd as Trustee for GRSF Trust
MRT SR1-2 * LA28-LE84 {NIL} [Limit(INVESTEC_COLLGAR_WF1)] | INVESTEC_COLLGAR_WF1 | 73 | 0 | 839 | 0 |  |  |  | Collgar Wind Farm
MRT SR1-2 * LA28-LE85 {NIL} [Limit(MERSOLAR_PV1)] | MERSOLAR_PV1 | 74 | 0 | 697 | 0 |  |  |  | Merredin Project Company Pty Ltd ATF the Merredin
MRT-NOR-CNS 81, NOR-SVY 81 * {NIL} [Off(TESLA_NORTHAM_G1)] | TESLA_NORTHAM_G1 | 75 | 0 | 339 | 0 |  |  |  | Tesla Northam Pty Ltd
MRT-NOR-CNS 81, NT-NOR 81 * {NIL} [Off(TESLA_NORTHAM_G1)] | TESLA_NORTHAM_G1 | 76 | 0 | 3 | 0 |  |  |  | Tesla Northam Pty Ltd
MSR-KND 81 * {NIL} [Off(PERTHENERGY_KWINANA_GT1)] | PERTHENERGY_KWINANA_GT1 | 80 | 0 | 13 | 0 |  |  |  | Western Energy Pty Ltd
NIL * EGF_exportLimit {NIL} [YLN-WKT X1 (WKT~)] | WEST_KALGOORLIE_GT2 | 81 | 0 | 12 | 0 |  |  |  | Synergy
NIL * EGF_exportLimit {NIL} [YLN-WKT X1 (WKT~)] | WEST_KALGOORLIE_GT3 | 81 | 0 | 12 | 0 |  |  |  | Synergy
NIL * EGF_exportLimit {NIL} [YLN-WKT X1 (WKT~)] | PRK_AG | 82 | 0 | 12 | 0 |  |  |  | Goldfields Power Pty Ltd
NIL * EGF_exportLimit {NIL} [YLN-WKT X1 (WKT~)] | STHRNCRS_EG | 82 | 0 | 12 | 0 |  |  |  | Southern Cross Energy
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 162 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 163 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MWF_MUMBIDA_WF1 | 164 | 0 | 1 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 165 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | TESLA_GERALDTON_G1 | 166 | 0 | 1 | 0 |  |  |  | Tesla Geraldton Pty Ltd
NIL ^ LA3-LE7 {TST-TS 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | ALINTA_WWF | 167 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL ^ LA3-LE8 {WWF-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 168 | 0 | 649 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL ^ LA3-LE8 {WWF-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 169 | 0 | 649 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL ^ LA3-LE8 {WWF-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MWF_MUMBIDA_WF1 | 170 | 0 | 649 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL ^ LA3-LE8 {WWF-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 171 | 0 | 649 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL ^ LA3-LE8 {WWF-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | ALINTA_WWF | 173 | 0 | 649 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 174 | 0 | 41 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 175 | 0 | 41 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | MWF_MUMBIDA_WF1 | 176 | 0 | 41 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 177 | 0 | 41 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | TESLA_GERALDTON_G1 | 178 | 0 | 41 | 0 |  |  |  | Tesla Geraldton Pty Ltd
NIL ^ LA3-LE9 {MGA-GTN 81} [TST-TS 81 (TS-), ENB-TS 81 (TS-), MOR-TS 81 (TS-)] | ALINTA_WWF | 179 | 0 | 41 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {GLT T1} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 83 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {GLT T1} [TST-TS 81 (TS-)] | MUNGARRA_GT1 | 83 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {GLT T1} [TST-TS 81 (TS-)] | MUNGARRA_GT3 | 83 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {GLT T1} [TST-TS 81 (TS-)] | PINJAR_GT1 | 83 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {GLT T1} [TST-TS 81 (TS-)] | PINJAR_GT10 | 83 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {GLT T1} [TST-TS 81 (TS-)] | PINJAR_GT11 | 83 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {GLT T1} [TST-TS 81 (TS-)] | PINJAR_GT2 | 83 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {GLT T1} [TST-TS 81 (TS-)] | PINJAR_GT3 | 83 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {GLT T1} [TST-TS 81 (TS-)] | PINJAR_GT4 | 83 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {GLT T1} [TST-TS 81 (TS-)] | PINJAR_GT5 | 83 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {GLT T1} [TST-TS 81 (TS-)] | PINJAR_GT7 | 83 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {GLT T1} [TST-TS 81 (TS-)] | PINJAR_GT9 | 83 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {GLT T1} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 83 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {GLT T1} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 84 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {GLT T1} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 84 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {GLT T1} [TST-TS 81 (TS-)] | EDWFMAN_WF1 | 85 | 0 | 1 | 0 |  |  |  | EDWF Manager Pty Ltd
NIL > {GLT T1} [TST-TS 81 (TS-)] | MWF_MUMBIDA_WF1 | 86 | 0 | 1 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL > {GLT T1} [TST-TS 81 (TS-)] | NEWGEN_NEERABUP_GT1 | 87 | 0 | 1 | 0 |  |  |  | NewGen Neerabup Partnership
NIL > {GLT T1} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 88 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {GLT T1} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 88 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {GLT T1} [TST-TS 81 (TS-)] | TESLA_GERALDTON_G1 | 90 | 0 | 1 | 0 |  |  |  | Tesla Geraldton Pty Ltd
NIL > {GLT T1} [TST-TS 81 (TS-)] | TESLA_NORTHAM_G1 | 90 | 0 | 1 | 0 |  |  |  | Tesla Northam Pty Ltd
NIL > {GLT T1} [TST-TS 81 (TS-)] | ALINTA_WWF | 91 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {GLT T1} [TST-TS 81 (TS-)] | BADGINGARRA_WF1 | 91 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {GLT T1} [TST-TS 81 (TS-)] | YANDIN_WF1 | 91 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {NBT T2} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 92 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NBT T2} [TST-TS 81 (TS-)] | MUNGARRA_GT1 | 92 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT T2} [TST-TS 81 (TS-)] | MUNGARRA_GT3 | 92 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT T2} [TST-TS 81 (TS-)] | PINJAR_GT1 | 92 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT T2} [TST-TS 81 (TS-)] | PINJAR_GT10 | 92 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT T2} [TST-TS 81 (TS-)] | PINJAR_GT11 | 92 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT T2} [TST-TS 81 (TS-)] | PINJAR_GT2 | 92 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT T2} [TST-TS 81 (TS-)] | PINJAR_GT3 | 92 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT T2} [TST-TS 81 (TS-)] | PINJAR_GT4 | 92 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT T2} [TST-TS 81 (TS-)] | PINJAR_GT5 | 92 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT T2} [TST-TS 81 (TS-)] | PINJAR_GT7 | 92 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT T2} [TST-TS 81 (TS-)] | PINJAR_GT9 | 92 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT T2} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 92 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {NBT T2} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 93 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NBT T2} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 93 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {NBT T2} [TST-TS 81 (TS-)] | EDWFMAN_WF1 | 94 | 0 | 1 | 0 |  |  |  | EDWF Manager Pty Ltd
NIL > {NBT T2} [TST-TS 81 (TS-)] | MWF_MUMBIDA_WF1 | 95 | 0 | 1 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL > {NBT T2} [TST-TS 81 (TS-)] | NEWGEN_NEERABUP_GT1 | 96 | 0 | 1 | 0 |  |  |  | NewGen Neerabup Partnership
NIL > {NBT T2} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 97 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NBT T2} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 97 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {NBT T2} [TST-TS 81 (TS-)] | TESLA_GERALDTON_G1 | 99 | 0 | 1 | 0 |  |  |  | Tesla Geraldton Pty Ltd
NIL > {NBT T2} [TST-TS 81 (TS-)] | TESLA_NORTHAM_G1 | 99 | 0 | 1 | 0 |  |  |  | Tesla Northam Pty Ltd
NIL > {NBT T2} [TST-TS 81 (TS-)] | ALINTA_WWF | 100 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {NBT T2} [TST-TS 81 (TS-)] | BADGINGARRA_WF1 | 100 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {NBT T2} [TST-TS 81 (TS-)] | YANDIN_WF1 | 100 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | GREENOUGH_RIVER_PV1 | 101 | 0 | 68 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | MUNGARRA_GT1 | 101 | 0 | 68 | 0 |  |  |  | Synergy
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | MUNGARRA_GT3 | 101 | 0 | 68 | 0 |  |  |  | Synergy
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT1 | 101 | 0 | 68 | 0 |  |  |  | Synergy
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT10 | 101 | 0 | 68 | 0 |  |  |  | Synergy
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT11 | 101 | 0 | 68 | 0 |  |  |  | Synergy
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT2 | 101 | 0 | 68 | 0 |  |  |  | Synergy
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT3 | 101 | 0 | 68 | 0 |  |  |  | Synergy
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT4 | 101 | 0 | 68 | 0 |  |  |  | Synergy
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT5 | 101 | 0 | 68 | 0 |  |  |  | Synergy
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT7 | 101 | 0 | 68 | 0 |  |  |  | Synergy
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | PINJAR_GT9 | 101 | 0 | 68 | 0 |  |  |  | Synergy
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | GREENOUGH_RIVER_PV1 | 102 | 0 | 68 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | EDWFMAN_WF1 | 103 | 0 | 68 | 0 |  |  |  | EDWF Manager Pty Ltd
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | MWF_MUMBIDA_WF1 | 104 | 0 | 68 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | NEWGEN_NEERABUP_GT1 | 105 | 0 | 68 | 0 |  |  |  | NewGen Neerabup Partnership
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | GREENOUGH_RIVER_PV1 | 106 | 0 | 68 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | TESLA_GERALDTON_G1 | 107 | 0 | 68 | 0 |  |  |  | Tesla Geraldton Pty Ltd
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | ALINTA_WWF | 108 | 0 | 68 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {NBT-NT 91, SPS_MARNET} [JDP-WNO 81 (WNO~)] | BADGINGARRA_WF1 | 108 | 0 | 68 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 109 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | MUNGARRA_GT1 | 109 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | MUNGARRA_GT3 | 109 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | PINJAR_GT1 | 109 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | PINJAR_GT10 | 109 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | PINJAR_GT11 | 109 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | PINJAR_GT2 | 109 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | PINJAR_GT3 | 109 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | PINJAR_GT4 | 109 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | PINJAR_GT5 | 109 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | PINJAR_GT7 | 109 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | PINJAR_GT9 | 109 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 109 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 110 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 110 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | EDWFMAN_WF1 | 111 | 0 | 1 | 0 |  |  |  | EDWF Manager Pty Ltd
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | MWF_MUMBIDA_WF1 | 112 | 0 | 1 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | NEWGEN_NEERABUP_GT1 | 113 | 0 | 1 | 0 |  |  |  | NewGen Neerabup Partnership
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 114 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 114 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | TESLA_GERALDTON_G1 | 116 | 0 | 1 | 0 |  |  |  | Tesla Geraldton Pty Ltd
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | TESLA_NORTHAM_G1 | 116 | 0 | 1 | 0 |  |  |  | Tesla Northam Pty Ltd
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | ALINTA_WWF | 117 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | BADGINGARRA_WF1 | 117 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {NBT-PJR 81} [TST-TS 81 (TS-)] | YANDIN_WF1 | 117 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 118 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | MUNGARRA_GT1 | 118 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | MUNGARRA_GT3 | 118 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | PINJAR_GT1 | 118 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | PINJAR_GT10 | 118 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | PINJAR_GT11 | 118 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | PINJAR_GT2 | 118 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | PINJAR_GT3 | 118 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | PINJAR_GT4 | 118 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | PINJAR_GT5 | 118 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | PINJAR_GT7 | 118 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | PINJAR_GT9 | 118 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 118 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 119 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 119 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | EDWFMAN_WF1 | 120 | 0 | 1 | 0 |  |  |  | EDWF Manager Pty Ltd
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | MWF_MUMBIDA_WF1 | 121 | 0 | 1 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | NEWGEN_NEERABUP_GT1 | 122 | 0 | 1 | 0 |  |  |  | NewGen Neerabup Partnership
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 123 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 123 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | TESLA_GERALDTON_G1 | 125 | 0 | 1 | 0 |  |  |  | Tesla Geraldton Pty Ltd
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | TESLA_NORTHAM_G1 | 125 | 0 | 1 | 0 |  |  |  | Tesla Northam Pty Ltd
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | ALINTA_WWF | 126 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | BADGINGARRA_WF1 | 126 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {NT T2, SPS_NTBUS} [TST-TS 81 (TS-)] | YANDIN_WF1 | 126 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | GREENOUGH_RIVER_PV1 | 128 | 0 | 2 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | WARRADARGE_WF1 | 128 | 0 | 2 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | EDWFMAN_WF1 | 129 | 0 | 2 | 0 |  |  |  | EDWF Manager Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | MWF_MUMBIDA_WF1 | 130 | 0 | 2 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | GREENOUGH_RIVER_PV1 | 131 | 0 | 2 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | WARRADARGE_WF1 | 131 | 0 | 2 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | TESLA_GERALDTON_G1 | 132 | 0 | 2 | 0 |  |  |  | Tesla Geraldton Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | ALINTA_WWF | 133 | 0 | 2 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | BADGINGARRA_WF1 | 133 | 0 | 2 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [CTB-RGN 81 (CTB~)] | YANDIN_WF1 | 133 | 0 | 2 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | GREENOUGH_RIVER_PV1 | 135 | 0 | 34 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | WARRADARGE_WF1 | 135 | 0 | 34 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | EDWFMAN_WF1 | 136 | 0 | 34 | 0 |  |  |  | EDWF Manager Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | MWF_MUMBIDA_WF1 | 137 | 0 | 34 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | GREENOUGH_RIVER_PV1 | 138 | 0 | 34 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | WARRADARGE_WF1 | 138 | 0 | 34 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | TESLA_GERALDTON_G1 | 139 | 0 | 34 | 0 |  |  |  | Tesla Geraldton Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | ALINTA_WWF | 140 | 0 | 34 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | BADGINGARRA_WF1 | 140 | 0 | 34 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {PJR-ENB-EMD 81, PJR-CTB 81} [PJR-RGN 81 (RGN~)] | YANDIN_WF1 | 140 | 0 | 34 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | GREENOUGH_RIVER_PV1 | 141 | 0 | 15 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | MUNGARRA_GT1 | 141 | 0 | 15 | 0 |  |  |  | Synergy
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | MUNGARRA_GT3 | 141 | 0 | 15 | 0 |  |  |  | Synergy
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT1 | 141 | 0 | 15 | 0 |  |  |  | Synergy
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT10 | 141 | 0 | 15 | 0 |  |  |  | Synergy
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT11 | 141 | 0 | 15 | 0 |  |  |  | Synergy
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT2 | 141 | 0 | 15 | 0 |  |  |  | Synergy
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT3 | 141 | 0 | 15 | 0 |  |  |  | Synergy
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT4 | 141 | 0 | 15 | 0 |  |  |  | Synergy
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT5 | 141 | 0 | 15 | 0 |  |  |  | Synergy
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT7 | 141 | 0 | 15 | 0 |  |  |  | Synergy
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT9 | 141 | 0 | 15 | 0 |  |  |  | Synergy
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | GREENOUGH_RIVER_PV1 | 142 | 0 | 15 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | EDWFMAN_WF1 | 143 | 0 | 15 | 0 |  |  |  | EDWF Manager Pty Ltd
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | MWF_MUMBIDA_WF1 | 144 | 0 | 15 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | NEWGEN_NEERABUP_GT1 | 145 | 0 | 15 | 0 |  |  |  | NewGen Neerabup Partnership
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | GREENOUGH_RIVER_PV1 | 146 | 0 | 15 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | TESLA_GERALDTON_G1 | 147 | 0 | 15 | 0 |  |  |  | Tesla Geraldton Pty Ltd
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | ALINTA_WWF | 148 | 0 | 15 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {PJR-MUC 81} [PJR-MUC 82 (PJR~)] | BADGINGARRA_WF1 | 148 | 0 | 15 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {TS-MBA 81, SPS_MGS, SPS_WWF} [MGA-TS 81 (MGA~)] | MUNGARRA_GT1 | 149 | 0 | 2 | 0 |  |  |  | Synergy
NIL > {TS-MBA 81, SPS_MGS, SPS_WWF} [MGA-TS 81 (MGA~)] | MUNGARRA_GT3 | 149 | 0 | 2 | 0 |  |  |  | Synergy
NIL > {TS-MBA 81, SPS_MGS, SPS_WWF} [MGA-TS 81 (MGA~)] | MWF_MUMBIDA_WF1 | 150 | 0 | 2 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL > {TS-MBA 81, SPS_WWF, SPS_MGS} [MGA-TS 81 (MGA~)] | MUNGARRA_GT1 | 151 | 0 | 2 | 0 |  |  |  | Synergy
NIL > {TS-MBA 81, SPS_WWF, SPS_MGS} [MGA-TS 81 (MGA~)] | MUNGARRA_GT3 | 151 | 0 | 2 | 0 |  |  |  | Synergy
NIL > {TS-MBA 81, SPS_WWF, SPS_MGS} [MGA-TS 81 (MGA~)] | MWF_MUMBIDA_WF1 | 152 | 0 | 2 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 153 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | MUNGARRA_GT1 | 153 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | MUNGARRA_GT3 | 153 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | PINJAR_GT1 | 153 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | PINJAR_GT10 | 153 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | PINJAR_GT11 | 153 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | PINJAR_GT2 | 153 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | PINJAR_GT3 | 153 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | PINJAR_GT4 | 153 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | PINJAR_GT5 | 153 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | PINJAR_GT7 | 153 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | PINJAR_GT9 | 153 | 0 | 1 | 0 |  |  |  | Synergy
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 153 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 154 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 154 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | EDWFMAN_WF1 | 155 | 0 | 1 | 0 |  |  |  | EDWF Manager Pty Ltd
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | MWF_MUMBIDA_WF1 | 156 | 0 | 1 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | NEWGEN_NEERABUP_GT1 | 157 | 0 | 1 | 0 |  |  |  | NewGen Neerabup Partnership
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | GREENOUGH_RIVER_PV1 | 158 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | WARRADARGE_WF1 | 158 | 0 | 1 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | TESLA_GERALDTON_G1 | 160 | 0 | 1 | 0 |  |  |  | Tesla Geraldton Pty Ltd
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | TESLA_NORTHAM_G1 | 160 | 0 | 1 | 0 |  |  |  | Tesla Northam Pty Ltd
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | ALINTA_WWF | 161 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | BADGINGARRA_WF1 | 161 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
NIL > {TST-KRA 91} [TST-TS 81 (TS-)] | YANDIN_WF1 | 161 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
Off(SPS_MGS) > {MGA-TS 81, SPS_WWF} [TS-MBA 81 (MBA~)] | GREENOUGH_RIVER_PV1 | 198 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
Off(SPS_MGS) > {MGA-TS 81, SPS_WWF} [TS-MBA 81 (MBA~)] | MUNGARRA_GT1 | 198 | 0 | 1 | 0 |  |  |  | Synergy
Off(SPS_MGS) > {MGA-TS 81, SPS_WWF} [TS-MBA 81 (MBA~)] | MUNGARRA_GT3 | 198 | 0 | 1 | 0 |  |  |  | Synergy
Off(SPS_MGS) > {MGA-TS 81, SPS_WWF} [TS-MBA 81 (MBA~)] | GREENOUGH_RIVER_PV1 | 199 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
Off(SPS_MGS) > {MGA-TS 81, SPS_WWF} [TS-MBA 81 (MBA~)] | MWF_MUMBIDA_WF1 | 200 | 0 | 1 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
Off(SPS_MGS) > {MGA-TS 81, SPS_WWF} [TS-MBA 81 (MBA~)] | GREENOUGH_RIVER_PV1 | 201 | 0 | 1 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
On(MRT81-MNC) * {NIL} [Off(SBSOLAR1_CUNDERDIN_PV1)] | SBSOLAR1_CUNDERDIN_PV1 | 202 | 0 | 45 | 0 |  |  |  | Cunderdin Development Pty Ltd
PJR-ENB-EMD 81, PJR-CTB 81 > {CTB-RGN 81} [ENB-TS 81 (ENB~)] | EDWFMAN_WF1 | 203 | 0 | 54 | 0 |  |  |  | EDWF Manager Pty Ltd
PJR-ENB-EMD 81, PJR-CTB 81 > {CTB-RGN 81} [ENB-TS 81 (ENB~)] | BADGINGARRA_WF1 | 204 | 0 | 54 | 0 |  |  |  | Alinta Sales Pty Ltd
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT1 | 205 | 0 | 1 | 0 |  |  |  | Synergy
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT10 | 205 | 0 | 1 | 0 |  |  |  | Synergy
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT11 | 205 | 0 | 1 | 0 |  |  |  | Synergy
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT2 | 205 | 0 | 1 | 0 |  |  |  | Synergy
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT3 | 205 | 0 | 1 | 0 |  |  |  | Synergy
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT4 | 205 | 0 | 1 | 0 |  |  |  | Synergy
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT5 | 205 | 0 | 1 | 0 |  |  |  | Synergy
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT7 | 205 | 0 | 1 | 0 |  |  |  | Synergy
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT9 | 205 | 0 | 1 | 0 |  |  |  | Synergy
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | EDWFMAN_WF1 | 206 | 0 | 1 | 0 |  |  |  | EDWF Manager Pty Ltd
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | NEWGEN_NEERABUP_GT1 | 207 | 0 | 1 | 0 |  |  |  | NewGen Neerabup Partnership
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | BADGINGARRA_WF1 | 208 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
PJR-MUC 81 > {JDP-WNO 81} [PJR-MUC 82 (PJR~)] | YANDIN_WF1 | 208 | 0 | 1 | 0 |  |  |  | Alinta Sales Pty Ltd
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT1 | 209 | 0 | 9 | 0 |  |  |  | Synergy
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT10 | 209 | 0 | 9 | 0 |  |  |  | Synergy
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT11 | 209 | 0 | 9 | 0 |  |  |  | Synergy
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT2 | 209 | 0 | 9 | 0 |  |  |  | Synergy
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT3 | 209 | 0 | 9 | 0 |  |  |  | Synergy
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT4 | 209 | 0 | 9 | 0 |  |  |  | Synergy
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT5 | 209 | 0 | 9 | 0 |  |  |  | Synergy
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT7 | 209 | 0 | 9 | 0 |  |  |  | Synergy
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | PINJAR_GT9 | 209 | 0 | 9 | 0 |  |  |  | Synergy
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | WARRADARGE_WF1 | 209 | 0 | 9 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | WARRADARGE_WF1 | 210 | 0 | 9 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | EDWFMAN_WF1 | 211 | 0 | 9 | 0 |  |  |  | EDWF Manager Pty Ltd
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | NEWGEN_NEERABUP_GT1 | 212 | 0 | 9 | 0 |  |  |  | NewGen Neerabup Partnership
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | WARRADARGE_WF1 | 213 | 0 | 9 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | BADGINGARRA_WF1 | 214 | 0 | 9 | 0 |  |  |  | Alinta Sales Pty Ltd
PJR-MUC 81 > {NT-PJR 81} [PJR-MUC 82 (PJR~)] | YANDIN_WF1 | 214 | 0 | 9 | 0 |  |  |  | Alinta Sales Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | COCKBURN_CCG1 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | COLLIE_G1 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | GREENOUGH_RIVER_PV1 | 215 | 0 | 2 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | KWINANA_GT2 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | KWINANA_GT3 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | MUJA_G7 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | MUJA_G8 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | MUNGARRA_GT1 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | MUNGARRA_GT3 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PINJAR_GT1 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PINJAR_GT10 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PINJAR_GT11 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PINJAR_GT2 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PINJAR_GT3 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PINJAR_GT4 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PINJAR_GT5 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PINJAR_GT7 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PINJAR_GT9 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | WARRADARGE_WF1 | 215 | 0 | 2 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | WEST_KALGOORLIE_GT2 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | WEST_KALGOORLIE_GT3 | 215 | 0 | 2 | 0 |  |  |  | Synergy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | GREENOUGH_RIVER_PV1 | 216 | 0 | 2 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | WARRADARGE_WF1 | 216 | 0 | 2 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | BW1_BLUEWATERS_G2 | 217 | 0 | 2 | 0 |  |  |  | Bluewaters Power 1 Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | BW2_BLUEWATERS_G1 | 217 | 0 | 2 | 0 |  |  |  | Bluewaters Power 2 Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | BW1_BLUEWATERS_G2 | 218 | 0 | 2 | 0 |  |  |  | Bluewaters Power 1 Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | BW2_BLUEWATERS_G1 | 218 | 0 | 2 | 0 |  |  |  | Bluewaters Power 2 Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | COLLIE_BESS2 | 219 | 0 | 2 | 0 |  |  |  | Collie Battery Pty Ltd ATF Collie Battery Trust
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | COLLIE_ESR1 | 219 | 0 | 2 | 0 |  |  |  | Collie Battery Pty Ltd ATF Collie Battery Trust
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | EDWFMAN_WF1 | 220 | 0 | 2 | 0 |  |  |  | EDWF Manager Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | INVESTEC_COLLGAR_WF1 | 221 | 0 | 2 | 0 |  |  |  | Collgar Wind Farm
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | MERSOLAR_PV1 | 222 | 0 | 2 | 0 |  |  |  | Merredin Project Company Pty Ltd ATF the Merredin
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | MWF_MUMBIDA_WF1 | 223 | 0 | 2 | 0 |  |  |  | Mumbida Wind Farm Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | NAMKKN_MERR_SG1 | 224 | 0 | 2 | 0 |  |  |  | Merredin Energy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | NEWGEN_NEERABUP_GT1 | 225 | 0 | 2 | 0 |  |  |  | NewGen Neerabup Partnership
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PERTHENERGY_KWINANA_GT1 | 226 | 0 | 2 | 0 |  |  |  | Western Energy Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PHOENIX_KWINANA_WTE_G1 | 227 | 0 | 2 | 0
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | GREENOUGH_RIVER_PV1 | 228 | 0 | 2 | 0 |  |  |  | SRV GRSF Pty Ltd as Trustee for GRSF Trust
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | WARRADARGE_WF1 | 228 | 0 | 2 | 0 |  |  |  | BEI WWF Pty Ltd ATF WWF Trust
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | PRK_AG | 229 | 0 | 2 | 0 |  |  |  | Goldfields Power Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | STHRNCRS_EG | 229 | 0 | 2 | 0 |  |  |  | Southern Cross Energy
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | SBSOLAR1_CUNDERDIN_PV1 | 230 | 0 | 2 | 0 |  |  |  | Cunderdin Development Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | TESLA_GERALDTON_G1 | 231 | 0 | 2 | 0 |  |  |  | Tesla Geraldton Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | TESLA_NORTHAM_G1 | 231 | 0 | 2 | 0 |  |  |  | Tesla Northam Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | TIWEST_COG1 | 232 | 0 | 2 | 0 |  |  |  | Tronox Management Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | ALCOA_WGP | 233 | 0 | 2 | 0 |  |  |  | Alcoa of Australia Limited
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | ALINTA_PNJ_U1 | 234 | 0 | 2 | 0 |  |  |  | Alinta Sales Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | ALINTA_PNJ_U1 | 235 | 0 | 2 | 0 |  |  |  | Alinta Sales Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | ALINTA_PNJ_U1 | 236 | 0 | 2 | 0 |  |  |  | Alinta Sales Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | ALINTA_WWF | 236 | 0 | 2 | 0 |  |  |  | Alinta Sales Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | BADGINGARRA_WF1 | 236 | 0 | 2 | 0 |  |  |  | Alinta Sales Pty Ltd
SF-AMT 81 > {ST-BTY 81} [ST-EP 82 (ST~)] | YANDIN_WF1 | 236 | 0 | 2 | 0 |  |  |  | Alinta Sales Pty Ltd
SHO-WLT-PMB 91, SPS_BGM * {NIL} [Energy(COLLIE_BESS2)] | COLLIE_BESS2 | 237 | 0 | 932 | 0 |  |  |  | Collie Battery Pty Ltd ATF Collie Battery Trust
WGP-LWT 91 * {NIL} [Off(ALINTA_WGP_GT)] | ALINTA_WGP_GT | 238 | 0 | 6122 | 0 | 0 | 4308 | 0 | Alinta Sales Pty Ltd
WGP-LWT 91 * {NIL} [Off(ALINTA_WGP_GT)] | ALINTA_WGP_GT | 239 | 0 | 6122 | 0 | 0 | 4308 | 0 | Alinta Sales Pty Ltd
WGP-LWT 91 * {NIL} [Off(ALINTA_WGP_GT)] | ALINTA_WGP_GT | 240 | 0 | 6122 | 0 | 0 | 4308 | 0 | Alinta Sales Pty Ltd
WGP-LWT 92 * {NIL} [Off(ALINTA_WGP_U2)] | ALINTA_WGP_U2 | 241 | 0 | 100 | 0 |  |  |  | Alinta Sales Pty Ltd
WGP-LWT 92 * {NIL} [Off(ALINTA_WGP_U2)] | ALINTA_WGP_U2 | 242 | 0 | 100 | 0 |  |  |  | Alinta Sales Pty Ltd
WGP-LWT 92 * {NIL} [Off(ALINTA_WGP_U2)] | ALINTA_WGP_U2 | 243 | 0 | 100 | 0 |  |  |  | Alinta Sales Pty Ltd