## Basic Instructions
Using Filters in Excel
Click the drop‑down arrow in the column you want to filter.
Choose how you want to filter the data. (type text in the search box or individually select the tick boxes)
Click OK to apply the filter.
How to clear filters
Clear a filter from one column:
Open the column drop‑down and choose Clear Filter.
Remove all filters:
Go to Data TAB - under "Sort & Filter - click Clear)
Example: | Water Services Licence for the provision of non- potable water supply and sewerage services - note there are many ways to filter, this is just one simple example
step
| 1 | Open the column drop‑down "Licensee" column F
| 2 | Either untick the irrelevant licensee or double click "select all" to remove all ticks and then select the relevant licensee.

## Water Manual 2024
No. | Licence condition | Licence | Clause / Section | Summary description | Licensee | Type | Footnote
1 | Clause 4.3.1(a) | Water Services Act | Section 21(1)(a) | The licensee must provide a water service authorised by the licence to persons entitled to the service under the Act, except to the extent otherwise provided for by the Act. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 1
2 | Clause 4.3.1(b) | Water Services Act | Section 21(1)(b) | The licensee must if requested, offer to provide the water service authorised by the licence to any other person (not covered by section 21(1)(a) of the Act) within the operating area of the licence on reasonable terms, unless provision of the service is not financially viable or is otherwise not practicable. | All | 2
3 | Clauses 4.1.1 | Water Services Act | Section 21(1)(c) | The licensee must provide, operate and maintain the water service works specified by the ERA in the licence for the purposes of section 11(3). | All | 2
4 | Clause 4.4.1(a) | Water Services Act | Section 22 | The licensee must notify the ERA as soon as practicable before commencing to provide the water service outside of the operating area of the licence. | All | 2
5 | Clause 4.5.1 | Water Services Act | Section 23 | All water service works used by the licensee in the provision of a water service must be held by the licensee, or must be covered by a works holding arrangement. | All | 2
6 | Clause 5.1.1 | Water Services Act | Sections 24(1)(a) | The licensee must provide for an asset management system in respect of the licensee’s water service works. | All | 2
7 | Not used | Not used | Not used | Not used | Not used | Not used | This obligation (the requirement under section 24 of the Act that a licensee must give details of their asset management system and any changes to it to the ERA) is covered by obligations 170A and 171). Removing this obligation avoids potential double counting of a non-compliance for a licensee.
8 | Clause 5.1.4 | Water Services Act | Section 24(1)(c) | A licensee must provide the ERA with a report by an independent expert as to the effectiveness of its asset management system every 24 months, or such longer period as determined by the ERA. | All | 2
8A | Clause 5.1.1 | Water Services Act | Section 24(2) | The licensee’s asset management system must include the measures to be taken by the licensee for the proper maintenance of the water service works and the provision and operation of the water service works, and other water service works necessary for the provision of the water service. | All | 2
9 | Clause 5.3.1 | Water Services Act | Section 25 | A licensee must, not less than once every 24 months, or such longer period as determined by the ERA, provide the ERA with an operational audit conducted by an independent expert appointed by the ERA. | All | 2
10 | Clause 4.1.1 | Water Services Act | Section 26(3) | The licensee must comply with each code of practice made by the Minister to the extent to which it applies to the licensee. | All | 2
11 | Not used | Not used | Not used | Not used | Not used | Not used | This obligation (the requirement under section 27 of the Act that a licensee must comply with the code of conduct) is not required, as an auditor will assess the individual obligations under the code. Removing this obligation avoids potential double counting of a non-compliance for a licensee.
12 | Not used | Not used | Not used | Not used | Not used | Not used | This obligation (the requirement under section 29 of the Act that a licensee must comply with the duties imposed on it by the Act in relation to its licence and must carry out its operations in respect of the licence in accordance with the Act) is not required, as an auditor will assess the individual obligations under the Act. Removing this obligation avoids potential double counting of a non-compliance for a licensee.
13 | Clause 4.1.1 | Water Services Act | Section 36 | If the licensee ceases to provide a water service in an area, the licensee must ensure that the water service works are left in a safe condition, and must not remove any part of the works except with the approval of the Minister. | All | 2
14 | Clause 6.3.1 | Water Services Act | Section 60 | If the licensee is the supplier of last resort for a designated area in relation to the provision of a particular water service, the licensee must perform the functions of the supplier of last resort and must comply with the relevant duties and carry out the relevant operations specified. | All | 2
15 | Clause 6.2.1 | Water Services Act | Section 70(2) | The licensee must not supply water services to customers unless the licensee: is a member of the water services ombudsman scheme; and is bound by the scheme; and will comply with any decision or direction of the water services ombudsman under the scheme. | All | 2
16 | Clause 4.1.1 | Water Services Act | Section 77(3) | The licensee must take reasonable steps to minimise the extent or duration of any interruption of water services it is responsible for. | All | 2
17 | Clause 4.1.1 | Water Services Act | Sections 82(4) and (5) | If a person must give the licensee notice of any building work to be carried out on land in the operating area of a license, the licensee must return a copy of the plans and specifications contained in the notice with any written directions about the proposed building work that the licensee considers necessary to ensure the safety and efficacy of the provision of water services provided, or to be provided. The licensee must do this within 7 days of receiving the fee for dealing with the notification. | Water supply services, sewerage services and drainage services Note: This obligation does not apply to Bunbury Water Corporation or Busselton Water Corporation (see regulation 28 of the Water Services Regulations 2013). | 2 | Water supply services = Potable and non-potable
18 | Clause 4.1.1 | Water Services Act | Section 84(2) | If the licensee has given a notice under section 83(3)(a) of the Act, and the licensee is satisfied that the person given the notice is not going to comply with the notice within a reasonable time, the licensee must give the person 21 days’ notice of its intention to commence the works. | Water supply services, sewerage services and drainage services | 2 | Water supply services = Potable and non-potable
19 | Clause 4.1.1 | Water Services Act | Section 87(2) | If a person makes an application with the State Administrative Tribunal for a review of a decision in respect of the licensee providing additional water services when a person has not responded to the licensee's notice, the licensee cannot provide the works until the application has been finally dealt with, except in limited circumstances. | Water supply services, sewerage services and drainage services | 2 | Water supply services = Potable and non-potable
20 | Clause 4.1.1 | Water Services Act | Section 90(7) | If the licensee gives a compliance notice to a person who is undertaking construction or carrying out similar works in the vicinity of water service works, the licensee must, to the extent practicable, consult with the owner of the land on which the obstruction is located or the activity is taking place if the person to be given the notice is not the owner of the land. | All | NR
21 | Clause 4.1.1 | Water Services Act | Section 95(3) | The licensee cannot cut off the supply of water to an occupied dwelling unless the occupier agrees to that. | Water supply services | 1 | Water supply services = Potable and non-potable
22 | Clause 4.1.1 | Water Services Act | Section 96(1) | If the licensee provides water supply reticulation works, or enters into an agreement for the provision of water supply reticulation works, the licensee must install fire hydrants attached to those works in accordance with the requirements of FESA, or the relevant local government as to the location and type of hydrant. | Water supply services | 2 | Water supply services = Potable and non-potable
23 | Clause 4.1.1 | Water Services Act | Section 96(5) | The licensee must comply with requests made by FESA or a local government under sections 96(3) and 96(4) of the Act to the extent practicable and within a reasonable time. | Water supply services | NR | Water supply services = Potable and non-potable
24 | Clause 4.1.1 | Water Services Act | Section 98(3) | If required to by the Minister, the licensee must connect a wastewater inlet on land to the sewerage works of the licensee. | Sewerage services | 2
25 | Clause 4.1.1 | Water Services Act | Section 106(2) | The licensee must include the information specified in a compliance notice given in relation to failure to maintain fittings, fixtures and pipes. | Sewerage services | 2
26 | Clause 4.1.1 | Water Services Act | Section 110(3) | If required to by the Minister, the licensee must connect a drainage asset on land to the drainage works of the licensee. | Drainage services | 2
27 | Clause 4.1.1 | Water Services Act | Section 112(5) | If required by the Minister, the licensee must modify the property drainage connection. | Drainage services | 2
28 | Clause 4.1.1 | Water Services Act | Section 119(2) | The licensee must include the information specified in a compliance notice given in relation to the matters set out in section 119(1). | All | 2
29 | Clause 4.1.1 | Water Services Act | Section 122(2) | If a person makes an application to the State Administrative Tribunal under section 122(1), the licensee cannot take, or continue to take, action against the person except in the circumstances specified. | All | 2
30 | Clause 4.1.1 | Water Services Act | Section 125(2) | If the licensee provides a water supply, sewerage or drainage service to 2 or more dwellings on land by a single property connection, the licensee may apportion fees. The licensee cannot apportion fees to the extent inconsistent with any agreement related to such a provision of services, or section 66 of the Strata Titles Act 1985. | Water supply services, sewerage services and drainage services | 2 | Water supply services = Potable and non-potable
31 | Clause 4.1.1 | Water Services Act | Section 128(4) | If the licensee has previously lodged a memorial with the Registrar, the licensee must lodge a withdrawal of memorial with Registrar along with the specified fee (if any) if the charge or contribution has been paid. | All | 2
32 | Clause 4.1.1 | Water Services Act | Section 129(5) | If a routine inspection or maintenance is likely to cause disruption to the occupants of a place at least 48 hours’ notice of a proposed entry must be given to the occupier of the place unless the occupier agrees otherwise. | All | 2
33 | Clause 4.1.1 | Water Services Act | Section 139(3) | If the licensee removes or erects a fence or gate when exercising a works power conferred by the Act, the licensee must take all reasonable steps to notify the owner before doing so. | All | NR
34 | Clause 4.1.1 | Water Services Act | Section 141(1) | A person authorised by the licensee may enter a road and exercise a works power of the licensee without consent, notice or warrant unless the exercise of the power involves opening or breaking up the surface of the road, or would cause a major obstruction of the road or disruption of the traffic, in which case the licensee must give at least 48 hours’ notice to the public authority that has control or management of the road. | All | 2
35 | Clause 4.1.1 | Water Services Act | Sections 142 | The licensee must comply with sections 143 and 144 of the Act in relation to the proposed major works, and has given any notice required by section 148. | All | 2
36 | Clause 4.1.1 | Water Services Act | Sections 143 (2) | Before the licensee submits a proposal for the provision of major works to the Minister, the licensee must prepare, publish and make available plans and details of those major works as specified. | All | 2
37 | Clause 4.1.1 | Water Services Act | Sections 143 (3) | The licensee must, within 5 days of publishing the plans and details on the licensee’s website, give notice setting out the matters specified in section 143(4) to the persons and agencies specified. | All | 2
38 | Clause 4.1.1 | Water Services Act | Sections 144(3) | The licensee must have regard to an objection or submission lodged within the relevant period. | All | 2
39 | Clause 4.1.1 | Water Services Act | Section 145(2) | If the licensee makes alterations to the plans or details referred to in section 143(2), the licensee must give written notice of the alterations to any person who is likely to be adversely affected by those alterations. | All | 2
40 | Clause 4.1.1 | Water Services Act | Section 147(3) | The licensee must comply with a direction given by a Minister in respect of a proposal to provide water service works that are major works under section 143(3). | All | 2
41 | Clause 4.1.1 | Water Services Act | Section 147(4) | If the Minister gives a direction that further notices in relation to the proposed major works be given under section 143(3), the licensee must resubmit the proposal. | All | 2
42 | Clause 4.1.1 | Water Services Act | Section 151(1) | A licensee proposing to provide water service works that are general works must prepare plans and details of the proposed works and publish and make them available for inspection. | All | 2
43 | Clause 4.1.1 | Water Services Act | Section 151(2) | The licensee must give a notice of general works setting out the matters referred to in section 151(3) to the persons and agencies specified. | All | 2
44 | Clause 4.1.1 | Water Services Act | Section 152(3) | The licensee must have regard to an objection or submission lodged by the date specified in the notice given under section 151(2). | All | 2
45 | Clause 4.1.1 | Water Services Act | Section 153(3) | If the licensee makes alteration to those plans or details referred to in section 151, the licensee must give written notice of the alterations to any person who is likely to be adversely affected by those alterations. | All | 2
45A | Clause 4.1.1 | Water Services Act | Section 160(1) | A licensee, when providing water service works, may: deviate from any plan or description of, or proposal for, those works and make any modification to the plan, description or proposal that is require by the circumstance, if the deviation or modification is agreed to in writing by the owner and occupier of the affected land. | All | 2
46 | Clause 4.1.1 | Water Services Act | Section 166(5) | On being advised by the Minister that an interest in land is appropriate to the licensee’s needs, the licensee is required to acquire the interest. | All | 2
47 | Clause 4.1.1 | Water Services Act | Section 166(6) | Any costs incurred in taking an interest in land are to be paid by the licensee. | All | 2
48 | Clause 4.1.1 | Water Services Act | Section 170 | The licensee must not sell an interest in land if the purchaser would hold a parcel of land that did not comply with the minimum lot size and zoning requirements under the Planning and Development Act 2005, unless the Minister permits the licensee to do so. | All | 2
49 | Clause 4.1.1 | Water Services Act | Section 173(4) | In relation to entry to a place for the purposes of doing works, in the circumstances specified the licensee is required to give 48 hours’ notice of proposed entry to a place to the occupier or owner, as applicable, unless the occupier or owner agrees otherwise. | All | 2
50 | Clause 4.1.1 | Water Services Act | Section 174(1) | Notice of a proposed entry by the licensee must be in writing and must set out the purpose of the entry, including (if applicable) any work proposed to be carried out. | All | 2
51 | Clause 4.1.1 | Water Services Act | Section 174(3) | Even if in a particular instance the licensee may enter a place under the Act without having to give notice of proposed entry, the licensee must when practicable, and when it will not compromise the reason for entry, give notice of entry to the occupier. | All | 2
52 | Clause 4.1.1 | Water Services Act | Section 175(2) | If an occupier is present when the licensee proposes to enter a dwelling, the licensee must perform the specified actions before entering the premises. | All | 2
53 | Clause 4.1.1 | Water Services Act | Section 175(5) | If the licensee enters a dwelling that is unoccupied, the licensee must leave a notice, which includes the specified information, or a copy of the warrant (as applicable) in a prominent position in the dwelling before leaving the dwelling. | All | 2
54 | Clause 4.1.1 | Water Services Act | Section 176(1) | If the licensee has entered a place with or without consent, the licensee must leave the premises as soon as practicable after being notified that the owner or occupier has refused or withdrawn their consent. | All | 2
55 | Clause 4.1.1 | Water Services Act | Section 176(3) | The licensee must produce their certificate of authority if asked to do so, and must not perform, or continue to perform, a function under the Act if they are not able to do so. | All | 2
56 | Clause 4.1.1 | Water Services Act | Section 176(4) | If the licensee enters or proposes to enter a place, and the owner or occupier requests the licensee produce evidence of authority for that entry, then the licensee must leave the place if they are unable to do so unless the owner or occupier agrees otherwise. | All | 2
57 | Clause 4.1.1 | Water Services Act | Section 181 | The licensee, or a person assisting the licensee, must, as far as is practicable comply with any reasonable request from the owner or occupier intended to limit interference with the lawful activities of the owner or occupier. | All | NR
58 | Clause 4.1.1 | Water Services Act | Section 186 | If the licensee applies for a warrant, the application must contain the specified information. | All | 2
59 | Clause 4.1.1 | Water Services Act | Section 187(1) – (3) | If the licensee applies for a warrant to enter, the application must be made in accordance with the procedures specified depending on the location of the applicant and the justice. | All | 2
60 | Clause 4.1.1 | Water Services Act | Section 190(4) | Unless required to give a copy of the warrant, the licensee executing the warrant must produce the warrant for inspection by the occupier of the place concerned on entry (if practicable), and if requested to do so. | All | 2
61 | Clause 4.1.1 | Water Services Act | Section 190(5) | On completing the execution of a warrant the licensee must record the specified information on that warrant. | All | 2
62 | Clause 4.1.1 | Water Services Act | Section 210(5) | If the licensee designates a person as an inspector or compliance officer, the licensee must give that person a certificate of authority that includes certain specified information. | All | 2
63 | Clause 4.1.1 | Water Services Act | Section 218(2) | In the exercise or purported exercise of a power under the Act, the licensee must ensure that, to the extent practicable, the free use of any place is not obstructed, and that as little damage, harm or inconvenience is caused as is possible. | All | NR
64 | Clause 4.1.1 | Water Services Act | Section 218(3) | If the licensee does any physical damage in the exercise of a works power or a power of entry, the licensee must ensure that the damage is made good, and pay compensation to the extent that it is not practicable to make good the damage. | All | 2
65 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 23(2) | If the licensee provides a water supply service in respect of a multi-unit development, the licensee must, on the request of the owner or the strata company, assess whether a sub-meter is satisfactory for measuring the quantity or flow of water passing through a pipe supplying water to the unit. | All Note: this obligation does not apply to Water Corporation | 2
66 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 24(4) | If the licensee gives a compliance notice to a person in respect of access to meters, the notice must specify the specified information. | All | 2
67 | Clause 4.1.1 | Water Services Regulations 2013 | Regulations 26(3) | If the owner or occupier requests the licensee to test a meter and pays the charge (if any) for testing that type of meter, the licensee must test the meter in accordance with a procedure approved by the CEO for the purpose of this regulation. | All | 2
68 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 26(5) | If a meter test finds that the meter is outside the prescribed tolerance applicable, the licensee must take the specified actions, bear the costs of testing and refund or credit any charges paid under regulation 26(3). | All | 2
69 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 29(1) | The licensee must, on the written request of a developer who is required to pay the licensee an infrastructure contribution in respect of a subdivided lot, defer the payment of the contribution unless regulations 29(3) or 29(4) applies. | All | 2
70 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 42(2) | The written order requiring the owner or occupier of land to install a backflow prevention device must set out the date by which the device must be installed and tested (which must be at least 7 days after the day on which the order is given to the owner or occupier). | All | 2
71 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 43(3) | The compliance notice given by the licensee to the owner or occupier of land must specify that the backflow prevention device be tested or maintained in accordance with the standard and the date by which the testing or maintenance is required to be done (which must be at least 7 days after the day the notice is given to the owner or occupier). | All | 2
72 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 43(6) | The compliance notice requiring the owner or occupier of land to have their backflow prevention device made good as specified in the notice must include the work that is required to be done, the manner in which the work is to be done and the date by which the work is to be done (which must be at least 7 days after the day the notice is given to the owner or occupier). | All | 2
73 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
74 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 60(2) | If the licensee proposes to exercise a works power in a road and considers that it is necessary to alter the position of infrastructure, the licensee must notify the person who is responsible for the infrastructure and may request that the person make the alterations within the time specified in the notice. | All | 2
75 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 63 | If the licensee opens or breaks up the surface of a road, the licensee must complete the relevant work and reinstate and make good the road, and must take all reasonable measures to prevent that part of the road from being hazardous. | All | 2
76 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 65(1) | The licensee must maintain records for all land in respect of which water service charges apply. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
77 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 65(2) | The records for all land in respect of which water service charges apply must contain the specified information. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
78 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 65(4) | Unless regulation 65(5) applies, the licensee must make the records for all land in respect of which water service charges apply available for inspection by any person without charge, and give a copy of particular records to a person with a material interest in them, on payment of the specified charge, if any, for giving a copy of the records. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
78A | Clause 4.1.1 | Water Services Regulations 2013 | Regulations 65(5) and 65(6) | Unless a customer gives their consent under regulation 65(6), the licensee must not make a record relating to a customer available for inspection by a person, or give a copy of a particular record relating to the customer to a person, if doing so would disclose information that the customer has requested be kept confidential because the customer believes that disclosure could increase the risk of family violence to the customer or an associated person. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
79 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 67 | Except as otherwise provided under the Act, the records maintained by the licensee for a period in relation to land are the basis upon which the licensee must determine the water service charges applicable for the period. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
80 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 68(5) | The licensee must consider an objection to the records maintained by a licensee under regulation 65 as soon as practicable. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | NR
81 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 68(6) | The licensee must give the person by whom the objection was made written notice of the licensee’s decision on the objection together with a brief statement of the licensee’s reasons for the decision. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
82 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 68(7) | If the licensee allows an objection, wholly or in part, to entries in the records maintained by a licensee under regulation 65, the licensee must advise the person who objected of any consequent amendment of the records. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
83 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 68(8) | If the licensee disallows an objection, wholly or in part, to entries in the records maintained by a licensee under regulation 65, the licensee must advise the person of the time within which and the manner in which a review of the decision may be sought. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
84 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 69(3) | Upon receipt of a notice from a person dissatisfied with a decision of the licensee on an objection, the licensee must promptly refer the relevant records to the State Administrative Tribunal for a review. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
85 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 70(2) | Upon receipt of a notice from a person dissatisfied with a decision of the licensee to refuse to extend the time for giving an objection to the licensee or a notice under regulation 69(2), the licensee must promptly refer the decision to the State Administrative Tribunal for a review. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
86 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 74(1) | The licensee must make any amendment of the records necessary as a consequence of an allowance, wholly or in part, of an objection under the Act or the Valuation of Land Act 1978 or as a consequence of a review by the State Administrative Tribunal. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
87 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 74(2) | The licensee must, if necessary, as a consequence of the amendment to the records under regulation 74(1), determine or re-determine any water service charge; and, if necessary, provide a rebate or refund. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
88 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 75(1) | If a person is liable, under an agreement with the owner of land, for payment of the water service charges in respect of certain land, the person is entitled to receive from the licensee all information necessary for the person to assess his or her liability under the agreement. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
88A | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 80H | The licensee must, within 60 days after receiving a water efficiency management plan from an owner or occupier of a non-residential lot, approve the plan, request further information, or request a revised plan by written notice. | Water Corporation, Bunbury Water Corporation, Busselton Water Corporation, Hamersley Iron Pty Ltd and Robe River Mining Company Pty Ltd | 2
89 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 85 | Compliance notices issued by the licensee must include a brief description of the possible consequences under the Act of not complying with the notice, and the rights of review under the Act in relation to the notice and who may apply for review. | All | 2
90 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 86(6) | If the licensee appoints an employee as an authorised or approved officer for the purposes of the Criminal Procedure Act 2004 Part 2, the licensee must issue the officer a certificate, badge or identity card identifying the officer as a person authorised to issue infringement notices. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
91 | Clause 4.1.1 | Water Services Regulations 2013 | Regulation 86(9) | The licensee must maintain a list of persons appointed to be authorised officers or approved officers for the purposes of the Criminal Procedure Act 2004 Part 2, and must, on request, give a copy of the list to the CEO or to the chief executive officer of the Public Services principally assisting in the administration of the Criminal Procedure Act 2004. | Water Corporation, Bunbury Water Corporation and Busselton Water Corporation | 2
92 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 8(1)-(3) | The licensee must have written information for customers about the specified matters regarding connections and the information must be publicly available. Note: the information required by subclause 8(2)(a) applies to the Water Corporation, Bunbury Water Corporation and Busselton Water Corporation only and the information required by subclause 8(2)(g) applies only to licensees that supply potable water. | Water supply services (potable water or non-potable water able to be treated by the customer to make it fit for humans to drink), sewerage services. | 2 | Water supply services = Potable and non-potable
93 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 9(2) and (4) | The licensee must ensure that, in any 12-month period, 90% of water supply service connections are completed before the end of 10 business days, starting on the day on which the customer has paid the relevant fees and complied with the relevant requirements. | Water supply services (as per obligation 92) | 2 | Water supply services = Potable and non-potable
94 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 10(2) | If the licensee charges a fixed charge, the licensee must issue a bill for a fixed charge to each customer at least once in every 12-month period. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
95 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 11(2) | If the licensee charges a quantity charge, the licensee must issue a bill for a quantity charge at least once in every 4-month period to each customer. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
96 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 11(3) | A bill for usage must be based on a meter reading to ascertain the quantity supplied or discharged. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
97 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 11(4) | If an accurate meter reading is not possible, a bill for usage must be based on an estimate, in accordance with the specified regulations (if any), of the quantity of water supplied or wastewater discharged. (Note: The Water Services Regulations 2013 did not address the estimation of bills at the time this Reporting Manual was published). | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
98 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 11(5) | If an accurate meter reading is not possible and there are no applicable regulations, a bill for usage must be based on a reasonable estimate of supply or discharge using one of the specified methods. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
98A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 11(6) | Despite subclauses 11(4) and (5), a bill for usage based on a meter reading must be issued at least once in every 12-month period. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
99 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 12(3) | A bill must be sent to the address of the place where the water service is provided or, to another address nominated by the customer. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
99A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 12(1) | A licensee must allow a customer to choose to receive bills by post or email. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
99B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 12(2) | A licensee must inform the customer of any charge for sending a bill when offering the choice under subclause 12(1). | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
99C | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 12(4) | A bill sent by email must be sent to an email address provided by the customer. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
99D | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 12(5) | A licensee must not charge for sending a bill when any one of the specified situations apply to the customer. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
100 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 13(2) | Each bill must contain the prescribed information. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
100A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 13(7) | A bill issued for 2 or more water services must specify the charge payable for each water service. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
101 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 13(3) | Each bill for usage for a metered water service must contain the specified information. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
101A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 13(4) | If a bill for usage for a metered water service was based on an estimate, the bill must inform the customer that the licensee will tell the customer the prescribed information on request. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
102 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
102A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 13(5) | Each bill must contain the prescribed information. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
103 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 14(1) | If a bill is based on an estimate, the licensee must tell the customer on request the basis of the estimate and the reason for the estimate. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
104 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 14(2) | If a bill is based on an estimate, the licensee must make any adjustments to the next bill to take into account the extent to which the estimate was not reasonable having regard to a subsequent and accurate meter reading. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
104A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 15(3) | Each bill for usage to which clause 15 applies must, in addition to the requirements of clause 13, contain the specified information. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
105 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 16(1) | The licensee must provide to the customer on request either or both of the following: a meter reading and a bill to determine the outstanding charges for a period that is not the same as the usual bill cycle, if the customer disputes an estimate on which a bill is based, a meter reading and revised bill. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
106 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 17(2) and (3) | The licensee must have a written policy, standard or set of guidelines (available on the licensee’s website and a hardcopy provided to a customer upon request at no charge) in relation to granting a discount to a customer whose meter reading indicates a water usage that is higher than normal for the customer but is likely to have been wasted because of a leak from the customer’s system. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
107 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 18(2) | The licensee cannot recover an undercharged amount from a customer unless it is for water services provided in the 12-month period ending on the day on which the licensee informed the customer of the undercharging. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
108 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 18(3) | An undercharged amount must be the subject of, and explained in, a special bill or a separate item in the next bill. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
109 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 18(4) | Subject to subclauses 18(6), (7), (8) or (9), the licensee must not charge interest or late payment fees on an undercharged amount. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
110 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 18(5) | The licensee must allow a customer to pay an undercharged amount by way of a repayment plan that has effect for the duration of the shorter of the specified periods starting on the day that the bill in subclause 18(3) is issued. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
111 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
111A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 19(2) | The licensee must, within 15 business days of becoming aware of an overcharge, credit the overcharged amount to the customer’s account or send the customer a notice informing the customer of the overcharging and recommending options for how the overcharged amount may be refunded or credited to the customer’s account. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
112 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
112A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 19(3) | If the licensee sends the customer an overcharging notice and receives instructions from the customer about the refunding or crediting of the overcharged amount, the licensee must refund the overcharged amount, or credit the overcharged amount to the customer’s account within 15 business days of the licensee receiving the instructions. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
112B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 19(4) | If instructions from the customer about the refunding or crediting of the overcharged amount are not received by the licensee by the end of the period of 10 business days starting on the day on which an overcharging notice is sent, the licensee must credit the overcharged amount to the customer’s account before the end of the period of the next 15 business days. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
112C | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 19(5) | The licensee must notify the customer immediately after crediting the overcharged amount to the customer’s account under clause 19. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
113 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 21(1) | The licensee must review a bill on the customer's request. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
113A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 21(2) | The licensee must inform the customer of the outcome of a review of the customer’s bill as soon as practicable or otherwise less than 20 business days from the day the customer’s request for review was received. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
113B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 21(3) | If the licensee does not complete a review before the end of the 20 business days, the licensee must notify the customer of the status of the review as soon as practicable after the end of that period. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
114 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 22(1) | The license must have a written procedure for the review of a bill on the customer’s request. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
115 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clauses 22(2) & (4) | The review procedure in clause 22(1) must include the specified information and be available on the licensee’s website and a hardcopy provided to a customer upon request at no charge. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
116 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 22(3) | The review procedure must state that the customer may, but is not required to, use the licensee’s complaints procedure mentioned in clause 46 before or instead of applying to the water services ombudsman or, if available, making an appeal from, or applying for a review of, the decision under regulations mentioned in section 222(2)(k) of the Act. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
117 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid in October 2021 compliance reporting manual
117A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 20(1) | The licensee must notify each of its customers of any change to the amount or rate of a water service charge in accordance with the requirements in subclause 20(2). | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
118 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 24 | The time set by the licensee for the payment of a bill must be after 14 days from when the bill is issued. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
119 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 25(1) | The licensee must allow a customer to pay a bill using any of the specified methods selected by the customer. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
120 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 25(2) | The licensee must, when offering bill payment method options, inform the customer of the fees and charges (if any) associated with each bill payment method offered. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
121 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 26 | Before receiving a bill payment by direct debit the licensee must obtain written or oral express consent of the customer or of an adult person nominated by the customer to give consent. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
122 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 27(1) | The licensee must accept payment in advance from a customer on a customer's request. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
123 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 28 | The licensee must on request and at no charge redirect a customer's bills because of the customer’s absence or illness. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
123A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 29(1)-(2) | For each bill issued, the licensee must allow customers (all residential customers and the business customers who have notified the licensee that they are experiencing payment difficulties) to select one of the following options: Additional time to pay a bill or Choosing a payment plan for an amount owing by the customer to the licensee. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
124 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
124A | Not used | Not used | Not used | Not used | Not used | Not used | Last valid in October 2021 compliance reporting manual
124B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 30(1) | When formulating a payment plan to assist a customer he licensee must take the customer’s capacity to pay any bill. In the case of a bill for usage, the licensee must also take into account how much water has been supplied or wastewater has been discharged in previous billing periods. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
124C | Not used | Not used | Not used | Not used | Not used | Not used | Last valid in October 2021 compliance reporting manual
124D | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 30(4) | If a customer accepts a payment plan, the licensee must provide the customer the specified information in writing within 5 business days of the customer accepting the payment plan, unless the customer has provided the specified information in the preceding 12 months. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
124E | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 30(6) | A licensee must, in relation to a residential customer for whom a payment plan is being considered, offer the customer assistance to manage their bills for ongoing provision of services during the period of the payment plan. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
124F | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 30(7) | A licensee must, in relation to a business customer, consider and decide whether or not a payment plan should be interest-free, fee-free or both. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
124G | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 31(1) | A licensee must review a payment plan at the request of a customer. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
124H | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 31(2) | The licensee must offer to vary a payment plan if a review of the payment plan, under subclause 31(1), indicates that the customer is unable to meet the payment plan obligations. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
124I | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 31(3) | The licensee must, within 5 business days after the customer accepts an offer to vary the payment plan, provide the customer with information that clearly explains, and assists the customer to understand the variation. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
124J | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 31(4) and (5) | A licensee must not vary a payment plan without the customer’s agreement, where the agreement relates to the particular variation rather than under a general agreement to future variations. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
125 | Clauses 4.1.1 and Schedule 3, clause 1.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clauses 32(1) and (2) | The licensee must have a written policy in relation to financial hardship that is approved by the ERA. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
126 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
126A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 32(3) | Unless the ERA approves otherwise, the licensee’s financial hardship policy must comply with the ERA’s guidelines (if any) in relation to financial hardship policies. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
126B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 32(4) | Unless the ERA approves otherwise, amendments to the licensee’s financial hardship policy must be approved by the ERA and comply with the ERA’s guidelines (if any) in relation to financial hardship policies. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
127 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 32(5) | The licensee’s financial hardship policy must be in effect within 6 months of the day of the grant of the licence. | Water supply services (as per obligation 92), sewerage services. | 2 | Obligation 127 is applicable during the first audit period, or until the licensee has met the requirements under clause 32(5) of the Water Services Code of Conduct (Customer Service Standards) 2024. Water supply services = Potable and non-potable
128 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 32(6) | The licensee's financial hardship policy must be available on the licensee’s website and a hardcopy provided to a customer upon request at no charge. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
129 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
129A | Not used | Not used | Not used | Not used | Not used | Not used | Last valid in October 2021 compliance reporting manual
129B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 32(7) | The licensee must review its financial hardship policy if directed to do so by the ERA. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
129C | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 32(8) | A licensee must consult with relevant consumer organisations whenever the licensee is developing a financial hardship policy or making a material amendment to its financial hardship policy. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
130 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
130A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 33(2) | The licensee must advise a residential customer who has been assessed by the licensee as experiencing financial hardship that they have a right to pay the bill under an interest-free and fee-free payment plan or other arrangement under which the customer is given more time to pay the bill or arrears, and the licensee must offer to enter into an appropriate plan or arrangement with the customer. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
130B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 33(3) | When formulating a payment plan or other arrangement for a residential customer assessed by the licensee as experiencing financial hardship, the licensee must take the customer’s capacity to pay the bill into account. In the case of a bill for usage, the licensee must also take into account how much water has been supplied or wastewater has been discharged in previous billing periods. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
131 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
131A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 33(4)(a) | The licensee must consider reducing the amount owing by the customer. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
131B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 33(4)(b) | The licensee must review, upon request, how a customer is paying a bill under subclauses 33(2) and (3) and revise the payment plan or arrangement if the review indicates the customer is unable to meet the obligations. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
131C | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 33(4)(c) | The licensee must provide the specified written information to a customer. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
132 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
133 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clauses 34(4) and (5) | The licensee must have written information regarding the payment schemes and other assistance that is available to customers. The information must be available on the licensee’s website and a hardcopy provided to a customer upon request at no charge. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
133A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 35 | The licensee must not charge interest or fees for late payment of a bill by a customer in the specified circumstances. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
134 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 36(1)(a)-(c) | The licensee must not commence or continue proceedings to recover a debt from a customer if the customer is complying with a payment plan or other arrangement or is being assessed for financial hardship. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
134A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 36(1)(d)-(e) | The licensee must not commence or continue proceedings to recover a debt from a customer if a complaint made by the customer to the licensee or water services ombudsman, which directly relates to the water service charge to which the debt relates, is not resolved by the licensee (or is not determined or is upheld by the ombudsman). | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
135 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 43(1) | If the licensee has cut off or reduced the rate of flow of water to land under section 95(1)(b) of the Act, the licensee must restore the supply of water if the amount owing is paid, or if the customer enters into a payment arrangement for the amount owing that is satisfactory to the licensee. | Water supply services (as per obligation 92) | 2 | Water supply services = Potable and non-potable
136 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 43(2) | If the licensee has, under section 95(1)(a), (c), (d) or (e) of the Act, cut off or reduced the flow of water, the licensee must restore the supply of water if the licensee is satisfied that the reason for the disconnection or reduction no longer applies. | Water supply services (as per obligation 92) | 2 | Water supply services = Potable and non-potable
137 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
137A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 39(1) | The licensee must not start a water supply restriction unless the licensee has given the customer a reminder notice (that includes the information specified in clause 38), the water service charge has still not been paid in full, and the licensee has given the customer a restriction notice. | Water supply services (as per obligation 92) | 2 | Water supply services = Potable and non-potable
137B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 39(2) | The licensee must not give a customer a restriction notice less than 7 days before the day on which the water supply restriction is proposed to start | Water supply services (as per obligation 92) | 2 | Water supply services = Potable and non-potable
137C | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 39(3) | The restriction notice must include the specified information. | Water supply services (as per obligation 92) | 2 | Water supply services = Potable and non-potable
138 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 40(1)(a) and (c)-(h) | The licensee must not start a water supply restriction if any of the specified circumstances apply. | Water supply services (as per obligation 92) | 2 | Clause 40(1)(b) removed from the Water Services Code of Conduct (Customer Service Standards) 2024. Water supply services = Potable and non-potable
138A | Not used | Not used | Not used | Not used | Not used | Not used | Last valid in October 2021 compliance reporting manual
138B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 41 | The licensee must not start a water supply restriction on or during the specified times. | Water supply services (as per obligation 92) | 2 | Water supply services = Potable and non-potable
139 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 42 | The licensee must not, under section 95(1)(b) or (2) of the Act, reduce the rate of flow of water to a customer to below 2.3 litres each minute. | Water supply services (as per obligation 92) | 2 | Water supply services = Potable and non-potable
140 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 44(2) | The Water Corporation must restore a water supply to land in the metropolitan region within the specified timeframe, unless the licensee and customer expressly agree otherwise. | Water Corporation only | 2
141 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 44(3) | The Water Corporation must restore a water supply to land outside the metropolitan region within the specified timeframe, unless the licensee and customer expressly agree otherwise. | Water Corporation only | 2
142 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 44(5) | The licensee (other than the Water Corporation) must restore a water supply to land within the specified timeframe, unless the licensee and customer expressly agree otherwise. | Water supply services (as per obligation 92), except for the Water Corporation | 2 | Water supply services = Potable and non-potable
143 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 44(4) | The Water Corporation must ensure that there is a 90% compliance rate with clauses 41(2) and 41(3) in any 12-month period ending on 30 June. | Water Corporation only | 2
144 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 44(6) | The licensee (other than the Water Corporation) must ensure that there is at least a 90% compliance rate with subclause 44(5) in any 12-month period ending on 30 June. | Water supply services (as per obligation 92), except for the Water Corporation | 2 | Water supply services = Potable and non-potable
144A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 46(1) | The licensee must give notice of a planned service interruption to each customer that will be affected by the service interruption. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
144B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 46(2) | The notice of a planned service interruption must be given within the specified timeframes. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
144C | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 47(1) | The licensee must have policies, practices and procedures for dealing with and minimising the impact of a burst, leak or blockage in its water supply works or sewerage works. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
144D | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 47(2) | The policies, practices and procedures under subclause 47(1) must deal with the specified matters. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
144E | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 48 | The licensee must provide a 24-hour information line by means of which, at the cost of a local telephone call (excluding mobile telephones), a customer can notify the licensee of emergencies and faults, and get information about the reason for, and the expected duration of, any unplanned service interruption. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
145 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 49(1) | The licensee must have a written complaints procedure in relation to investigating and dealing with complaints of customers about the provision of water services by the licensee or a failure by the licensee to provide a water service. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
146 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 49(2) | The licensee's complaints procedure must be developed using as minimum standards the relevant provisions of AS 10002:2022 and the ERA's guidelines (if any). | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
147 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 49(3) | The licensee's complaints procedure must provide for the matters specified in relation to lodgement of complaints, acknowledging complaints, responding to complaints and dispute resolution arrangements. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
148 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
148A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 49(4) | The licensee's complaints procedure must list the procedures available to the customer under the Act as to applying to the water services ombudsman or making an appeal from, or applying for a review of, the decision that gave rise to the complaint, if an appeal or review is available under regulations mentioned in section 222(2)(k). | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
149 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 49(5) | The licensee's complaints procedure must be available on the licensee’s website and a hardcopy provided to a customer upon request at no charge. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
149A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 50 | A licensee must inform the customer of the outcome of a complaint and, unless the customer has advised the licensee that the complaint has been resolved in a manner acceptable to the customer, provide information as specified in subclause 50(b). | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
150 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 51(1) | The licensee must provide a customer with the specified services or documents on request and at no charge. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
151 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
152 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 51(2) and (3) | The licensee must make available to each customer, on request andat no charge, the customer’s personal account information including information about bills previously issued to the customer and about the quantity of water supplied to, or wastewater discharged by, the customer in previous billing periods within 5 business days after the request is made. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
153 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 52(1) | The licensee must make the specified information publicly available. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
154 | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 52(2) | The licensee must ensure that the specified information about bills may be obtained from its website. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
154AA | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 52(3) | A licensee must ensure that the specified information about Part 9 may be obtained from its website. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
154A | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 52(4) | The licensee must ensure that its website contains a link to the current version of this code appearing on the WA legislation website. | Water supply services (as per obligation 92), sewerage services. | 2 | Water supply services = Potable and non-potable
154B | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 54(2) | The licensee must maintain an up-to-date preserved supply register for the purposes of Part 9 of the Code if the licensee meets the criteria in clause 54(1). The register must record the prescribed information in clauses 54(2)(b) and 54(4). | Water supply services (as per obligation 92) | 2 | Water supply services = Potable and non-potable
154CC | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 54(3) | The licensee must, within 5 business days after recording a person on the register, provide the specified information in writing to the person. | Water supply services (as per obligation 92) | 2 | Water supply services = Potable and non-potable
154C | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 55 | The licensee must not, under section 95(1)(b) of the Act, reduce the rate of flow of a supply of water to a supply address recorded on the preserved supply register. | Water supply services (as per obligation 92) | 1 | Water supply services = Potable and non-potable
154D | Clause 4.1.1 | Water Services Code of Conduct (Customer Service Standards) 2024 | Clause 56 | Despite clause 46(3), in the case of a service interruption that will affect a supply address recorded on the preserved supply register, the notice required by clause 46(1) must be given in the specified manner. | Water supply services (as per obligation 92) | 2 | Water supply services = Potable and non-potable
155 | Clause 4.2.1 | Water Services Act | Section 12 | The licensee must pay the applicable fees and charges in accordance with the Economic Regulation Authority (Licensing Funding) Regulations 2014. | All | 2
156 | Not used | Not used | Not used | Not used | Not used | Not used | This obligation (the requirement under clause 4.1.1 of the licence that a licensee must comply with any applicable legislation) is not required, as an auditor will assess the individual obligations under the applicable legislation. Removing this obligation avoids potential double counting of a non-compliance for a licensee.
157 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
158 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
159 | Clause 4.1.2 | Water Services Act | Section 12 | The licensee must comply with a direction from the ERA in relation to a breach of applicable legislation. | All | 2
159A | Not used | Not used | Not used | Not used | Not used | Not used | This obligation (the requirement under clause 4.1.3 of the licence that a licensee must comply with the terms and conditions of the licence) is not required, as an auditor will assess the individual obligations under the licence. Removing this obligation avoids potential double counting of a non-compliance for a licensee.
160 | Clause 4.6.1 | Water Services Act | Section 12 | The licensee and any related body corporate must maintain accounting records that comply with standards issued by the Australian Accounting Standards Board or equivalent International Accounting Standards. | All | 2
161 | Clause 5.2.1 | Water Services Act | Section 12 | The licensee must comply with any individual performance standards specified by the ERA. | All | 2
162 | Clause 5.3.4 | Water Services Act | Section 12 | The licensee must cooperate with the independent expert and comply with the ERA’s audit and review guidelines dealing with the operational audit. | All | 2
163 | Clauses 4.7.1(a), (b), (c) | Water Services Act | Section 12 | The licensee must report to the ERA, in the manner specified, if a licensee is under external administration or there is a change in the circumstances upon which the licence was granted which may affect a licensee’s ability to meet its obligations. | All | 2
164 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
165 | Clause 4.8.1 | Water Services Act | Section 12 | The licensee must provide the ERA specified information relevant to the operation of the licence or the licensing scheme, or the performance of the ERA’s function under the Act in the manner and form specified by the ERA. | All | 2
166 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
167 | Clause 4.8.2 | Water Services Act | Section 12 | The licensee must provide the ERA with the data required for performance reporting purposes that is specified in the Water, Sewerage and Irrigation Licence Performance Reporting Handbook, and the National Performance Framework that apply to the licensee. | All | 2
168 | Clauses 3.8.1 and 3.8.2 | Water Services Act | Section 12 | Subject to clause 3.8.3, the licensee must publish within the specified timeframe any information that the ERA has directed the licensee to publish under clause 3.8.1. | All | 2
169 | Clause 3.7.1 | Water Services Act | Section 12 | Unless otherwise specified, all notices must be in writing. | All | 2
170 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
170A | Clause 5.1.2 (a), (b) | Water Services Act | Section 12 | The licensee must notify the ERA of the details of the asset management system within five business days from the later of: the commencement date; or the completion of construction of the licensee’s water service works. | All | 2
171 | Clause 5.1.3 | Water Services Act | Section 12 | The licensee must notify the ERA of any material change to the asset management system within 10 business days of the change. | All | 2
172 | Clause 5.1.7 | Water Services Act | Section 12 | The licensee must cooperate with the independent expert and comply with the ERA’s audit and review guidelines dealing with the asset management system review. | All | 2
172A | Clause 6.1.1 | Water Services Act | Section 12 | If the ERA considers that one or more of a licensee's standard terms and conditions of service is no longer in the public interest, the ERA may direct the licensee: to amend: i) the standard term or condition of service; or ii) the standard term or condition of service in accordance with a term proposed by the ERA; and to do so within a specified period. | All | 2
172B | Clause 6.1.2 | Water Services Act | Section 12 | The licensee must comply with a direction given to the licensee under clause 6.1.1. | All | 2
173 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
174 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
175 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
176 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
177 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
178 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
179 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
180 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
181 | Clause 6.3.1 | Water Services Act | Section 12 | If the licensee is appointed as the supplier of last resort for a designated area in relation to the provision of a particular water service, the licensee must perform the functions of a supplier of last resort, comply with the duties imposed by the Act and carry out its operations under or for the purpose of the last resort plan in accordance with the Act. | All | 2
182 | Clause 4.4.1(b) | Water Services Act | Section 12 | If the licensee provides a water service outside of the operating area the licensee must apply to amend the licence unless otherwise notified by the ERA. | All | 2
183 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid pre May 2020 compliance reporting manual
184 | Clause 7.1.1 | Water Services Act | Section 12 | Where the licensee provides potable water, the licensee must enter into a Memorandum of Understanding with the Department of Health as soon as practicable after the commencement date or as otherwise agreed with Department of Health. | Potable water supply | NR
184A | Clause 7.1.2 | Water Services Act | Section 12 | Where the licensee provides sewerage services, the licensee must, if required by the Department of Health, enter into a Memorandum of Understanding with the Department as soon as practicable after the commencement date or as otherwise agreed with Department. | Sewerage services | NR | Auditors should confirm if the Department of Health has informed the licensee that a Memorandum of Understanding is required.
184B | Clause 7.1.3 | Water Services Act | Section 12 | If the licensee provides both potable water and sewerage services, the licensee must enter into a separate Memorandum of Understanding with the Department of Health in respect of each of the potable water service and sewerage service. | Potable water supply, sewerage services | NR
185 | Clause 7.1.4 | Water Services Act | Section 12 | A Memorandum of Understanding must comply with the specified requirements in relation to legal standing of the document and compliance audits by the Department of Health. | Potable water supply, sewerage services | 2
186 | Clause 7.1.5 | Water Services Act | Section 12 | The licensee must comply with the terms of a Memorandum of Understanding. | Potable water supply, sewerage services | 2
187 | Clause 7.1.6 | Water Services Act | Section 12 | The licensee must publish in the form agreed with the Department of Health, a Memorandum of Understanding and any amendments to a Memorandum of Understanding within one month of signing or making the amendment. | Potable water supply, sewerage services | 2
188 | Clause 7.1.7 | Water Services Act | Section 12 | The licensee must publish the audit report on compliance with its obligations under a Memorandum of Understanding on its website within one month of the completion of the audit. | Potable water supply, sewerage services | 2
189 | Clause 7.1.8 | Water Services Act | Section 12 | The licensee must publish, in a form agreed with the Department of Health, any other reports required by the Department of Health or required by a Memorandum of Understanding on the licensee’s website, at a reporting frequency specified by the Department of Health. | Potable water supply, sewerage services | 2
190 | Not used | Not used | Not used | Not used | Not used | Not used | Last valid in October 2021 compliance reporting manual
190A | Schedule 2 Clause 1.1 | Water Services Act | Section 12 | The water service works provided by the licensee, for the purpose of water supply services, shall be designed, constructed, operated and maintained to provide continuity of pressure and flow for the services in accordance with the specified standards in Schedule 2. | Potable water supply | 2
190B | Schedule 2 Clause 1.2 | Water Services Act | Section 12 | The licensee must notify: new customers upon purchase of the affected property as soon as practicable; and existing customers at least annually, if the pressure and flow of the water supplied to the customer’s property falls outside of the pressure and flow range standards specified in Schedule 2 clause 1.1. | Potable water supply | 2
190C | Schedule 2 Clause 1.3 | Water Services Act | Section 12 | The licensee must notify the ERA annually of any restrictions applied in accordance with the Water Services Regulations 2013 to a potable water supply, detailing restrictions by scheme, type (severity), duration, start date and number of services affected. | Potable water supply | 2 | Refer to the Performance indicators and definitions handbook – water service providers for further details.
190D | Schedule 2 Clause 4.1 | Water Services Act | Section 12 | The licensee must operate, manage maintain, plan and construct its drains and drainage schemes and consult in relation to such activities, as specified in of Schedule 2 clause 4.1. | Drainage services | 2
190E | Schedule 2 Clause 5.1.1 | Water Services Act | Section 12 | The licensee must supply water that is suitable for irrigation purposes. | Irrigation services | 2
190F | Schedule 2 Clause 5.1.2 | Water Services Act | Section 12 | The licensee must provide at least 5 business days’ notice to a customer of any planned service interruption. | Irrigation services | 2
190G | Schedule 2 Clause 5.1.3 | Water Services Act | Section 12 | The licensee must comply with the irrigation service standards as specified in Schedule 2 of the licence. | Irrigation services | 2
190H | Schedule 2 Clause 6.1.1 | Water Services Act | Section 12 | Where services are provided to a farm under an agreement, the licensee must provide the customer annual notifications, in the specified format, of the conditions under which the service is supplied. | Water Corporation only | 2
190I | Schedule 2 Clause 6.1.2 | Water Services Act | Section 12 | Subject to a customer complying with licensee requirements, the licensee must ensure that the customer connected to the Farmlands Water Systems has the water pressure and flow in accordance with the specified standards at the outlet of the water meter to their property. | Water Corporation only | 2
191 | Clause 4.1.1 | Water Services Code of Practice (Family Violence) 2020 | Clause 5(1) | The licensee must have a family violence policy that sets out the matters specified in clause 5(1). | Potable water supply, sewerage services | 2
192 | Clause 4.1.1 | Water Services Code of Practice (Family Violence) 2020 | Clause 5(2) | The licensee must have a family violence policy before the end of the six-month period starting on either: 9 December 2020; or if the day of the grant of the licensee’s licence is after 9 December 2020, the day of the grant of the licensee’s licence. | Potable water supply, sewerage services | 2 | Obligation 192 is applicable during the first audit period, or until the licensee has met the requirements under clause 5(1) of the Water Services Code of Practice (Family Violence) 2020.
193 | Clause 4.1.1 | Water Services Code of Practice (Family Violence) 2020 | Clause 6 | A licensee must publish its family violence policy on its website and provide a hard copy of the policy to a customer on request and at no charge. | Potable water supply, sewerage services | 2
194 | Clause 4.1.1 | Water Services Code of Practice (Family Violence) 2020 | Clause 7 | A licensee must review its family violence policy at least once in every 5-year period, and additionally, if directed to do so by the Minister. | Potable water supply, sewerage services | 2
195 | Clause 4.1.1 | Water Services Code of Practice (Family Violence) 2020 | Clause 8(1) | A licensee must maintain adequate records in relation to compliance with this code or any policy made under the code. If the licensee is a government organisation, as defined in section 3(1) of the State Records Act 2000 (WA), then records must be maintained in accordance with its obligations under that Act. | Potable water supply, sewerage services | 2
196 | Clause 4.1.1 | Water Services Code of Practice (Family Violence) 2020 | Clause 8(2) | If the licensee is not a government organisation according to the State Records Act 2000 (WA), a record that relates to a customer, must be retained for at least 7 years after the last communication between the licensee and the customer, or water services ombudsman. If the record does not relate to a customer, then the record must be kept for at least 7 years after the record is made. | Potable water supply, sewerage services | 2
197 | Clause 4.1.1 | Water Services Code of Practice (Family Violence) 2020 | Clause 9 | When a customer affected by family violence first contacts a licensee about a particular matter relating to the family violence, the licensee must inform the customer of the existence and operation of the licensee’s complaints procedure under clause 46 of the Water Services Code of Conduct (Customer Service Standards) 2024. | Potable water supply, sewerage services | 2
198 | Clause 4.1.1 | Water Services Code of Practice (Family Violence) 2020 | Clause 10 | A licensee must ensure that its website contains a link that provides access to the current version of the code as it appears on the website that is maintained by or on behalf of the Western Australian Government and that provides public access to electronic versions of Western Australian legislation. | Potable water supply, sewerage services | 2